	[image: image1.jpg]mMiller argent





	Form CP63-3 revA

WATER SPOT CHECK SAMPLING

	Site Name:
	Ffos-y-fran Land Reclamation Scheme

	Permit No:
	EPR/DB3131AF
	Month:
	July 2015 (sample taken 26th July)

	Reporting of emissions to water (other than to sewer) 

	Consent Number
	Suspended Solids Consent limits
	pH Consent limits
	Date of Sample
	Discharge Status
	pH result
	Suspended solids result
	Weather Conditions

	AN0264601 (WC1 Final Effluent)
	50 mg/l
	5-9
	26/7/2015
	Discharging
	8.3
	2.64
	rain

	AN0264602 (WC1 Storm)
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	NPSWQD000674 (WI Final Effluent)
	50 mg/l
	5-9
	26/7/2015
	Discharging
	8.4
	1.87
	rain

	NPSWQD002105 (WI Storm)
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264501 (WB Final Effluent)
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264502 (WB Storm)
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264603 (WC Final Effluent)
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0274601 (WC Storm)
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0265001 (WG Final Effluent)
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0265002 (WG Storm)
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264801 (WF Final Effluent)
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264802 (WF Storm)
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264401 (WA Final Effluent)
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264402 (WA Storm)
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	Notes:

WA has not yet been constructed.



	Name
	Georgina Taubman
	Position:
	Environmental officer
	Date:
	31/7/2015


