	[image: image1.jpg]miller argent





	Form CP63-3 revA

WATER SPOT CHECK SAMPLING

	Site Name:
	Ffos-y-fran Land Reclamation Scheme

	Permit No:
	EPR/DB3131AF
	Month:
	April 2017 (samples taken 1/4/17)

	Reporting of emissions to water (other than to sewer) 

	Consent Number
	Suspended Solids Consent limits
	pH Consent limits
	Date of Sample
	Discharge Status
	pH result
	Suspended solids result*
	Weather Conditions

	AN0264601 (WC1 Final Effluent)
	50 mg/l
	5-9
	1/4/17
	Discharging
	7.8
	<25
	Heavy Rain

	AN0264602 (WC1 Storm)
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A

	NPSWQD000674 (WI Final Effluent)
	50 mg/l
	5-9
	1/4/17
	Discharging
	7.9
	10
	Heavy Rain

	NPSWQD002105 (WI Storm)
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A

	AN0264501 (WB Final Effluent)
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264502 (WB Storm)
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A

	AN0264603 (WC Final Effluent)
	50 mg/l
	5-9
	N/A
	N/A
	N/A
	N/A
	N/A

	AN0274601 (WC Storm)
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A

	AN0265001 (WG Final Effluent)
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0265002 (WG Storm)
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A

	AN0264801 (WF Final Effluent)
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264802 (WF Storm)
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A

	AN0264401 (WA Final Effluent)
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264402 (WA Storm)
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A

	Notes:

WA has not yet been constructed.

*Laboratory testing detection limit for the analysis of suspended solids is 5mg/l – this mean values are rounded up or down to nearest 5mg/l value. 


	Name
	Georgina Taubman
	Position:
	Environmental officer
	Date:
	12/04/17


