	[image: image1.jpg]miller argent





	Form CP63-3 revB d1
WATER SPOT CHECK SAMPLING

	Site Name:
	Ffos-y-fran Land Reclamation Scheme

	Permit No:
	EPR/DB3131AF
	Month:
	May 2018 (sample taken 1.5.18)

	Reporting of emissions to water (other than to sewer) 

	Consent Number
	Monitoring Point
	Suspended Solids Consent limits
	pH Consent limits
	Date of Sample
	Discharge Status
	pH result
	Susp solids result
	Weather Conditions

	AN0264601 (WC1 Final Effluent)
	M1
	50 mg/l
	5-9
	1.5.18
	Discharging
	<5
	8.1
	Rain

	AN0264602 (WC1 Storm)
	M2
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	NPSWQD000674 (WI Final Effluent)
	M5
	50 mg/l
	5-9
	1.5.18
	Discharging
	6
	8.0
	Rain

	NPSWQD002105 (WI Storm)
	M6
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264501 (WB Final Effluent)
	M7
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264502 (WB Storm)
	M8
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264603 (WC Final Effluent)
	M9
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0274601 (WC Storm)
	M10
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0265001 (WG Final Effluent)
	M11
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0265002 (WG Storm)
	M12
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264801 (WF Final Effluent)
	M13
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264802 (WF Storm)
	M14
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264401 (WA Final Effluent)
	M3
	50 mg/l
	5-9
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	AN0264402 (WA Storm)
	M4
	N/A
	N/A
	N/A
	Not Discharging
	N/A
	N/A
	N/A

	Notes:    WA has not yet been constructed.


	Name
	Georgina Taubman – Environmental Officer
	Date:
	16.5.18


