Natural Resources Wales Update - 20/01/2016

(since last update – 26/10/2015)

For the Ffos y Fran liaison meeting on 28/01/2016

Complaints (via 24/7 emergency line via Incident Comms. Centre)

No complaints received.

Complaint (received by letter / email)

No complaints received.

General letter / correspondence

No correspondence has been received.

Site Inspections / Meetings / Sampling Visits

1 site meeting and 3 routine sampling visits have been carried out.

Permit Compliance

A Section 5 notification was received by NRW for the 3rd December, which explained that the company had experienced an intermittent telemetry fault that relays turbidity data from the company’s water monitoring probes in their settlement lagoons. The issue was since taken up with the probe suppliers Partech to try and resolve the problem. Water samples taken at the time by Miller Argent were within the permit limits for suspended solids.

Another Section 5 notification was received on the 20th January reporting that Miller Argent had received turbidity alarms on the 5th and 6th January, for the discharge from their WC Lagoon. Water sample analysis showed that they had slightly breached their permit condition for suspended solids (50mg/l).  Results of samples taken on the 5th and 6th January were 57.9 and 52.1 mg/l respectively. These breaches occurred during a period of extremely high rainfall and any impact on receiving watercourses would have been insignificant. The results of samples taken later were below the permit limit, indicating that these were isolated incidents.

All routine samples taken by NRW during the period, were compliant with their permit conditions.