	Trial pit  #
	1

	Date
	17/08/2015


	Time


	09:10


	GPS ref


	ST 06141 81407


	Weather conditions


	Dry, previous dry weather


	Depth


	Approximately 1 metre


	Comments 

Mainly soil and stones
1 piece of bitchumen

1 small brick


	Trial pit #

	2


	Date
	17/08/2015

	Time


	09:14


	GPS ref


	ST 06153 81400


	Weather conditions


	Dry, previous dry weather


	Depth


	Approximately 1 metre


	Comments 

Mainly soil and stones

1 small piece of plastic


	Trial pit #
	3


	Date
	17/08/2015

	Time
	09:22


	GPS ref
	ST 06140 81421


	Weather conditions


	Dry, previous dry weather


	Depth


	Approximately 1 metre


	Comments 

Mainly soil and stones

Small amount of bitchumen


	Trial pit #
	4


	Date
	17/08/2015

	Time
	09:28


	GPS ref
	ST 06134 81396


	Weather conditions


	Dry, previous dry weather


	Depth


	Approximately 1 metre


	Comments 

Mainly soil and stones
Brick

Clay

Small piece of wood


	Trial pit  #
	5

	Date
	17/08/2015



	Time


	09:37



	GPS ref


	ST 06098 81384



	Weather conditions


	Dry, previous dry weather



	Depth


	Approximately 1 metre



	Comments 

Mainly soil and stones

Small amounts of brick and bitchumen

Small amounts of plastic


	Trial pit #


	6



	Date
	17/08/2015

	Time


	09:46



	GPS ref


	ST 06066 81371



	Weather conditions


	Dry, previous dry weather



	Depth


	Approximately 1 metre



	Comments 

Mainly soil and stones

Small amounts of brick

Small amounts of plastic


	Trial pit #
	7



	Date
	17/08/2015

	Time
	09:56



	GPS ref
	ST 06026 81383



	Weather conditions


	Dry, previous dry weather



	Depth


	Approximately 0.5 metres



	Comments 

Mainly soil and stones
Small piece of fabric
Small amount of brick

· Could not dig as far down in this area. It was the waste transfer station operational area and therefore material was very compacted.


	Trial pit #
	8



	Date
	17/08/2015

	Time
	10:03



	GPS ref
	ST 05996 81386



	Weather conditions


	Dry, previous dry weather



	Depth


	Approximately 0.5 metres



	Comments 

Mainly soil, some larger rocks and stones

Small amount of bitchumen

Could not dig as far down in this area. It was the waste transfer station operational area and therefore material was very compacted.


	Trial pit  #
	9

	Date
	17/08/2015



	Time


	10:13



	GPS ref


	ST 05980 81397



	Weather conditions


	Dry, previous dry weather



	Depth


	Approximately 0.5 metres



	Comments 

Mainly soil and stone

Small amounts of brick

Small amount of bitchumen

Could not dig as far down in this area. It was the waste transfer station operational area and therefore material was very compacted.


	Trial pit #


	10



	Date
	17/08/2015

	Time


	10:20



	GPS ref


	ST 05962 81391



	Weather conditions


	Dry, previous dry weather



	Depth


	Approximately 0.5 metres



	Comments 

Mainly soil and stone

Small amounts of brick

Small amount of bitchumen

1 aluminium can

Could not dig as far down in this area. It was the waste transfer station operational area and therefore material was very compacted.


