# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Rivendell operated by Mr Lee Rowe.

The application number is PAN-003478.

The permit number is EPR/BB3093FJ

The permit regulates an existing discharge of septic tank effluent: a maximum of 1 cubic metre per day discharged to ground via an infiltration system.  The system serves a 3 bedroom property.   It does not qualify for an exemption because it is in a Source Protection Zone 1.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation responses

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to consultation and web publicising | The consultation responses (Annex 2) were taken into account in the decision. No responses were received for web publicising. The decision was taken in accordance with our guidance. |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes according to TGN EPR 7.01. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| The permit conditions |  |  |  |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |

# Annex 2: Consultation responses

Summary of responses to consultation, web publication and newspaper advertising and the way in which we have taken these into account in the determination process.

Response received from

Dŵr Cymru Cyfyngedig

Brief summary of issues raised

The outflow of the proposed sewage treatment discharge falls within a Dŵr Cymru Welsh Water (DCWW), drinking water catchment. DCWW had no further comments to make regarding this consultation but wanted to reiterate to the applicant that facility is in a Drinking Water Catchment and trusted that all the particulars in the permit will be followed during the lifetime of the treatment plant.

Summary of actions taken or show how this has been covered

On issue, the permit will ensure the following : - - The permit has a condition that stipulates that the treatment plant will need to be maintained in accordance with the manufacturer’s guidelines. - If granted, a permit will have conditions to ensure the discharge is monitored by the operator on a regular basis to ensure compliance with the ‘no adverse impact / no visible oil and grease conditions’. As the regulator NRW will monitor this discharge for compliance on an adhoc basis but due to the very small volume (and low risk it poses) any granted permit will not have numeric emission limits that the operator will need to comply with. Any adverse impact (pollution incident) that is reported to NRW will be investigated and appropriate action will be taken. - If the plant fails the operator will need to ensure swift action is taken to seal the unit to prevent any further pollution occurring and take remedial action to resolve the issue that has caused the plant to fail. Within a permit application the applicant confirms they have a written management plan that complies with our requirements, set out in our guidance >> https://naturalresources.wales/media/680974/part-b65_guidance-v3_final.pdf