File Note –  clarification of treatment system with Welsh Water

Rang DCWW re: the application to state that there was a typo and in fact this application is a septic tank discharge so treatment is primary and not secondary.  DCWW responded to say they had no concerns and that the response would still be the same.