| Permit Number: | PAN-003825 |
| --- | --- |
| Applicant name: | Beic Parcio Cymru Ltd |
| Site Address: | Bike Park Wales, Gethin Woodland Centre, Abercanaid, Merthyr Tydfil, CF48 1YZ |
| Discharge Point NGR: | SO 05057 03532 |
| Respond by date: | 07/02/2019 (10 working days) |
| Permitting Officer: | Jason Copsey |

Brief Description of proposal:

New bespoke discharge permit application for a new trade discharge of a maximum of 2.5 cubic metres per day comprising of bike wash effluent from Bike Park Wales. The effluent will be treated by 2 separate silt traps and a horizontal reed bed to reduce suspended solids, nutrient concentrations and any oils and greases prior to discharging into the Nant Graig. This replaces an existing unregulated bike wash discharge which has been causing an adverse impact on the Nant Graig watercourse. The new discharge will be made via an existing outfall currently used for the regulated treated sewage discharge at the site.

Habitats Screening Report – Designations or protected species/habitats:

There were two local wildlife sites found within a 50m screening distance from the discharge point.

The risk screening report can be found on the DMS here.

Risk Assessment Results (modelling or L1 Risk Assessment):

The discharge is under 5m3/day therefore no river quality modelling has been conducted.

Miscellaneous:

Pre-application advice and enforcement action has been provided by Sarah P Jones (Taff NRM) due to the existing unregulated discharge from the site causing an adverse impact on the Nant Graig.

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

N/A

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | N |
| Environmental Heath | N |

Any Permitting Responses:

Date: