	Permit Number:
	EPR/PP3993VS
	
	Operator:
	Atlantic Recycling
	
	

	
	
	
	
	
	
	
	

	Facility:
	Atlantic Recycling
	Form Number:
	Surfacewater1
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Reporting of surface water monitoring for the period from April to June 2016


	Monitoring Point
	Substance / Parameter
	Trigger level
	Reference Period
	Result(1)
	Test

Method(2)
	Sample

Date and Times(3)
	Uncertainty (4)

	Outfall 
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Monthly
	4  mg/l
	TM022
	18/05/2016
08:00
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	Outfall
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Monthly
	<1  mg/l
	TM045
	18/05/2016

08:00
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	Outfall 
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Monthly
	0.287 mg/l
	TM099
	18/05/2016

08:00
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	Outfall 
	Conductivity
	>2000 µS/cm
	Monthly
	0.721 mS/cm
	TM120
	18/05/2016

08:00
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	Outfall 
	Lead (diss.filt)
	>0.25  mg/l
	Monthly
	1.45 µg/l
	TM152
	18/05/2016

08:00
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	Outfall 
	Nickel (diss.filt)
	>0.1  mg/l
	Monthly
	3.54 µg/l
	TM152
	18/05/2016

08:00
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	Outfall
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Monthly
	<46 µg/l
	TM172
	18/05/2016

08:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	Outfall 
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Monthly
	<10 µg/l
	TM172
	18/05/2016

08:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	Outfall 
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Monthly
	<10 µg/l
	TM172
	18/05/2016

08:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	Outfall 
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Monthly
	<10 µg/l
	TM172
	18/05/2016

08:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	Outfall 
	Sulphate
	>300  mg/l
	Monthly
	108 mg/l
	TM184
	18/05/2016

08:00
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	Outfall
	Chloride
	>300  mg/l
	Monthly
	49.8 mg/l
	TM184
	18/05/2016

08:00
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	Outfall
	Nitrite as N
	>1  mg/l
	Monthly
	<0.0152 mg/l
	TM184
	18/05/2016

08:00
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	Outfall
	Phosphate (ortho) as PO4
	>1  mg/l
	Monthly
	0.076 mg/l
	TM184
	18/05/2016

08:00
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	Outfall
	Nitrate as N
	>1  mg/l
	Monthly
	0.0941 mg/l
	TM184
	18/05/2016

08:00
	Lab: As per TON and NO2. Sampling: Immeasurable

	Outfall
	Total Oxidised Nitrogen as N
	>2  mg/l
	Monthly
	0.104 mg/l
	TM184
	18/05/2016

08:00
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	Outfall
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Monthly
	4.06 mg/l
	TM187
	18/05/2016

08:00
	Lab: Unknown. Sampling: Immeasurable

	Outfall
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Monthly
	<0.5 µg/l
	TM191
	18/05/2016

08:00
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	Outfall
	Zinc (tot.unfilt)
	>1  mg/l
	Monthly
	4.03 µg/l
	TM191
	18/05/2016

08:00
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	Outfall
	Calcium (tot.unfilt)
	>300  mg/l
	Monthly
	100 mg/l
	TM228
	18/05/2016

08:00
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	Outfall
	pH
	6.8 – 8.5
	Monthly
	7.83 pH Units
	TM256
	18/05/2016

08:00
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	Outfall
	GRO >C5-C12
	>2  mg/l
	Monthly
	<50 µg/l
	TM245
	18/05/2016

08:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	Outfall
	GRO >C7-C8
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	Outfall
	GRO >C5-C6
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	Outfall
	GRO >C6-C7
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	Outfall
	GRO >C8-C10
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	Outfall
	GRO >C10-C12
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	Outfall
	GRO >C5-C10
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW09
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Monthly
	3 mg/l
	TM022
	18/05/2016

08:20
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW09
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Monthly
	<1 mg/l
	TM045
	18/05/2016

08:20
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW09
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Monthly
	0.13 mg/l
	TM099
	18/05/2016

08:20
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW09
	Conductivity
	>2000 µS/cm
	Monthly
	0.64 mS/cm
	TM120
	18/05/2016

08:20
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW09
	Lead (diss.filt)
	>0.25  mg/l
	Monthly
	0.539 µg/l
	TM152
	18/05/2016

08:20
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW09
	Nickel (diss.filt)
	>0.1  mg/l
	Monthly
	3.13 µg/l
	TM152
	18/05/2016

08:20
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW09
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Monthly
	<46 µg/l
	TM172
	18/05/2016

08:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW09
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Monthly
	<10 µg/l
	TM172
	18/05/2016

08:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW09
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Monthly
	<10 µg/l
	TM172
	18/05/2016

08:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW09
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Monthly
	<10 µg/l
	TM172
	18/05/2016

08:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW09
	Sulphate
	>300  mg/l
	Monthly
	97.3 mg/l
	TM184
	18/05/2016

08:20
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW09
	Chloride
	>300  mg/l
	Monthly
	47.2 mg/l
	TM184
	18/05/2016

08:20
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW09
	Nitrite as N
	>1  mg/l
	Monthly
	<0.0152 mg/l
	TM184
	18/05/2016

08:20
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW09
	Phosphate (ortho) as PO4
	>1  mg/l
	Monthly
	0.052 mg/l
	TM184
	18/05/2016

08:20
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW09
	Nitrate as N
	>1  mg/l
	Monthly
	0.0733 mg/l
	TM184
	18/05/2016

08:20
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW09
	Total Oxidised Nitrogen as N
	>2  mg/l
	Monthly
	<0.1 mg/l
	TM184
	18/05/2016

08:20
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW09
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Monthly
	3.7 mg/l
	TM187
	18/05/2016

08:20
	Lab: Unknown. Sampling: Immeasurable

	SW09
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Monthly
	<0.5 µg/l
	TM191
	18/05/2016

08:20
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW09
	Zinc (tot.unfilt)
	>1  mg/l
	Monthly
	<3 µg/l
	TM191
	18/05/2016

08:20
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW09
	Calcium (tot.unfilt)
	>300  mg/l
	Monthly
	93.4 mg/l
	TM228
	18/05/2016

08:20
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW09
	pH
	6.8 – 8.5
	Monthly
	7.86 pH Units
	TM256
	18/05/2016

08:20
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW09
	GRO >C5-C12
	>2  mg/l
	Monthly
	<50 µg/l
	TM245
	18/05/2016

08:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW09
	GRO >C7-C8
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW09
	GRO >C5-C6
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW09
	GRO >C6-C7
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW09
	GRO >C8-C10
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW09
	GRO >C10-C12
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW09
	GRO >C5-C10
	>2  mg/l
	Monthly
	<10 µg/l
	TM245
	18/05/2016

08:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW04
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	<2 mg/l
	TM022
	16/05/2016

18:00
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW04
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	<1 mg/l
	TM045
	16/05/2016

18:00
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW04
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	0.223 mg/l
	TM099
	16/05/2016

18:00
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW04
	Conductivity
	>2000 µS/cm
	Quarterly
	0.515 mS/cm
	TM120
	16/05/2016

18:00
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW04
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.552 µg/l
	TM152
	16/05/2016

18:00
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW04
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	1.19 µg/l
	TM152
	16/05/2016

18:00
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW04
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	<46 µg/l
	TM172
	16/05/2016

18:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW04
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	16/05/2016

18:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW04
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	16/05/2016

18:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW04
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	16/05/2016

18:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW04
	Sulphate
	>300  mg/l
	Quarterly
	33.2 mg/l
	TM184
	16/05/2016

18:00
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW04
	Chloride
	>300  mg/l
	Quarterly
	30.5 mg/l
	TM184
	16/05/2016

18:00
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW04
	Nitrite as N
	>1  mg/l
	Quarterly
	0.0612 mg/l
	TM184
	16/05/2016

18:00
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW04
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	0.061 mg/l
	TM184
	16/05/2016

18:00
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW04
	Nitrate as N
	>1  mg/l
	Quarterly
	0.523 mg/l
	TM184
	16/05/2016

18:00
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW04
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	0.584 mg/l
	TM184
	16/05/2016

18:00
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW04
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	10.5 mg/l
	TM187
	16/05/2016

18:00
	Lab: Unknown. Sampling: Immeasurable

	SW04
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	16/05/2016

18:00
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW04
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	<3 µg/l
	TM191
	16/05/2016

18:00
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW04
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	74.6 mg/l
	TM228
	16/05/2016

18:00
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW04
	pH
	6.8 – 8.5
	Quarterly
	7.94 pH Units
	TM256
	16/05/2016

18:00
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW04
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	16/05/2016

18:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW04
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

18:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW04
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

18:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW04
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

18:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW04
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

18:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW04
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

18:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW04
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

18:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW05
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	<2 mg/l
	TM022
	17/05/2016

09:20
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW05
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	3.26 mg/l
	TM045
	17/05/2016

09:20
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW05
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	0.0382 mg/l
	TM099
	17/05/2016

09:20
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW05
	Conductivity
	>2000 µS/cm
	Quarterly
	0.974 mS/cm
	TM120
	17/05/2016

09:20
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW05
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.195 µg/l
	TM152
	17/05/2016

09:20
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW05
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	3.03 µg/l
	TM152
	17/05/2016

09:20
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW05
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	<46 µg/l
	TM172
	17/05/2016

09:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW05
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	17/05/2016

09:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW05
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	17/05/2016

09:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW05
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	17/05/2016

09:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW05
	Sulphate
	>300  mg/l
	Quarterly
	234 mg/l
	TM184
	17/05/2016

09:20
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW05
	Chloride
	>300  mg/l
	Quarterly
	54.5 mg/l
	TM184
	17/05/2016

09:20
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW05
	Nitrite as N
	>1  mg/l
	Quarterly
	<0.0152 mg/l
	TM184
	17/05/2016

09:20
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW05
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	0.138 mg/l
	TM184
	17/05/2016

09:20
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW05
	Nitrate as N
	>1  mg/l
	Quarterly
	<0.0677 mg/l
	TM184
	17/05/2016

09:20
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW05
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	<0.1 mg/l
	TM184
	17/05/2016

09:20
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW05
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	3.72 mg/l
	TM187
	17/05/2016

09:20
	Lab: Unknown. Sampling: Immeasurable

	SW05
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	17/05/2016

09:20
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW05
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	3.37 µg/l
	TM191
	17/05/2016

09:20
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW05
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	188 mg/l
	TM228
	17/05/2016

09:20
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW05
	pH
	6.8 – 8.5
	Quarterly
	7.77 pH Units
	TM256
	17/05/2016

09:20
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW05
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	17/05/2016

09:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW05
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW05
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW05
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW05
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW05
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW05
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW06
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	2.5 mg/l
	TM022
	17/05/2016

09:50
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW06
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	<1 mg/l
	TM045
	17/05/2016

09:50
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW06
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	0.545 mg/l
	TM099
	17/05/2016

09:50
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW06
	Conductivity
	>2000 µS/cm
	Quarterly
	0.827 mS/cm
	TM120
	17/05/2016

09:50
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW06
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.607 µg/l
	TM152
	17/05/2016

09:50
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW06
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	3.17 µg/l
	TM152
	17/05/2016

09:50
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW06
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	<46 µg/l
	TM172
	17/05/2016

09:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW06
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	17/05/2016

09:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW06
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	17/05/2016

09:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW06
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	17/05/2016

09:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW06
	Sulphate
	>300  mg/l
	Quarterly
	148 mg/l
	TM184
	17/05/2016

09:50
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW06
	Chloride
	>300  mg/l
	Quarterly
	55.5 mg/l
	TM184
	17/05/2016

09:50
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW06
	Nitrite as N
	>1  mg/l
	Quarterly
	<0.0152 mg/l
	TM184
	17/05/2016

09:50
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW06
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	0.691 mg/l
	TM184
	17/05/2016

09:50
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW06
	Nitrate as N
	>1  mg/l
	Quarterly
	<0.0677 mg/l
	TM184
	17/05/2016

09:50
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW06
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	<0.1 mg/l
	TM184
	17/05/2016

09:50
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW06
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	6.35 mg/l
	TM187
	17/05/2016

09:50
	Lab: Unknown. Sampling: Immeasurable

	SW06
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	17/05/2016

09:50
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW06
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	3.65 µg/l
	TM191
	17/05/2016

09:50
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW06
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	139 mg/l
	TM228
	17/05/2016

09:50
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW06
	pH
	6.8 – 8.5
	Quarterly
	7.63 pH Units
	TM256
	17/05/2016

09:50
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW06
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	17/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW06
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW06
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW06
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW06
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW06
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW06
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW07
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	2.5 mg/l
	TM022
	18/05/2016

09:00
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW07
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	3.56  mg/l
	TM045
	18/05/2016

09:00
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW07
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	0.133 mg/l 
	TM099
	18/05/2016

09:00
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW07
	Conductivity
	>2000 µS/cm
	Quarterly
	1.16 mS/cm 
	TM120
	18/05/2016

09:00
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW07
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.596 µg/l 
	TM152
	18/05/2016

09:00
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW07
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	3.67 µg/l 
	TM152
	18/05/2016

09:00
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW07
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	<46 µg/l
	TM172
	18/05/2016

09:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW07
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	18/05/2016

09:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW07
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	18/05/2016

09:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW07
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	18/05/2016

09:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW07
	Sulphate
	>300  mg/l
	Quarterly
	322 mg/l
	TM184
	18/05/2016

09:00
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW07
	Chloride
	>300  mg/l
	Quarterly
	64.4 mg/l
	TM184
	18/05/2016

09:00
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW07
	Nitrite as N
	>1  mg/l
	Quarterly
	<0.0152 mg/l
	TM184
	18/05/2016

09:00
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW07
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	0.077 mg/l
	TM184
	18/05/2016

09:00
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW07
	Nitrate as N
	>1  mg/l
	Quarterly
	<0.677 mg/l
	TM184
	18/05/2016

09:00
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW07
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	<0.1 mg/l
	TM184
	18/05/2016

09:00
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW07
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	3.23 mg/l
	TM187
	18/05/2016

09:00
	Lab: Unknown. Sampling: Immeasurable

	SW07
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	18/05/2016

09:00
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW07
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	7.95 µg/l
	TM191
	18/05/2016

09:00
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW07
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	235 mg/l
	TM228
	18/05/2016

09:00
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW07
	pH
	6.8 – 8.5
	Quarterly
	7.51 pH Units
	TM256
	18/05/2016

09:00
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW07
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	18/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW07
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	18/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW07
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	18/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW07
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	18/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW07
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	18/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW07
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	18/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW07
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	18/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW08
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	8.5 mg/l
	TM022
	17/05/2016

08:50
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW08
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	3.62 mg/l
	TM045
	17/05/2016

08:50
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW08
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	0.0772 mg/l
	TM099
	17/05/2016

08:50
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW08
	Conductivity
	>2000 µS/cm
	Quarterly
	0.527 mS/cm
	TM120
	17/05/2016

08:50
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW08
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.088 µg/l
	TM152
	17/05/2016

08:50
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW08
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	1.57 µg/l
	TM152
	17/05/2016

08:50
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW08
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	<46 µg/l
	TM172
	17/05/2016

08:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW08
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	17/05/2016

08:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW08
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	17/05/2016

08:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW08
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	17/05/2016

08:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW08
	Sulphate
	>300  mg/l
	Quarterly
	46.7 mg/l
	TM184
	17/05/2016

08:50
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW08
	Chloride
	>300  mg/l
	Quarterly
	32.9 mg/l
	TM184
	17/05/2016

08:50
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW08
	Nitrite as N
	>1  mg/l
	Quarterly
	<0.0152 mg/l
	TM184
	17/05/2016

08:50
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW08
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	<0.05 mg/l
	TM184
	17/05/2016

08:50
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW08
	Nitrate as N
	>1  mg/l
	Quarterly
	<0.0677 mg/l
	TM184
	17/05/2016

08:50
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW08
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	<0.1 mg/l
	TM184
	17/05/2016

08:50
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW08
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	4.27 mg/l
	TM187
	17/05/2016

08:50
	Lab: Unknown. Sampling: Immeasurable

	SW08
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	17/05/2016

08:50
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW08
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	10.6 µg/l
	TM191
	17/05/2016

08:50
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW08
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	72.5 mg/l
	TM228
	17/05/2016

08:50
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW08
	pH
	6.8 – 8.5
	Quarterly
	7.72 pH Units
	TM256
	17/05/2016

08:50
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW08
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	17/05/2016

08:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW08
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

08:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW08
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

08:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW08
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

08:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW08
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

08:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW08
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

08:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW08
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	17/05/2016

08:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW10
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	31 mg/l
	TM022
	16/05/2016

09:00
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW10
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	5.89 mg/l
	TM045
	16/05/2016

09:00
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW10
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	5.26 mg/l
	TM099
	16/05/2016

09:00
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW10
	Conductivity
	>2000 µS/cm
	Quarterly
	1.2 mS/cm
	TM120
	16/05/2016

09:00
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW10
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	1.49 µg/l
	TM152
	16/05/2016

09:00
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW10
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	11.5 µg/l
	TM152
	16/05/2016

09:00
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW10
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	150 µg/l
	TM172
	16/05/2016

09:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW10
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	71.3 µg/l
	TM172
	16/05/2016

09:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW10
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	50 µg/l
	TM172
	16/05/2016

09:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW10
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	29.1 µg/l
	TM172
	16/05/2016

09:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW10
	Sulphate
	>300  mg/l
	Quarterly
	274 mg/l
	TM184
	16/05/2016

09:00
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW10
	Chloride
	>300  mg/l
	Quarterly
	108 mg/l
	TM184
	16/05/2016

09:00
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW10
	Nitrite as N
	>1  mg/l
	Quarterly
	0.0429 mg/l
	TM184
	16/05/2016

09:00
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW10
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	0.075 mg/l
	TM184
	16/05/2016

09:00
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW10
	Nitrate as N
	>1  mg/l
	Quarterly
	0.209 mg/l
	TM184
	16/05/2016

09:00
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW10
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	0.252 mg/l
	TM184
	16/05/2016

09:00
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW10
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	3.67 mg/l
	TM187
	16/05/2016

09:00
	Lab: Unknown. Sampling: Immeasurable

	SW10
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	16/05/2016

09:00
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW10
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	27 µg/l
	TM191
	16/05/2016

09:00
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW10
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	110 mg/l
	TM228
	16/05/2016

09:00
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW10
	pH
	6.8 – 8.5
	Quarterly
	7.88 pH Units
	TM256
	16/05/2016

09:00
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW10
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	16/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW10
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW10
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW10
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW10
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW10
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW10
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW11
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	13 mg/l
	TM022
	16/05/2016

09:15
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW11
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	<5 mg/l
	TM045
	16/05/2016

09:15
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW11
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	9.87 mg/l
	TM099
	16/05/2016

09:15
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW11
	Conductivity
	>2000 µS/cm
	Quarterly
	1.21 mS/cm
	TM120
	16/05/2016

09:15
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW11
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.98 µg/l
	TM152
	16/05/2016

09:15
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW11
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	11 µg/l
	TM152
	16/05/2016

09:15
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW11
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	162 µg/l
	TM172
	16/05/2016

09:15
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW11
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	74.4 µg/l
	TM172
	16/05/2016

09:15
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW11
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	56.5 µg/l
	TM172
	16/05/2016

09:15
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW11
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	31 µg/l
	TM172
	16/05/2016

09:15
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW11
	Sulphate
	>300  mg/l
	Quarterly
	277 mg/l
	TM184
	16/05/2016

09:15
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW11
	Chloride
	>300  mg/l
	Quarterly
	114 mg/l
	TM184
	16/05/2016

09:15
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW11
	Nitrite as N
	>1  mg/l
	Quarterly
	0.0779 mg/l
	TM184
	16/05/2016

09:15
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW11
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	<0.05 mg/l
	TM184
	16/05/2016

09:15
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW11
	Nitrate as N
	>1  mg/l
	Quarterly
	0.091 mg/l
	TM184
	16/05/2016

09:15
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW11
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	0.169 mg/l
	TM184
	16/05/2016

09:15
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW11
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	1.35 mg/l
	TM187
	16/05/2016

09:15
	Lab: Unknown. Sampling: Immeasurable

	SW11
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	16/05/2016

09:15
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW11
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	30.5 µg/l
	TM191
	16/05/2016

09:15
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW11
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	97.4 mg/l
	TM228
	16/05/2016

09:15
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW11
	pH
	6.8 – 8.5
	Quarterly
	7.88 pH Units
	TM256
	16/05/2016

09:15
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW11
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	16/05/2016

09:15
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW11
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:15
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW11
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:15
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW11
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:15
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW11
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:15
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW11
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:15
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW11
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:15
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW12
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	8 mg/l
	TM022
	16/05/2016

09:30
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW12
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	<7 mg/l
	TM045
	16/05/2016

09:30
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW12
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	0.225 mg/l
	TM099
	16/05/2016

09:30
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW12
	Conductivity
	>2000 µS/cm
	Quarterly
	0.767 mS/cm
	TM120
	16/05/2016

09:30
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW12
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.98 µg/l
	TM152
	16/05/2016

09:30
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW12
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	2.19 µg/l
	TM152
	16/05/2016

09:30
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW12
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	<46 µg/l
	TM172
	16/05/2016

09:30
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW12
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	16/05/2016

09:30
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW12
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	16/05/2016

09:30
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW12
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	11.5 µg/l
	TM172
	16/05/2016

09:30
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW12
	Sulphate
	>300  mg/l
	Quarterly
	57.4 mg/l
	TM184
	16/05/2016

09:30
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW12
	Chloride
	>300  mg/l
	Quarterly
	50.1 mg/l
	TM184
	16/05/2016

09:30
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW12
	Nitrite as N
	>1  mg/l
	Quarterly
	<0.0152 mg/l
	TM184
	16/05/2016

09:30
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW12
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	2.15 mg/l
	TM184
	16/05/2016

09:30
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW12
	Nitrate as N
	>1  mg/l
	Quarterly
	<0.0677 mg/l
	TM184
	16/05/2016

09:30
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW12
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	<0.1 mg/l
	TM184
	16/05/2016

09:30
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW12
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	3.66 mg/l
	TM187
	16/05/2016

09:30
	Lab: Unknown. Sampling: Immeasurable

	SW12
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	16/05/2016

09:30
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW12
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	8.04 µg/l
	TM191
	16/05/2016

09:30
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW12
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	77.4 mg/l
	TM228
	16/05/2016

09:30
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW12
	pH
	6.8 – 8.5
	Quarterly
	7.62 pH Units
	TM256
	16/05/2016

09:30
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW12
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	16/05/2016

09:30
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW12
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:30
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW12
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:30
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW12
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:30
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW12
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:30
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW12
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:30
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW12
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:30
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW13
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	21.5 mg/l
	TM022
	16/05/2016

09:50
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW13
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	11.7 mg/l
	TM045
	16/05/2016

09:50
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW13
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	0.0481 mg/l
	TM099
	16/05/2016

09:50
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW13
	Conductivity
	>2000 µS/cm
	Quarterly
	1.04 mS/cm
	TM120
	16/05/2016

09:50
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW13
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	1.02 µg/l
	TM152
	16/05/2016

09:50
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW13
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	5.32 µg/l
	TM152
	16/05/2016

09:50
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW13
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	160 µg/l
	TM172
	16/05/2016

09:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW13
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	40.2 µg/l
	TM172
	16/05/2016

09:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW13
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	75.2 µg/l
	TM172
	16/05/2016

09:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW13
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	44.3 µg/l
	TM172
	16/05/2016

09:50
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW13
	Sulphate
	>300  mg/l
	Quarterly
	71.2 mg/l
	TM184
	16/05/2016

09:50
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW13
	Chloride
	>300  mg/l
	Quarterly
	85.9 mg/l
	TM184
	16/05/2016

09:50
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW13
	Nitrite as N
	>1  mg/l
	Quarterly
	<0.0152 mg/l
	TM184
	16/05/2016

09:50
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW13
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	2.05 mg/l
	TM184
	16/05/2016

09:50
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW13
	Nitrate as N
	>1  mg/l
	Quarterly
	<0.0677 mg/l
	TM184
	16/05/2016

09:50
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW13
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	<0.1 mg/l
	TM184
	16/05/2016

09:50
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW13
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	2.67 mg/l
	TM187
	16/05/2016

09:50
	Lab: Unknown. Sampling: Immeasurable

	SW13
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	16/05/2016

09:50
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW13
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	28.2 µg/l
	TM191
	16/05/2016

09:50
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW13
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	89.7 mg/l
	TM228
	16/05/2016

09:50
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW13
	pH
	6.8 – 8.5
	Quarterly
	7.76 pH Units
	TM256
	16/05/2016

09:50
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW13
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	16/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW13
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW13
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW13
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW13
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW13
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW13
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

09:50
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW15
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	16 mg/l
	TM022
	16/05/2016

10:20
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW15
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	5.35 mg/l
	TM045
	16/05/2016

10:20
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW15
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	1.52 mg/l
	TM099
	16/05/2016

10:20
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW15
	Conductivity
	>2000 µS/cm
	Quarterly
	1.05 mS/cm
	TM120
	16/05/2016

10:20
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW15
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.407 µg/l
	TM152
	16/05/2016

10:20
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW15
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	3.93 µg/l
	TM152
	16/05/2016

10:20
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW15
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	62.7 µg/l
	TM172
	16/05/2016

10:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW15
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	20 µg/l
	TM172
	16/05/2016

10:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW15
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	24.3 µg/l
	TM172
	16/05/2016

10:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW15
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	18.5 µg/l
	TM172
	16/05/2016

10:20
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW15
	Sulphate
	>300  mg/l
	Quarterly
	203 mg/l
	TM184
	16/05/2016

10:20
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	 SW15
	Chloride
	>300  mg/l
	Quarterly
	93.1 mg/l
	TM184
	16/05/2016

10:20
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW15
	Nitrite as N
	>1  mg/l
	Quarterly
	0.0457 mg/l
	TM184
	16/05/2016

10:20
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW15
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	0.48 mg/l
	TM184
	16/05/2016

10:20
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW15
	Nitrate as N
	>1  mg/l
	Quarterly
	<0.0677 mg/l
	TM184
	16/05/2016

10:20
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW15
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	<0.1 mg/l
	TM184
	16/05/2016

10:20
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW15
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	3.67 mg/l
	TM187
	16/05/2016

10:20
	Lab: Unknown. Sampling: Immeasurable

	SW15
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	16/05/2016

10:20
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW15
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	8.88 µg/l
	TM191
	16/05/2016

10:20
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW15
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	93.2 mg/l
	TM228
	16/05/2016

10:20
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW15
	pH
	6.8 – 8.5
	Quarterly
	8.02 pH Units
	TM256
	16/05/2016

10:20
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW15
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	16/05/2016

10:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW15
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW15
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW15
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW15
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW15
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW15
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:20
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW16
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	8 mg/l
	TM022
	16/05/2016

10:40
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW16
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	4.54 mg/l
	TM045
	16/05/2016

10:40
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW16
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	0.0816 mg/l
	TM099
	16/05/2016

10:40
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW16
	Conductivity
	>2000 µS/cm
	Quarterly
	0.782 mS/cm
	TM120
	16/05/2016

10:40
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW16
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.217 µg/l
	TM152
	16/05/2016

10:40
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW16
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	2.14 µg/l
	TM152
	16/05/2016

10:40
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW16
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	<46 µg/l
	TM172
	16/05/2016

10:40
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW16
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	16/05/2016

10:40
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW16
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	16/05/2016

10:40
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW16
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	11.4 µg/l
	TM172
	16/05/2016

10:40
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW16
	Sulphate
	>300  mg/l
	Quarterly
	130 mg/l
	TM184
	16/05/2016

10:40
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW16
	Chloride
	>300  mg/l
	Quarterly
	53.6 mg/l
	TM184
	16/05/2016

10:40
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW16
	Nitrite as N
	>1  mg/l
	Quarterly
	<0.0152 mg/l
	TM184
	16/05/2016

10:40
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW16
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	0.11mg/l
	TM184
	16/05/2016

10:40
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW16
	Nitrate as N
	>1  mg/l
	Quarterly
	<0.0677 mg/l
	TM184
	16/05/2016

10:40
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW16
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	<0.1 mg/l
	TM184
	16/05/2016

10:40
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW16
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	5.76 mg/l
	TM187
	16/05/2016

10:40
	Lab: Unknown. Sampling: Immeasurable

	SW16
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	16/05/2016

10:40
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW16
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	9.27 µg/l
	TM191
	16/05/2016

10:40
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW16
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	83.2 mg/l
	TM228
	16/05/2016

10:40
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW16
	pH
	6.8 – 8.5
	Quarterly
	7.93 pH Units
	TM256
	16/05/2016

10:40
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW16
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	16/05/2016

10:40
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW16
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:40
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW16
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:40
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW16
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:40
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW16
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:40
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW16
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:40
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW16
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

10:40
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW17
	Suspended Solids, Total
	>250  mg/l (1 occasion)

>100  mg/l (3 consecutive occasions)

>60  mg/l (4 consecutive occasions)
	Quarterly
	5.5 mg/l
	TM022
	16/05/2016

11:00
	Lab: Precision 1.5%, Bias -2.8%, Expanded Uncertainty 5.8%. Sampling: Immeasurable

	SW17
	BOD, unfiltered
	>18  mg/l (1 occasion)

>10  mg/l (3 consecutive occasions)
	Quarterly
	3.45 mg/l
	TM045
	16/05/2016

11:00
	Lab: Precision 8.9%, Bias 1.0%, Expanded Uncertainty 18.8%. Sampling: Immeasurable

	SW17
	Ammoniacal Nitrogen as N
	>1  mg/l (1 occasion)

>0.5  mg/l (4 consecutive occasions)
	Quarterly
	0.287 mg/l
	TM099
	16/05/2016

11:00
	Lab: Precision 2.3%, Bias 3.4%, Expanded Uncertainty 8.0%. Sampling: Immeasurable

	SW17
	Conductivity
	>2000 µS/cm
	Quarterly
	0.922 mS/cm
	TM120
	16/05/2016

11:00
	Lab: Precision 1.3%, Bias 2.6%, Expanded Uncertainty 5.1%. Sampling: Immeasurable

	SW17
	Lead (diss.filt)
	>0.25  mg/l
	Quarterly
	0.385 µg/l
	TM152
	16/05/2016

11:00
	Lab: Precision 4.5%, Bias -3.5%, Expanded Uncertainty 12.4%. Sampling: Immeasurable

	SW17
	Nickel (diss.filt)
	>0.1  mg/l
	Quarterly
	2.76 µg/l
	TM152
	16/05/2016

11:00
	Lab: Precision 4.7%, Bias 1.3%, Expanded Uncertainty 10.7%. Sampling: Immeasurable

	SW17
	EPH Range >C10-C40 (aq)
	>2  mg/l
	Quarterly
	<46 µg/l
	TM172
	16/05/2016

11:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW17
	EPH Range >C10-C20 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	16/05/2016

11:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW17
	EPH Range >C20-C30 (aq)
	>2  mg/l
	Quarterly
	<10 µg/l
	TM172
	16/05/2016

11:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW17
	EPH Range >C30-C40 (aq)
	>2  mg/l
	Quarterly
	12.4 µg/l
	TM172
	16/05/2016

11:00
	Lab: Precision 8.2%, Bias -8.3%, Expanded Uncertainty 24.8%. Sampling: Immeasurable

	SW17
	Sulphate
	>300  mg/l
	Quarterly
	165 mg/l
	TM184
	16/05/2016

11:00
	Lab: Precision 3.2%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW17
	Chloride
	>300  mg/l
	Quarterly
	67.8 mg/l
	TM184
	16/05/2016

11:00
	Lab: Precision 3.1%, Bias -0.1%, Expanded Uncertainty 6.6%. Sampling: Immeasurable

	SW17
	Nitrite as N
	>1  mg/l
	Quarterly
	0.0374 mg/l
	TM184
	16/05/2016

11:00
	Lab: Precision 2.3%, Bias -0.3%, Expanded Uncertainty 4.9%. Sampling: Immeasurable

	SW17
	Phosphate (ortho) as PO4
	>1  mg/l
	Quarterly
	0.697 mg/l
	TM184
	16/05/2016

11:00
	Lab: Precision 1.1%, Bias 4.1%, Expanded Uncertainty 6.2%. Sampling: Immeasurable

	SW17
	Nitrate as N
	>1  mg/l
	Quarterly
	0.154 mg/l
	TM184
	16/05/2016

11:00
	Lab: As per TON and NO2. Sampling: Immeasurable

	SW17
	Total Oxidised Nitrogen as N
	>2  mg/l
	Quarterly
	0.191 mg/l
	TM184
	16/05/2016

11:00
	Lab: Precision 2.7%, Bias 2.2%, Expanded Uncertainty 7.6%. Sampling: Immeasurable

	SW17
	Oxygen, dissolved
	<2  mg/l (1 occasion)

<5  mg/l (3 consecutive occasions)
	Quarterly
	3.85 mg/l
	TM187
	16/05/2016

11:00
	Lab: Unknown. Sampling: Immeasurable

	SW17
	Cadmium (tot.unfilt)
	>0.005  mg/l
	Quarterly
	<0.5 µg/l
	TM191
	16/05/2016

11:00
	Lab: Precision 4.7%, Bias -2.2%, Expanded Uncertainty 11.5%. Sampling: Immeasurable

	SW17
	Zinc (tot.unfilt)
	>1  mg/l
	Quarterly
	7.12 µg/l
	TM191
	16/05/2016

11:00
	Lab: Precision 7.3%, Bias -1.1%, Expanded Uncertainty 15.6%. Sampling: Immeasurable

	SW17
	Calcium (tot.unfilt)
	>300  mg/l
	Quarterly
	86.1 mg/l
	TM228
	16/05/2016

11:00
	Lab: Precision 5.0%, Bias -3.2%, Expanded Uncertainty 13.2%. Sampling: Immeasurable

	SW17
	pH
	6.8 – 8.5
	Quarterly
	7.88 pH Units
	TM256
	16/05/2016

11:00
	Lab: Precision 0.5%, Bias 0.9%, Expanded Uncertainty 1.8%. Sampling: Immeasurable

	SW17
	GRO >C5-C12
	>2  mg/l
	Quarterly
	<50 µg/l
	TM245
	16/05/2016

11:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW17
	GRO >C7-C8
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

11:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW17
	GRO >C5-C6
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

11:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW17
	GRO >C6-C7
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

11:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW17
	GRO >C8-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

11:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW17
	GRO >C10-C12
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

11:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable

	SW17
	GRO >C5-C10
	>2  mg/l
	Quarterly
	<10 µg/l
	TM245
	16/05/2016

11:00
	Lab: Precision 8.7%, Bias -9.5%, Expanded Uncertainty 26.8%. Sampling: Immeasurable


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the 'minimum - maximum' measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Environment Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
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	Signed……………………………………………………………
	Date:  June 2016

	(Authorised to sign as representative of Operator)


	


Ahlim Hashm on behalf of Atlantic Recycling
Permit Number EPR/PP3993VS
