## L5
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2016
Location: Leachate 5
Determinands | Units | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01
Field Measurements
pH | pH Units | 2016-03-01: 7.95
Temperature | °C | 2016-03-01: 8.2
Conductivity | uS | 2016-03-01: 760
Suite | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 2016-01-01: 13.01.16; 2016-02-01: 09.02.16; 2016-03-01: 08.03.16; 2016-04-01: 05.04.16
Laboritory Measurements
pH | pH Units | 2016-01-01: 8.11; 2016-02-01: 7.8; 2016-03-01: 8.29; 2016-04-01: 7.7
Conductivity @ 20c | uS/cm | 2016-01-01: 550; 2016-02-01: 375; 2016-03-01: 796; 2016-04-01: 562
BOD total+ATU | mg/l O | 2016-01-01: 1.18; 2016-02-01: <1.00; 2016-03-01: 1.55; 2016-04-01: 1.74
COD (Total) | mg/l O | 2016-01-01: 20; 2016-02-01: 13; 2016-03-01: 36; 2016-04-01: 26
Alkalinity total | mg/l CaCO3 | 2016-01-01: 200; 2016-02-01: 155; 2016-03-01: 242; 2016-04-01: 178
Ammonium (as N) | mg/l N | 2016-01-01: 6.25; 2016-02-01: 3.51; 2016-03-01: 17.4; 2016-04-01: 9.12
Total Oxidised Nitrogen | mg/l N | 2016-02-01: 2.12
Nitrite | mg/l N | 2016-02-01: <0.100
Nitrate | mg/l N | 2016-02-01: <2.12
Chloride | mg/l | 2016-01-01: 29.1; 2016-02-01: 31.2; 2016-03-01: 74.9; 2016-04-01: 42.9
Sulphate | mg/l | 2016-02-01: 12.7
Sulphide (dissolved) | mg/l S | 2016-02-01: <0.02
Phenols (tot. monohydric) | mg/l | 2016-02-01: <0.04
Total Organic Carbon | mg/l | 2016-01-01: 5.7; 2016-02-01: 3.3; 2016-03-01: 10.2; 2016-04-01: 7.9
Cadmium | ug/l | 2016-02-01: <0.100
Chromium | ug/l | 2016-02-01: 0.622
Lead | ug/l | 2016-02-01: <2.00
Copper | ug/l | 2016-02-01: <1.00
Nickel | ug/l | 2016-02-01: <1.00
Zinc | ug/l | 2016-02-01: 20.8
Iron | ug/l | 2016-02-01: 132
Phosphorus | mg/l P
Potassium | mg/l | 2016-02-01: 6.88
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l
Butan-2-ol | mg/l
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l
O Xylene | ug/l
Total Xylenes | ug/l
n-proanol | ug/l
Sodium | mg/l | 2016-02-01: 15.6
Magnesium | mg/l | 2016-02-01: 8.8
Manganese | mg/l
1,2 - Dichloroethane | ug/l | 2016-02-01: <0.1
Formaldehyde | mg/l
2 Methyl prop-l-ol | mg/l
suspended solids | mg/l | 2016-01-01: <3; 2016-02-01: <3; 2016-03-01: 6.2; 2016-04-01: 9.35
acetone | ug/l
acrylonitrile | ug/l
arsenic | ug/l
benzene | ug/l | 2016-02-01: <0.1
calcium | mg/l
detergents, anionicas NaLS | mg/l
xylene | ug/l | 2016-02-01: <0.2
mercury | ug/l
methanol | ug/l
propan-2-ol | ug/l
1,1,1,-Trichloroethane | ug/l | 2016-02-01: <0.1
Styrene | ug/l | 2016-02-01: <0.3
toluene | ug/l
trichloroethene | ug/l | 2016-02-01: <0.2
dimethoxymethane | ug/l

## L5a
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2016
Location: L5a: Leachate discharge from this sump drains into downgradient pipeline.
Determinands | Units | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01
Field Measurements
pH | pH Units | 2016-03-01: 8.2
Temperature | °C | 2016-03-01: 8
Conductivity | uS | 2016-03-01: 915
Leachate Level | m | 2016-01-01: Dry; 2016-02-01: Dry; 2016-03-01: Dry; 2016-04-01: Dry
Suite | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 2016-01-01: 13.01.16; 2016-02-01: 09.02.16; 2016-03-01: 08.03.16; 2016-04-01: 05.04.16
Laboritory Measurements
pH | pH Units | 2016-01-01: 8.15; 2016-02-01: 8.06; 2016-03-01: 8.41; 2016-04-01: 8.12
Conductivity @ 20c | uS/cm | 2016-01-01: 678; 2016-02-01: 591; 2016-03-01: 964; 2016-04-01: 746
BOD total+ATU | mg/l O | 2016-01-01: <1.00; 2016-02-01: <1.00; 2016-03-01: <1.00; 2016-04-01: <1.00
COD (Total) | mg/l O | 2016-01-01: 12; 2016-02-01: 7; 2016-03-01: 27; 2016-04-01: 13
Alkalinity total | mg/l CaCO3 | 2016-01-01: 258; 2016-02-01: 236; 2016-03-01: 301; 2016-04-01: 292
Ammonium (as N) | mg/l N | 2016-01-01: <0.500; 2016-02-01: <0.500; 2016-03-01: <0.500; 2016-04-01: <0.500
Total Oxidised Nitrogen | mg/l N | 2016-02-01: 5.01
Nitrite | mg/l N | 2016-02-01: <5.01
Nitrate | mg/l N | 2016-02-01: <0.100
Chloride | mg/l | 2016-01-01: 30.6; 2016-02-01: 22.7; 2016-03-01: 87; 2016-04-01: 42.2
Sulphate | mg/l | 2016-02-01: 28.5
Sulphide (dissolved) | mg/l S | 2016-02-01: <0.02
Phenols (tot. monohydric) | mg/l | 2016-02-01: <0.04
Total Organic Carbon | mg/l | 2016-01-01: 4.1; 2016-02-01: 2.7; 2016-03-01: 7.9; 2016-04-01: 5.2
Cadmium | ug/l | 2016-02-01: <0.100
Chromium | ug/l | 2016-02-01: 1.24
Lead | ug/l | 2016-02-01: <2.00
Copper | ug/l | 2016-02-01: 2.61
Nickel | ug/l | 2016-02-01: 1.69
1,1,1,-Trichloroethane | ug/l | 2016-02-01: <0.1
Zinc | ug/l | 2016-02-01: 32.4
Iron | ug/l | 2016-02-01: 67.3
Phosphorus | mg/l P
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l
Butan-2-ol | mg/l
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Benzene | ug/l | 2016-02-01: <0.1
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l | 2016-02-01: <0.2
O Xylene | ug/l
Total Xylenes | ug/l
n-proanol | ug/l
2 Methyl prop-l-ol | mg'l
Potassium | mg/l | 2016-02-01: 11.8
Sodium | mg/l | 2016-02-01: 16.4
Calcium | mg/l
Magnesium | mg/l | 2016-02-01: 15.1
Manganese | mg/l
1,2 - Dichloroethane | ug/l | 2016-02-01: <0.1
Formaldehyde | mg/l
suspended solids | mg/l | bar: 2016-01-01 to 2016-04-01
acetone | ug/l
acetonitrile | mg/l
acrylonitrile | ug/l
arsenic | ug/l
detergents, anionicas NaLS | mg/l
mercury | ug/l
methanol | ug/l
Styrene | ug/l | 2016-02-01: <0.3
propan-2-ol | ug/l
toluene | ug/l
trichloroethene | ug/l | 2016-02-01: <0.2
dimethoxymethane | ug/l

## LPS1
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2016
Location: Leachate LPS1 |  |  | 0
Determinands | Units | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01
Field Measurements
pH | pH Units | 2016-03-01: 7,55
Temperature | °C | 2016-03-01: 8.4
Conductivity | uS | 2016-03-01: 1055
Leachate Level | m | 2016-01-01: 0.83; 2016-02-01: 0.89; 2016-03-01: 0.75; 2016-04-01: 0.89
| Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 2016-01-01: 13.01.16; 2016-02-01: 09.02.16; 2016-03-01: 08.03.16; 2016-04-01: 05.04.16
Laboritory Measurements
pH | pH Units | 2016-01-01: 7.15; 2016-02-01: 7.41; 2016-03-01: 7.81; 2016-04-01: 7.57
Conductivity @ 20c | uS/cm | 2016-01-01: 377; 2016-02-01: 1400; 2016-03-01: 1080; 2016-04-01: 867
BOD total+ATU | mg/l O | 2016-01-01: <1.00; 2016-02-01: 3.64; 2016-03-01: 3.79; 2016-04-01: 3.58
COD (Total) | mg/l O | 2016-01-01: 17; 2016-02-01: 75; 2016-03-01: 48; 2016-04-01: 47
Alkalinity total | mg/l CaCO3 | 2016-01-01: 145; 2016-02-01: 460; 2016-03-01: 356; 2016-04-01: 275
Ammonium (as N) | mg/l N | 2016-01-01: 8.53; 2016-02-01: 66.2; 2016-03-01: 49; 2016-04-01: 35.9
Total Oxidised Nitrogen | mg/l N | 2016-02-01: <1.00
Nitrite | mg/l N | 2016-02-01: <0.100
Nitrate | mg/l N | 2016-02-01: <1.00
Chloride | mg/l | 2016-01-01: 21.6; 2016-02-01: 136; 2016-03-01: 105; 2016-04-01: 79.5
Sulphate | mg/l | 2016-02-01: 51.7
Sulphide (dissolved) | mg/l S | 2016-02-01: <0.02
1,1,1,-Trichloroethane | ug/l | 2016-02-01: <0.1
Phenols (tot. monohydric) | mg/l | 2016-02-01: <0.04
Total Organic Carbon | mg/l | 2016-01-01: 3.3; 2016-02-01: 24.4; 2016-03-01: 16.2; 2016-04-01: 13.6
Cadmium | ug/l | 2016-02-01: <0.100
Chromium | ug/l | 2016-02-01: 3.22
Lead | ug/l | 2016-02-01: <2.00
Copper | ug/l | 2016-02-01: <1.00
Nickel | ug/l | 2016-02-01: 7.37
Zinc | ug/l | 2016-02-01: 31.9
Iron | ug/l | 2016-02-01: 1310
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l
Butan-2-ol | mg/l
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l
O Xylene | ug/l
Total Xylenes | ug/l
n-proanol | ug/l
2 Methyl prop-l-ol | mg/l
Phosphorus | mg/l P
Potassium | mg/l | 2016-02-01: 46.7
Sodium | mg/l | 2016-02-01: 94
Magnesium | mg/l | 2016-02-01: 24.7
Manganese | mg/l
1,2 - Dichloroethane | ug/l | 2016-02-01: <0.1
Formaldehyde | mg/l
suspended solids | mg/l | 2016-01-01: <3; 2016-02-01: <3; 2016-03-01: 3.1; 2016-04-01: 3.75
acetone | ug/l
acetonitrile | mg/l
acrylonitrile | ug/l
arsenic | ug/l
benzene | ug/l | 2016-02-01: 0.139
calcium | mg/l
detergents, anionicas NaLS | mg/l
mercury | ug/l
Styrene | ug/l | 2016-02-01: <0.3
methanol | ug/l
propan-2-ol | ug/l
toluene | ug/l
trichloroethene | ug/l | 2016-02-01: <0.2
dimethoxymethane | ug/l