## L5
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2017
Location: Leachate 5
Determinands | Units | 2017-01-01 | 2017-02-01 | 2017-03-01 | 2017-04-01 | 2017-05-01 | 2017-06-01 | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01
Field Measurements
pH | pH Units | 8.75 | 9 | 7.65 | 9.3 | 8.78 |  |  | 8.31 | 8.21 | 8.44 | 8.66
Temperature | °C | 6.5 | 6.3 | 6.7 | 9.7 | 10.2 | DRY |  | 18.1 | 15.3 | 13.8 | 8.9
Conductivity | uS | 587 | 405 | 468 | 577 | 1770 |  |  | 810 | 1095 | 877 | 1095
Suite | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 10.01.17 | 07.02.17 | 01.03.2017 | 05.04.17 | 10.05.17 | 14.06.17 | 11.07.17 | 15.08.17 | 06.09.17 | 10.10.17 | 07.11.17 | 0-5.12.2017
Laboritory Measurements
pH | pH Units | 7.99 | 7.8 | 8.12 | 7.89 | 8.06 |  | 8.1 | 7.66 | 7.97 | 8.14 | 7.93 | 7.9
Conductivity @ 20c | uS/cm | 544 | 354 | 437 | 524 | 1850 |  | 2100 | 714 | 1040 | 768 | 980 | 779
BOD total+ATU | mg/l O | 1.16 | <1.00 | 1.52 | 2.8 | 6.24 |  | 11 | 4.28 | 5.08 | 1.97 | 2.75 | 4.06
COD (Total) | mg/l O | 33 | <6.00 | 11 | 28 | 143 |  | 212 | 80 | 83 | 35 | 51 | 31
Alkalinity total | mg/l CaCO3 | 189 | 143 | 155 | 177 | 573 |  | 599 | 238 | 320 | 255 | 303 | 250
Ammonium (as N) | mg/l N | 9.39 | 3.2 | 5.38 | 7.63 | 60.1 |  | 50.4 | 8.52 | 22.7 | 10.1 | 23.6 | 12.3
Total Oxidised Nitrogen | mg/l N | 2017-02-01: 3.83; 2017-05-01: 22.8; 2017-07-01: 14.3; 2017-11-01: 13.8
Nitrite | mg/l N | 2017-02-01: 0.236; 2017-05-01: 3.03; 2017-06-01: DRY; 2017-07-01: 3.61; 2017-11-01: 1.04
Nitrate | mg/l N | 2017-02-01: 3.59; 2017-05-01: 19.8; 2017-07-01: 10.7; 2017-11-01: 12.8
Chloride | mg/l | 34.3 | 16.2 | 21.4 | 36.5 | 241 |  | 298 | 46.6 | 104 | 56.1 | 96.5 | 63.1
Sulphate | mg/l | 2017-02-01: 20; 2017-05-01: 65.5; 2017-07-01: 73.4; 2017-11-01: 41.2
Sulphide (dissolved) | mg/l S | 2017-02-01: <0.01; 2017-05-01: <0.01; 2017-07-01: <0.01; 2017-11-01: <0.01
Phenols (tot. monohydric) | mg/l | 2017-02-01: <0.04; 2017-05-01: <0.04; 2017-07-01: <0.04; 2017-11-01: <0.04
Total Organic Carbon | mg/l | 5.7 | 3.7 | 4.6 | 6.3 | 32.2 |  | 40.7 | 8.5 | 16.9 | 8.8 | 13.6 | 9
Cadmium | ug/l | 2017-02-01: <0.100; 2017-05-01: <0.100; 2017-07-01: <0.100; 2017-11-01: <0.100
Chromium | ug/l | 2017-02-01: <0.500; 2017-05-01: 4.64; 2017-07-01: 5.66; 2017-11-01: 1.91
Lead | ug/l | 2017-02-01: <2.00; 2017-05-01: <2.00; 2017-07-01: <2.00; 2017-11-01: <2.00
Copper | ug/l | 2017-02-01: 1.15; 2017-05-01: 3.34; 2017-07-01: 3.59; 2017-11-01: 1.8
Nickel | ug/l | 2017-02-01: 1.72; 2017-05-01: 17.1; 2017-07-01: 19.9; 2017-11-01: 6.59
Zinc | ug/l | 2017-02-01: 31.6; 2017-05-01: 114; 2017-07-01: 76.4; 2017-11-01: 38.5
Iron | ug/l | 2017-02-01: 146; 2017-05-01: 1430; 2017-07-01: 4150; 2017-11-01: 1020
Phosphorus | mg/l P
Potassium | mg/l | 2017-02-01: 8.25; 2017-05-01: 87.4; 2017-07-01: 101; 2017-11-01: 36.8
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l
Butan-2-ol | mg/l
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l
O Xylene | ug/l
Total Xylenes | ug/l
n-proanol | ug/l
Sodium | mg/l | 2017-02-01: 13.9; 2017-05-01: 181; 2017-07-01: 213; 2017-11-01: 72.3
Magnesium | mg/l | 2017-02-01: 11.4; 2017-05-01: 47; 2017-07-01: 51.3; 2017-11-01: 28.8
Manganese | mg/l
1,2 - Dichloroethane | ug/l | 2017-02-01: <0.1; 2017-05-01: <0.1; 2017-07-01: <0.1; 2017-11-01: <0.1
Formaldehyde | mg/l
2 Methyl prop-l-ol | mg/l
suspended solids | mg/l | <3 | <3 | <3 | 3.8 | 53.4 |  | 48.8 | 54.9 | 31.6 | 8.05 | 33.6 | 23.6
acetone | ug/l | 2017-07-01: <2000
acrylonitrile | ug/l | 2017-07-01: <500
arsenic | ug/l | 2017-07-01: 6.01
benzene | ug/l | 2017-02-01: <0.1; 2017-05-01: <0.1; 2017-07-01: <0.1; 2017-11-01: <0.1
calcium | mg/l | 2017-07-01: 70.7
detergents, anionicas NaLS | mg/l
xylene | ug/l | 2017-05-01: <0.2; 2017-07-01: <0.2
mercury | ug/l | 2017-07-01: <0.01
methanol | ug/l | 2017-07-01: <500
propan-2-ol | ug/l
1,1,1,-Trichloroethane | ug/l | 2017-02-01: <0.1; 2017-05-01: <0.1; 2017-07-01: <0.1; 2017-11-01: <0.1
Styrene | ug/l | 2017-02-01: <0.3; 2017-05-01: <0.3; 2017-07-01: <0.3; 2017-11-01: <0.3
toluene | ug/l | 2017-07-01: <0.1
trichloroethene | ug/l | 2017-02-01: <0.2; 2017-05-01: <0.2; 2017-07-01: <0.2; 2017-11-01: <0.2
dimethoxymethane | ug/l

## L5a
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2017
Location: L5a: Leachate discharge from this sump drains into downgradient pipeline.
Determinands | Units | 2017-01-01 | 2017-02-01 | 2017-03-01 | 2017-04-01 | 2017-05-01 | 2017-06-01 | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01
Field Measurements
pH | pH Units | 8.77 | 8.9 | 8.67 | 8.8 | 8.35 | 7.54 |  | 7.84 | 8.1 | 8.3 | 8.38
Temperature | °C | 10.9 | 11.1 | 11.4 | 11.8 | 12.4 | 15 | DRY | 14.2 | 13.8 | 13.3 | 11.6
Conductivity | uS | 815 | 673 | 717 | 795 | 805 | 933 |  | 985 | 1077 | 1095 | 1263
Leachate Level | m | Dry | Dry | Dry | Dry | Dry | Dry | DRY | DRY | DRY | DRY | DRY | DRY
Suite | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 10.01.17 | 07.02.17 | 01.03.2017 | 05.04.17 | 16.05.17 | 14.06.17 | 11.07.17 | 15.08.17 | 06.09.17 | 10.10.17 | 07.11.17 | 05.12.2017
Laboritory Measurements
pH | pH Units | 8.19 | 8.07 | 8.17 | 8.22 | 7.75 | 7.42 |  | 7.48 | 7.93 | 8.13 | 8.23 | 8.22
Conductivity @ 20c | uS/cm | 761 | 626 | 672 | 744 | 758 | 876 |  | 919 | 1030 | 903 | 1160 | 1010
BOD total+ATU | mg/l O | <1.00 | <1.00 | <1.00 | <1.00 | <1.00 | <1.00 |  | <1.00 | 1.39 | <1.00 | <1.00 | <1.00
COD (Total) | mg/l O | 13 | <6.00 | 14 | 15 | 23 | 11 | DRY | 19 | 26 | 19 | 16 | 14
Alkalinity total | mg/l CaCO3 | 312 | 280 | 289 | 295 | 290 | 299 |  | 353 | 382 | 353 | 339 | 309
Ammonium (as N) | mg/l N | <0.500 | <0.500 | <0.500 | 0.958 | 7.51 | 2.11 |  | <0.500 | <0.500 | <0.500 | <0.500 | 1.75
Total Oxidised Nitrogen | mg/l N | 2017-02-01: 4.29; 2017-05-01: 6.93; 2017-11-01: 24.6
Nitrite | mg/l N | 2017-02-01: <0.100; 2017-05-01: 0.465; 2017-11-01: 0.105
Nitrate | mg/l N | 2017-02-01: <4.29; 2017-05-01: 6.47; 2017-11-01: 24.5
Chloride | mg/l | 30.8 | 17.1 | 22.7 | 41.9 | 27.1 | 47.7 |  | 44.2 | 58.7 | 47.8 | 109 | 87.6
Sulphate | mg/l | 2017-02-01: 50.2; 2017-05-01: 49.9; 2017-11-01: 75.9
Sulphide (dissolved) | mg/l S | 2017-02-01: <0.01; 2017-05-01: <0.01; 2017-11-01: <0.01
Phenols (tot. monohydric) | mg/l | 2017-02-01: <0.04; 2017-05-01: <0.04; 2017-11-01: <0.04
Total Organic Carbon | mg/l | 3.7 | 2.9 | 4.3 | 4.6 | 3.8 | 5.4 |  | 5.3 | 6.7 | 5.1 | 9.9 | 11.4
Cadmium | ug/l | 2017-02-01: <0.100; 2017-05-01: <0.100; 2017-11-01: <0.100
Chromium | ug/l | 2017-02-01: 2.02; 2017-05-01: 0.53; 2017-11-01: 0.701
Lead | ug/l | 2017-02-01: <2.00; 2017-05-01: <2.00; 2017-11-01: <2.00
Copper | ug/l | 2017-02-01: 3.19; 2017-05-01: 2.73; 2017-11-01: 3.14
Nickel | ug/l | 2017-02-01: 3.31; 2017-05-01: 3.11; 2017-11-01: 8.22
1,1,1,-Trichloroethane | ug/l | 2017-02-01: <0.1; 2017-05-01: <0.1; 2017-11-01: <0.1
Zinc | ug/l | 2017-02-01: 30.3; 2017-05-01: 39.1; 2017-11-01: 21.5
Iron | ug/l | 2017-02-01: 82.9; 2017-05-01: 121; 2017-11-01: <30
Phosphorus | mg/l P
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l
Butan-2-ol | mg/l
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Benzene | ug/l | 2017-02-01: <0.1; 2017-05-01: <0.1; 2017-11-01: <0.1
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l | 2017-05-01: <0.2
O Xylene | ug/l | 2017-05-01: <0.2
Total Xylenes | ug/l
n-proanol | ug/l
2 Methyl prop-l-ol | mg'l
Potassium | mg/l | 2017-02-01: 12.9; 2017-05-01: 18.5; 2017-11-01: 40.3
Sodium | mg/l | 2017-02-01: 16.4; 2017-05-01: 22.8; 2017-11-01: 82.3
Calcium | mg/l
Magnesium | mg/l | 2017-02-01: 18.2; 2017-05-01: 22.9; 2017-11-01: 32.8
Manganese | mg/l
1,2 - Dichloroethane | ug/l | 2017-02-01: <0.1; 2017-05-01: <0.1; 2017-11-01: <0.1
Formaldehyde | mg/l
suspended solids | mg/l | bar: 2017-01-01 to 2017-06-01; 2017-08-01 to 2017-12-01
acetone | ug/l
acetonitrile | mg/l
acrylonitrile | ug/l
arsenic | ug/l
detergents, anionicas NaLS | mg/l
mercury | ug/l
methanol | ug/l
Styrene | ug/l | 2017-02-01: <0.3; 2017-05-01: <0.3; 2017-11-01: <0.3
propan-2-ol | ug/l
toluene | ug/l
trichloroethene | ug/l | 2017-02-01: <0.2; 2017-05-01: <0.2; 2017-11-01: <0.2
dimethoxymethane | ug/l

## LPS1
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2017
Location: Leachate LPS1
Determinands | Units | 2017-01-01 | 2017-02-01 | 2017-03-01 | 2017-04-01 | 2017-05-01 | 2017-06-01 | July | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01
Field Measurements
pH | pH Units | 7.77 | 9.3 | 7.95 | 8.61 | 7.97 | 7.64 |  | 7.63 | 7.6 | 8.7 | 7.41
Temperature | °C | 7.3 | 7.4 | 7.8 | 10.6 | 10.9 | 16.1 |  | 15.9 | 13.6 | 13.7 | 9.6
Conductivity | uS | 515 | 473 | 505 | 447 | 910 | 551 |  | 715 | 1125 | 815 | 1045
Leachate Level | m | 0.72 | 0.89 | 0.89 | 0.77 | 0.86 | 0.78 | 0.69 | 0.87 | 0.87 | 0.79 | 0.71 | 0.73
| Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 10.01.17 | 07.02.17 | 01.03.2017 | 05.04.17 | 10.05.17 | 14.06.17 | 11.07.17 | 15.08.17 | 06.09.17 | 10.10.17 | 07.11.17 | 05.12.2017
Laboritory Measurements
pH | pH Units | 7.19 | 7.24 | 7.28 | 6.9 | 7.43 | 6.95 | 7.28 | 7.32 | 7.54 | 7.3 | 7.24 | 7.09
Conductivity @ 20c | uS/cm | 467 | 416 | 468 | 387 | 971 | 596 | 1080 | 642 | 1070 | 676 | 993 | 590
BOD total+ATU | mg/l O | <1.00 | 1.47 | 1.73 | 1.02 | 2.37 | 2.91 | 2.52 | 1.17 | 3.04 | 1.4 | 2.25 | <1.00
COD (Total) | mg/l O | 13 | 9 | 17 | 17 | 47 | 37 | 39 | 14 | 52 | 14 | 29 | 10
Alkalinity total | mg/l CaCO3 | 180 | 153 | 168 | 148 | 303 | 201 | 574 | 234 | 389 | 254 | 327 | 215
Ammonium (as N) | mg/l N | 7.02 | 9.36 | 14.1 | 8.87 | 30.1 | 18.9 | 32.8 | 17.7 | 41.9 | 17.3 | 35.7 | 11.9
Total Oxidised Nitrogen | mg/l N | 2017-02-01: <1.00; 2017-05-01: <1.00 | <1.00 |  |  |  | 2.48
Nitrite | mg/l N | 2017-02-01: <0.100; 2017-05-01: <0.100 | <0.100 |  |  |  | <0.100
Nitrate | mg/l N | 2017-02-01: <1.00; 2017-05-01: <1.00 | <1.00 |  |  |  | <2.48
Chloride | mg/l | 22.1 | 22.8 | 30.4 | 19.4 | 85.5 | 44.2 | 99.9 | 42.6 | 97.4 | 44.2 | 88.7 | 39.7
Sulphate | mg/l | 2017-02-01: 27.2; 2017-05-01: 48 | 45.2 |  |  |  | 47.1
Sulphide (dissolved) | mg/l S | 2017-02-01: 0.132; 2017-05-01: 0.058 | <0.01 |  |  |  | 0.072
1,1,1,-Trichloroethane | ug/l | 2017-02-01: <0.1; 2017-05-01: <0.1 | <0.1 |  |  |  | <0.1
Phenols (tot. monohydric) | mg/l | 2017-02-01: <0.04; 2017-05-01: <0.04 | <0.04 |  |  |  | <0.04
Total Organic Carbon | mg/i | 3.5 | 3.4 | 3.9 | 3 | 15.3 | 6.6 | 14.3 | 6.3 | 244 | 6.6 | 9.9 | 4.6
Cadmium | ug/l | 2017-02-01: 0.158; 2017-05-01: <0.100 | 0.646 |  |  |  | <0.100
Chromium | ug/l | 2017-02-01: 2.19; 2017-05-01: 1.62 | 1.72 |  |  |  | 1.92
Lead | ug/l | 2017-02-01: 4.37; 2017-05-01: <2.00 | <2.00 |  |  |  | 2.39
Copper | ug/l | 2017-02-01: 3.2; 2017-05-01: 1.37 | 2.59 |  |  |  | 2.56
Nickel | ug/l | 2017-02-01: 3.39; 2017-05-01: 12.8 | 13.4 |  |  |  | 8.55
Zinc | ug/l | 2017-02-01: 1460; 2017-05-01: 101 | 157 |  |  |  | 471
Iron | ug/l | 2017-02-01: 1970; 2017-05-01: 3200 | 4000 |  |  |  | 2280
Phosphate. Ortho as P | mg/l | [6 empty] | <0.500
Butan-1-ol | mg/l
Butan-2-ol | mg/l
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l
O Xylene | ug/l | [6 empty] | <0.2
Total Xylenes | ug/l
n-proanol | ug/l
2 Methyl prop-l-ol | mg/l
Phosphorus | mg/l P
Potassium | mg/l | 2017-02-01: 12.6; 2017-05-01: 37.6 | 36.4 |  |  |  | 29.7
Sodium | mg/l | 2017-02-01: 17.4; 2017-05-01: 75.2 | 70 |  |  |  | 50.7
Magnesium | mg/l | 2017-02-01: 20.5; 2017-05-01: 41.4 | 40.8 |  |  |  | 40.1
Manganese | mg/l
1,2 - Dichloroethane | ug/l | 2017-02-01: <0.1; 2017-05-01: <0.1 | <0.1 |  |  |  | <0.1
Formaldehyde | mg/l
suspended solids | mg/l | 5.55 | 8.6 | 7.85 | 12.9 | 7.35 | 14.4 | 12 | <3 | <3 | 3 | 13.4 | <3
acetone | ug/l | [6 empty] | <2000
acetonitrile | mg/l
acrylonitrile | ug/l | [6 empty] | <500
arsenic | ug/l | [6 empty] | 2.68
benzene | ug/l | 2017-02-01: <0.1; 2017-05-01: <0.1 | <0.1 |  |  |  | <0.1
calcium | mg/l | [6 empty] | 52.9
detergents, anionicas NaLS | mg/l
mercury | ug/l | [6 empty] | <0.01
Styrene | ug/l | 2017-02-01: <0.3; 2017-05-01: <0.3 | <0.3 |  |  |  | <0.3
methanol | ug/l | [6 empty] | <500
propan-2-ol | ug/l
toluene | ug/l | [6 empty] | <0.1
trichloroethene | ug/l | 2017-02-01: <0.2; 2017-05-01: <0.2 | <0.2 |  |  |  | <0.2
dimethoxymethane | ug/l | [6 empty] | <500