Permit Reference Number: AP3337HF
Operator: 2 Agriculture Ltd: 

Installation: Llay Feed Mill
Form Number: A1

Permit Reference Number: AP3337HF





Operator: 2 Agriculture Ltd

Installation: Llay Feed Mill





Form Number: R1
Permit Reference Number: AP3337HF





Operator: 2 Agriculture Ltd

Installation: Llay Feed Mill





Form Number: WU1











          
Form Number : A1

Reporting of Monitored Emissions to Air for the period from:-    Jan 16  To  Dec 16  

	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]

	A12
	Total particulates mg/m3
	20mg/m3
	0.55
	BS EN 13284-1
	12th Sep 2016
13:23 - 13:53
14:00 - 14:30
14:37 – 15.07


 [1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

Signed ……G Shute………………………………………….  
Date…Jan 2017…………..   



(authorised to sign as representative of the Operator)

Reporting of Waste Disposal and Recovery for the year 2016
	Waste

Description
	Disposal
	Recovery
	
	Trends in Waste Disposal and Recovery

	
	Route
	Tonnes
	Tonnes
	
	Year
	Parameter

	
	
	
	
	
	
	Named 

Waste
	Total 

Waste
	Waste per unit output

	1) Hazardous Wastes
	Tanker
	2.520
	N/A
	
	2008
	Skip
	104.9
	N/A

	Other hazardous wastes
	Batteries, bulbs, syringes etc.
	0.075
	N/A
	
	2009
	Skip
	80
	N/A

	Total hazardous waste 
	Tanker & Other
	2.595
	N/A
	
	2010
	Skip
	110.9
	N/A

	
	
	
	
	
	2011
	Skip
	119.2
	N/A

	2) Non-Hazardous Wastes
	Skip
	91.000
	N/A
	
	2012

2012
	Skip

Hazardous
	91.74

18.52
	N/A

N/A

	Recycled Materials see * below
	Wheelie Bins, IBC’s, Pallets, Metal 
	92.4855
	92.4855
	
	2013

2013

2013
	Skip

Non-Hazardous

Hazardous
	119.540

14.600

3.105
	N/A

N/A

N/A

	Other non-hazardous wastes
	Skip
	22.500
	N/A
	
	2014

2014

2014

2014
	Skip

Other Non-Hazardous

Recycled

Hazardous
	93.300

14.120

46.4995

11.340
	N/A

N/A

N/A

N/A

	Total non-hazardous waste
	Skip

Skip

Other

Total
	91.000

22.500

92.4855

205.9855
	N/A

N/A

92.4855

92.4855
	
	2015

2015

2015

2015
	Skip

Other Non – Haz

Recycled

Hazardous
	96.960

11.020

73.208

3.056
	N/A

N/A

N/A

N/A

	TOTAL WASTE
	
	208.5805
	92.4855
	
	2016

2016

2016

2016
	Skip

Other Non – Haz

Recycled

Hazardous
	91.000

22.500

92.4855

2.595
	N/A

N/A

N/A

N/A


	Operator’s comments : * This includes recycled wood, cardboard, paper, IBC’s, metal, plastic bottles, cans


Signed ……G Shute…………………………………………………….
Date…… Jan 2017…………..


(authorised to sign as representative of the Operator)

Reporting of Water Usage for the year 2016
	Water Source
	Usage

(m3)
	Specific Usage 

(m3/t)
	
	Trends in Water Usage

	
	
	
	
	Year
	Parameter

	
	
	
	
	
	Named 

Water source
	Total 

Water usage
	Water per unit output

	Mains water
	20771
	0.0682
	
	
	
	
	

	
	
	
	
	2006
	Mains Water
	19275
	0.0727

	
	
	
	
	2007
	Mains Water
	15843
	0.0658

	
	
	
	
	2008
	Mains Water
	16775
	0.0640

	
	
	
	
	2009
	Mains Water
	18255
	0.0684

	TOTAL WATER USAGE
	20771
	0.0682
	
	2010
	Mains Water
	18417
	0.0667

	
	
	
	
	2011
	Mains Water
	17528
	0.0615

	
	
	
	
	2012
	Mains Water
	19289
	0.0663

	
	
	
	
	2013
	Mains Water
	18246
	0.0633

	
	
	
	
	2014
	Mains Water
	19861
	0.0667

	
	
	
	
	2015
	Mains Water
	19159
	0.0635

	
	
	
	
	2016
	Mains Water
	20771
	0.0682


	Operator’s comments :




Signed ……G Shute……………….
Date…… Jan 2017…..


(authorised to sign as representative of the Operator)

Reporting of Energy Usage for the year 2016
	Energy Source
	Energy Usage
	CO2
Produced

(tonnes)
	
	Trends in Energy Usage

	
	Quantity
	Primary Energy

(MWh)
	
	
	Year
	Parameter

	
	
	
	
	
	
	Primary Energy usage
	CO2

 produced
	CO2 per unit output

	
	
	
	
	
	
	
	
	

	Natural Gas
	11521.93
	11782.786
	2131.246
	
	2006
	25518
	4517.3
	0.017037

	Electricity *
	5685.13
	14781.338
	2809.932
	
	2007
	224907.80
	3977.27
	0.016523

	
	
	
	
	
	2008
	23606.27
	4173.24
	0.015932

	
	
	
	
	
	2009
	24062.9
	4262.53
	0.015967

	TOTAL
	17207.06
	26564.124
	4941.178
	
	2010
	24289.8
	4303.00
	0.015591

	
	
	
	
	
	2011
	24507.8
	4339.0
	0.015235

	
	
	
	
	
	2012
	26018.1
	4605.48
	0.015823

	
	
	
	
	
	2013
	24528.47
	4324.63
	0.015002

	
	
	
	
	
	2014
	26425.58
	4920.32
	0.016519

	
	
	
	
	
	2015
	24912.96
	4637.53
	0.015367

	
	
	
	
	
	2016
	26564.124
	4941.178
	0.016234


	Operator’s comments :




Signed ……G Shute……………………………………………………….
Date… Jan 2017…..


(authorised to sign as representative of the Operator)

Reporting of Performance Indicators for the year 2016
	Annual Production

	Production of Animal Feed – Pelleted
	117164.24683 tonnes

	Production of Animal Feed – Meal
	24319.71487 tonnes

	Production of Animal Feed – Crumb
	21518.45598 tonnes

	Production of Animal Feed – Whole Wheat & Pellets (mixed)
	141364.23971 tonnes

	Total Product Production
	304366.65739 tonnes


Environmental Performance Indicators

	Parameter
	Annual Average
	Units
	
	Trends in Environmental Performance

	
	
	
	
	Year
	Parameter

	
	
	
	
	
	m3 of water/t
	MWh of energy/t

	Water use
	0.0682
	M3 / t
	
	
	
	

	Energy Consumed
	0.0873
	MWh/t
	
	2006
	0.0727
	0.065

	
	
	
	
	2007
	0.0658
	0.240

	
	
	
	
	2008
	0.0640
	0.060

	
	
	
	
	2009
	0.0684
	0.061

	
	
	
	
	2010
	0.0667
	0.088

	
	
	
	
	2011
	0.0615
	0.086

	
	
	
	
	2012
	0.0663
	0.089

	
	
	
	
	2013
	0.0633
	0.085

	
	
	
	
	2014
	0.0667
	0.0887

	
	
	
	
	2015
	0.0635
	0.0826

	
	
	
	
	2016
	0.0682
	0.0873


	Operator’s comments :




[1] Performance indicators should be quoted in tonnes of total product manufactured per water/m3, energy/MWh 

Signed: G Shute……………………………….
Date… Jan 2017………..

(authorised to sign as representative of the Operator)

