Energy Review

Site name:

Cefn Mawr 
Permit No:

 XP3036MG
Date:


August 2017
INTRODUCTION

To bring about continuous improvement at the site, Cefn Mawr has developed and implemented an energy efficiency plan to minimise the use of energy at the installation by:

· The purchase of energy efficient equipment

· Maintaining and operating equipment in an efficient manner 

· Continually reviewing the operation and identifying areas or practices that would result in improved energy efficiency.

· Undertaking periodic reviews of the operations with the aim of identifying areas or practices that would result in improved energy efficiency.  

Primary energy at the site is obtained from wood pellets, liquid petroleum gas and electricity.  

· Liquid Petroleum Gas is supplied to the site, on a required / delivered basis and is used as the fuel source for the backup gas heaters. This is the secondary source in providing heat to the sheds. 
· Electricity is generated on site via solar panel arrays with the excess energy produced being exported to the national grid. Cefn Mawr is also supplied electricity from the National Grid during low solar yield timed throughout the day and during the night. The prime users of electricity at the site are processes such as lighting, ventilation systems and the conveyance of poultry feed.
· Wood Pellets are supplied to the site, on a required / delivered basis and is used as the fuel source for the biomass heaters. This is the main source of providing heat to the sheds.

Cefn Mawr has undertaken investigations into the potential introduction of alternative energy sources/ supply techniques and has installed 2x 199Kw Biomass boilers to provide heat to the poultry sheds. Cefn Mawr has also installed Solar panel arrays rated to a combined total of 50Kw to reduce the energy required from the national grid.
Basic Energy Requirements (2)

Tables 1, 2, and 3 below summarizes the energy efficiency measures currently in place at the installation.

Table 1: Operating, maintenance and housekeeping measures

	Operating maintenance and housekeeping measures
	Yes / No
	Supplementary Imformation / Justification

	Ventilation parameters, thermostats for temperature control
	Y
	An In-house programme of scheduled maintenance has been developed and implemented

	Motors and drivers
	Y
	An In-house programme of scheduled maintenance has been developed and implemented

	Regular heater service
	Y
	An In-house programme of scheduled maintenance has been developed and implemented

	Lubrication to avoid high friction loss
	Y
	An In-house programme of scheduled maintenance has been developed and implemented

	Generator maintenance
	Y
	The generator is maintained by an approved third party contractor under a maintenance agreement.

	Variable speed drives motors
	NA
	Not applicable

	Other maintenance activities within the installation
	Y
	An In-house programme of scheduled maintenance has been developed and implemented


Table 2: Physical measures

	Physical measures
	Yes / No
	Supplementary Information / Justification

	1. Sufficient insulation of buildings, heated vessels and pipework.
	      Y
	· Lagging. 

· Thermostatic controls 

· Electric trace heating – self regulating

	2. Provision of sealing and containment methods to maintain temperature
	      Y
	This insulation is maintained under the preventative maintenance programme 

	3. Simple sensors and timers to prevent unnecessary ventilation and loss of ambient house temperatures.
	       Y
	Simple sensors and timers are controlled under the automated control system.

	4. Other appropriate measures
	      N/A
	No further appropriate measures are employed within the installation.

	5. Installation of Biomass boilers
	Y
	Improves energy efficiency.

	6. Installation of Solar arrays
	Y
	Reduces draw on national grid, greatly improving site self sufficiency.


Table 3. Building service measures 

	Building Service Measures
	Yes / No
	Supplementary Information / Justification

	1. Energy efficient lighting is in place
	 Partly
	Energy efficient lighting is partially in place at the installation. The farm has a policy as part of the efficiency programme, to replace bulbs with energy efficient lighting as required at the installation.



	2. Energy efficient climate control systems are in place including

· Space heating

· Hot water

· Temperature control

· Ventilation

· Draught proofing
	       Y
	Energy efficient climate control systems are currently in place at the installation. The farm commits, as part of the efficiency programme, to assess the continued viability of installing energy efficient climate control systems at the installation.



	3. Other appropriate measures
	     -
	No further appropriate measures are employed within the installation.


The current design of Cefn Mawr is directed to a more efficient use in respect of energy conservation and environmental concerns. The sheds are designed to allow adequate air flow within the shed and facilities in keeping a constant set temperature.

This prevents the heaters from working too hard and burning excess fuel, plus from a welfare view the birds perform better in well-heated and well-ventilated sheds, Wall insulation will also assist in keeping sheds from losing heat unnecessarily.

With the exception of warm weather, the fans run in an intermittent pattern, thus conserving electricity and decreasing the amount of dust expelled from the sheds.

The feedback / relays / thermostats on the fan/temperature system will prevent extreme variations between set and actual shed temperature thus decreasing demand on the heating system.

Low wattage, long life bulbs will help to lower the cost on replacing lights and the amount of electricity used.

Overall, the design of the sheds enables the company and the environment to benefit to being more energy efficient, thus cost effective and have a lower impact on the environment.
