Permit Number: 
EPR/BV3715IL

Operator: 
SCA Hygiene Products UK Limited

Facility:

Oakenholt Paper Mill
Form Number: 
Water1 / 12/07/2013
Reporting of emissions to water (other than to sewer) and land for the period from 01.04.2015 to 30.06.2015
	Emission Point
	Substance / Parameter
	Emission Limit Value
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty[4]

	W1
	Biochemical Oxygen Demand (BOD)
	50 mg/l
	24-hour flow proportional composite sample
	80 mg/l
	In accordance with TGN M18
	01.06.2015  09:00
	LOD 1 mg/l

	
	Chemical Oxygen Demand (COD)
	No limit set
	24-hour flow proportional composite sample
	517 mg/l
	In accordance with TGN M18
	28.06.2015  04:00
	In house

	
	Suspended Solids
	50 mg/l
	24-hour flow proportional composite sample
	49 mg/l
	In accordance with TGN M18
	14.06.2015 04:00
	In house

	
	Temperature
	25oc
	Instantaneous
	   27.5 oC
	Standard temperature sensor
	30.05.2015 04:00
	In house

	
	Flow
	2200 m3/day
	Instantaneous
	  2200 m3
	MCERTS self monitoring of effluent flow scheme
	27.04.2015 04:00
	In house

	
	Flow (maximum instantaneous)
	108 m3/hour
	Instantaneous
	 107.00 m3/hour
	MCERTS self monitoring of effluent flow scheme
	21.06.2015  04:00
	In house

	
	PH
	5 - 9
	Instantaneous
	Min – 6.94
Max – 8.48
	In accordance with TGN M18, MCERTS approved instrumentation if available
	10.06.2015 04:00
17.05.2015 04:00
	In house

	
	Total Nitrogen
	16 mg/l
	24-hour flow proportional composite sample
	 48 mg/l 
(Res water in 49 mg/l)
	In accordance with TGN M18
	27.04.2015 09:00
	LOD 1 mg/l

	
	Total Phosphorus
	No limit set
	24-hour flow proportional composite sample
	 1.4 mg/l
	In accordance with TGN M18
	11.05.2015 09:00
	LOD 18 ug/l

	
	Metals Zn, As, Cu, Cr, Ni, Pb
	No limit set
	24-hour flow proportional composite sample
	Zn –    17.2 ug/l
As –    0.93 ug/l

Cu –   1.6 ug/l

Cr –    7.2 ug/l

Ni –     2.8 ug/l

Pb –    0.33 ug/l
	In accordance with TGN M18
	09.03.2015 09:00
	LOD
Zn - 1.25 ug/l

As - 0.16 ug/l

Cu - 0.4 ug/l

CR - 0.25 ug/l

Ni - 0.5 ug/l

PB – 0.09 ug/l

	W2
	Suspended Solids
	100 mg/l
	Spot sample 
	   12 mg/l 
	In accordance with TGN M18
	11.05.2015 09:00
	In house

	
	PH
	5 - 9
	Spot sample 
	Min – 6.62
Max – 8.15
	MCERTS approved instrumentation
	Min – 11.06.2015 09:00
Max – 20.04.2015 09:00
	In house

	
	Hydrocarbon oil
	15 mg/l
	Spot sample 
	    0.92 mg/l
	In accordance with TGN M18
	20.04.2015 09:00
	LOD – 10 ug/l


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Environment Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …Alana Corbett………………………………………………………….  

Date…28.07.2015……………………..


(Authorised to sign as representative of Operator)

Permit Number: 
EPR/BV3715IL


Operator: 
SCA Hygiene Products UK Limited


Facility:

Oakenholt Paper Mill

Form Number: 
Performance1 / 25.04.2013
Reporting of other performance indicators for the period 01.01.2015 to 31.03.2015
	Parameter
	Units

	
	

	NOx/ADT
	0.284 kg/ADT

	CO2/ADT
	0.373 Tonnes/ADT

	BOD/ADT
	0.23  Kg/ADT 

	Suspended Solids/ADT
	0.21 Kg/ADT

	Total Nitrogen
	 0.13 Kg/ADT

	Total Phosphorus
	 0.008 Kg/ADT


	Operator’s comments : Part As submitted for out of consent temp & BOD.



Signed ……Alana Corbett……………………………………………………….  

Date…28.07.2015……………………..   


