Permit Number: 	EPR/BJ9681IX				Operator: 	SCA Hygiene Products UK Limited

Facility:		Oakenholt Paper Mill			Form Number: 	Performance 1

# Reporting of other performance indicators for the period 01/04/2018 to 30/06/2018

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| BOD |  | 0.177 Kg / Tonne |  |
| Suspended solids |  | 0.207 Kg / Tonne |  |
| Total Nitrogen |  | 0.176 Kg / Tonne |  |
| Total Phosphorous |  | 0.0177 Kg / Tonne |  |
| NOx |  | 4.817 Tonnes |  |
| CO2 |  | 6334 Tonnes |  |
| AOX |  | 0.00300 Kg / Tonne |  |
| Total Energy Used |  | 46448.52 MWh |  |
| Effluent Discharged |  | 167 553 m3 |  |
| Water input to installation |  | 172540Tonnes |  |
| Water Discharged from installation |  | 167 553 Tonnes |  |

Operator’s comments : 1m3 = 1 tonne for water input to installation 1m3 = 1 tonne for water discharge from installation Water discharge from installation = Effluent Discharged. Total energy = Gas & Electricity consumption

Signed ………MIKE KING…… …….  		Date………09/07/2018…….……

(Authorised to sign as representative of Operator)

Permit Number: 	EPR/BJ9681IX				Operator: 	SCA Hygiene Products UK Limited

Facility:		Oakenholt Paper Mill			Form Number: 	 Water 1

# Reporting of emissions to water (other than to sewer) and land for the period from 01/04/2018 to 30/06/2018

| Emission Point | Substance / Parameter | Emission/ Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W1 | Biological Oxygen Demand (BOD) | 50 mg/l | 24-hour flow proportional composite sample | 92 mg/L | MCERTS self-monitoring of effluent flow scheme | 26/06/2018 09:00 | 1 mg / L |
| W1 | Chemical Oxygen Demand (COD) | -- | Spot Sample | 309 mg/L | MCERTS self-monitoring of effluent flow scheme | 12/06/2018 04:00 | 10 mg / L |
| W1 | Total Suspended Solids | 100 mg/l | 24-hour flow proportional composite sample | 49 mg/L | MCERTS self-monitoring of effluent flow scheme | 26/06/2018 09:00 | 5 mg / L |
| W1 | Total Mercury and its compounds | -- | 24-hour flow proportional composite sample | <0.01 mg/L | MCERTS self-monitoring of effluent flow scheme | 21/05/2018 09:00 | - |
| W1 | Total Cadmium and its compounds | -- | 24-hour flow proportional composite sample | <0.1 mg/L | BS EN ISO5961:1995 | 21/05/2018 09:00 | - |
| W1 | pH | 9 | Instantaneous | MIN:7.13 MAX: 8.27 | MCERTS self-monitoring of effluent flow scheme | MIN: 25/05/2018 04:00 MAX: 28/05/2018 04:00 | - |
| W1 | Dangerous Substances Screen | -- | 24-hour flow proportional composite sample | Please see list attached | MCERTS self-monitoring of effluent flow scheme | Please see attached list | - |
| W1 | Temperature | Maximum 40oC | Instantaneous | 24.6°C | MCERTS self-monitoring of effluent flow scheme | 10/04/2018 04:00 | - |
| W1 | Flow rate | 108 m3/hour | Instantaneous | 107.6 mg/L | MCERTS self-monitoring of effluent flow scheme | 02/04/2018 04:00 | Less than +/- 8% |
| W1 | Ammonia | 16mg/l | 24-hour flow proportional composite sample | 31 mg/L | BS EN ISO 11732 or ISBN 0117516139 | 26/06/2018 09:00 | 0.015 mg/l |
| W1 | Total Nitrogen | -- | 24-hour flow proportional composite sample | 30 mg/L | MCERTS self-monitoring of effluent flow scheme | 26/06/2018 09:00 | 1 mg/l |
| W1 | Total Phosphorus | -- | 24-hour flow proportional composite sample | 3.7 mg/L | MCERTS self-monitoring of effluent flow scheme | 26/06/2018 09:00 | 1.5 mg/l |
| W1 | AOx | -- | 24-hour flow proportional composite sample | 0.299 mg/L | MCERTS self-monitoring of effluent flow scheme | 30/05/2018 09:00 | 0.01 mg/l |
| W1 | Pb | -- | 24-hour flow proportional composite sample | 0.68 μg/L | MCERTS self-monitoring of effluent flow scheme | 18/04/2018 09:00 | 0.09 μg/l |
| W1 | Zn | -- | 24-hour flow proportional composite sample | 70 μg/L | MCERTS self-monitoring of effluent flow scheme | 18/04/2018 09:00 | 1.3 μg/l |
| W1 | As | -- | 24-hour flow proportional composite sample | 2.99 μg/L | MCERTS self-monitoring of effluent flow scheme | 21/05/2018 09:00 | 0.16 μg/l |
| W1 | Cu | -- | 24-hour flow proportional composite sample | 1.8 μg/L | MCERTS self-monitoring of effluent flow scheme | 18/04/2018 09:00 | 0.4 μg/l |
| W1 | Cr | -- | 24-hour flow proportional composite sample | 0.63 μg/L | MCERTS self-monitoring of effluent flow scheme | 18/04/2018 09:00 | 0.25 μg/l |
| W1 | Ni | -- | 24-hour flow proportional composite sample | 2.1 μg/L | MCERTS self-monitoring of effluent flow scheme | 18/04/2018 09:00 | 0.5 μg/l |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed ……..Mike King …….  		Date………09/07/2018………….

Permit Number: 	EPR/BJ9681IX			Operator: 	SCA Hygiene Products UK Limited

Facility:		Oakenholt Paper Mill		Form Number: 	 Air 1

# Reporting of emissions to air for the period from ……………….. to …………..

| Emission Point | Substance / Parameter | Emission/ Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Oxides of Nitrogen | 250 mg/m3 | Hourly average |  |  |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………… ……………….  		Date……………..

(Authorised to sign as representative of Operator)