Permit Number: 	EPR/BJ9681IX				Operator: 	SCA Hygiene Products UK Limited

Facility:		Oakenholt Paper Mill			Form Number: 	Performance 1

# Reporting of other performance indicators for the period 01/09/16 to 31/12/16

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| BOD |  | 2896.87 Kg |  |
| Suspended solids |  | 3327.97 Kg |  |
| Total Nitrogen |  | 4561.69 Kg |  |
| Total Phosphorous |  | 210.57 Kg |  |
| NOx |  | 4779.56 kg |  |
| CO2 |  | 6340 Tonne |  |
| AOX |  | Not measured |  |
| Total Energy Used |  | 45,922.1317 Mwh |  |
| Effluent Discharged |  | 137022 m3 |  |
| Water input to installation |  | 194 353 m3 |  |
| Water Discharged from installation |  | 137022 tonnes |  |

Operator’s comments : Total energy used made up of total gas used and site electricity for time period. Water input to installation is from fresh water useage for time period (assumed 1m3 =1tonne) Water discharged from installation is the effluent sent out to estuary (assumed 1m3= 1 tonne)

Signed ………Mike King…………….  		Date………12/01/2017…..…..

(Authorised to sign as representative of Operator)

Permit Number: 	EPR/BJ9681IX				Operator: 	SCA Hygiene Products UK Limited

Facility:		Oakenholt Paper Mill			Form Number: 	 Water 1

# Reporting of emissions to water (other than to sewer) and land for the period from 01/09/16 to 31/12/16

| Emission Point | Substance / Parameter | Emission/ Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W1 | Biological Oxygen Demand (BOD) | 50 mg/l | 24-hour flow proportional composite sample | 65 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 04/10/2016 09:00 | LOD 1 mg/l |
| W1 | Chemical Oxygen Demand (COD) | -- | Spot Sample | 249 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 04/10/2016 04:00 | In house |
| W1 | Total Suspended Solids | 50 mg/l | 24-hour flow proportional composite sample | 58 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 18/10/16 | LOD 5 mg/l |
| W1 | Total Mercury and its compounds | -- | 24-hour flow proportional composite sample | <0.01 µg/l | MCERTS self-monitoring of effluent flow scheme | 05/10/2016 09:00 | LOD <0.01 µg/l |
| W1 | Total Cadmium and its compounds | -- | 24-hour flow proportional composite sample | 0.03 µg/l | BS EN ISO5961:1995 | 05/10/2016 09:00 | LOD < 0.03 µg / l |
| W1 | pH | 5-9 | Instantaneous | MAX - 8 MIN – 7 | MCERTS self-monitoring of effluent flow scheme | MAX – 26/10/2016 04:00 MIN – 07/11/2016 04:00 | In house |
| W1 | Dangerous Substances Screen | -- | 24-hour flow proportional composite sample | - | MCERTS self-monitoring of effluent flow scheme | - | - |
| W1 | Temperature | Maximum 40oC | Instantaneous | 24.6°C | MCERTS self-monitoring of effluent flow scheme | 24/11/2016 | In house |
| W1 | Flow rate | 108 m3/hour | Instantaneous | 108 m3 hr-1 | MCERTS self-monitoring of effluent flow scheme | 14/12/2016 04:00 | In house |
| W1 | Ammonia | 16mg/l | 24-hour flow proportional composite sample | 7.9 mg L-1 | BS EN ISO 11732 or ISBN 0117516139 | 04/10/2016 09:00 | LOD 0.015 mg/l |
| W1 | Total Nitrogen | -- | 24-hour flow proportional composite sample | 230 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 30/11/2016 09:00 | LOD 1 mg/l |
| W1 | Total Phosphorus | -- | 24-hour flow proportional composite sample | 4.6 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 01/11/2016 09:00 | LOD 0.18 mg/l |
| W1 | Pb | -- | 24-hour flow proportional composite sample | 0.41mg L-1 | MCERTS self-monitoring of effluent flow scheme | 01/10/2016 09:00 | LOG 0.09 µg/l |
| W1 | Zn | -- | 24-hour flow proportional composite sample | 11 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 01/10/2016 09:00 | LOD 1.3 µg/l |
| W1 | As | -- | 24-hour flow proportional composite sample | 0.98 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 01/10/2016 09:00 | LOD 0.16 µg/l |
| W1 | Cu | -- | 24-hour flow proportional composite sample | 1.9 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 01/10/2016 09:00 | LOD 0.4 µg/l |
| W1 | Cr | -- | 24-hour flow proportional composite sample | 0.33 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 01/10/2016 09:00 | LOD 0.25 µg/l |
| W1 | Ni | -- | 24-hour flow proportional composite sample | 1.8 mg L-1 | MCERTS self-monitoring of effluent flow scheme | 01/10/2016 09:00 | LOD 0.5 µg/l |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed ………Mike King…….. ….  		Date……12/01/17…..

Permit Number: 	EPR/BJ9681IX			Operator: 	SCA Hygiene Products UK Limited

Facility:		Oakenholt Paper Mill		Form Number: 	 Air 1

# Reporting of emissions to air for the period from DD/MM/2016 to DD/MM/2016

| Emission Point | Substance / Parameter | Emission/ Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Oxides of Nitrogen | 250 mg/m3 | Hourly average |  |  |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …MIKE KING….  		Date……..

(Authorised to sign as representative of Operator)