Permit Number: 
EPR/BV3715IL

Operator: 
SCA Hygiene Products UK Limited

Facility:

Oakenholt Paper Mill
Form Number: 
Water 2 / Reporting of emissions to water (other than to sewer) and land for the period from 01/01/2015 to 31/12/2015
	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	W1
	Mercury
	No limit set
	24-hour flow proportional sample
	<0.01 μg L-1
	In accordance with M18
	05/10/2016
	LOD 0.01

	W1
	Cadmium
	No limit set
	24-hour flow proportional sample
	<0.03 μg L-1
	In accordance with M18
	05/10/2016
	LOD 0.03

	W1
	Pentachlorophenol
	No limit set
	24-hour flow proportional sample
	<1.0 μg L-1
	In accordance with M18
	05/10/2016
	LOD 1.0

	W1
	Total PCB
	No limit set
	24-hour flow proportional sample
	PCB 28 + PCB 31…….. <0.3 µg L-1
PCB 52 ………………… <0.2 µg L-1
PCB 101 ………………..<0.3 µg L-1
PCB 118 + PCB 123….. <0.6 µg L-1
PCB 138 ………………. <0.2 µg L-1
PCB 153 ………………..<0.2 µg L-1
PCB 180 ………………. <0.2 µg L-1
PCB 7 total ……………. <1.0 µg L-1
	In accordance with M18
	05/10/2016 
	LOD 1.0

	W1
	Water Framework Directive Dangerous Substances and other plant protection substances screen
	No limit set
	24-hour flow proportional sample
	aldrin, …………………... <1.0 μg L-1
dieldrin, …………………. <1.0 μg L-1
endrin, …………………...<1.0 μg L-1
atrazine, …………………<1.0 μg L-1
endosulfan, …………….. <1.0 μg L-1
hexachlorobenzene, …... <1.0 μg L-1
simazine, ……………….. <1.0 μg L-1
azinphos methyl, ………. <1.0 μg L-1

	GCMS analysis to be carried out by UKAS accredited laboratory
	05/10/2016
	LOD 1.0


[1]. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2]. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Environment Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

[3]. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

[4]. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed ……………MIKE KING……………….  

Date……13/01/2017……

(Authorised to sign as representative of Operator)

