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James Bellamy
Asset Manager
Baglan Operations Limited
Baglan Bay Power Station
Baglan Energy Park
Port Talbot
SA12 7GE


Dear James,
	[bookmark: _Toc368647613]



RE: CEMS Reliability

I acknowledge your letter dated 7th of April outlining issues with your Continuous Emission Monitoring Systems for Emission to Air, and understand that you have implemented a plan to rectify the situation. During this period of reliability issues we will require that records are kept of the plant performance including fuel usages on each unit for mass emission calculations. 

As a result of this monitoring issue we will be requesting that you review your monitoring systems including re assessing maintenance of the equipment including ancillary parts such as heated lines.
[bookmark: _GoBack]
If you have any questions regarding any of the above information, please contact me.

Yours faithfully
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Gary Evans
Technical Specialist
 Maes Newydd, Llandarsi, Nedd Port Talbot SA10 6JQ 	   Maes Newydd, Llandarcy, Neath Port Talbot, SA10 6JQ.
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