James Bellamy

Asset Manager

Baglan Operations Limited

Baglan Bay Power Station

Baglan Energy Park

Port Talbot

SA12 7GE

Dear James,

RE: CEMS Reliability

I acknowledge your letter dated 7th of April outlining issues with your Continuous Emission Monitoring Systems for Emission to Air, and understand that you have implemented a plan to rectify the situation. During this period of reliability issues we will require that records are kept of the plant performance including fuel usages on each unit for mass emission calculations.

As a result of this monitoring issue we will be requesting that you review your monitoring systems including re assessing maintenance of the equipment including ancillary parts such as heated lines.

If you have any questions regarding any of the above information, please contact me.

Yours faithfully

Gary Evans

Technical Specialist