Schedule 5 - Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	BG9681IX

	Name of operator
	SCA Hygiene UK Ltd

	Location of Facility
	Chester Road, Oakenholt, Flintshire, CH6 5PU

	Time and date of the detection 
	Result from 10th August 2016


	(a) Notification requirements for any activity that gives rise to an incident or accident which significantly affects or may significantly affect the environment

	To be notified immediately

	Date and time of the event
	Result from 10th August 2016

	Reference or description of the location of the event 
	BOD W1 emission point

	Description of where any release into the environment took place
	W1 emission point

	Substances(s) potentially released
	Final effluent with an elevated BOD of 55mg/l (over 50mg/l permit limit)

	Best estimate of the quantity or rate of release of substances
	Continuous flow to estuary (approx. 1665m3 a day)

	Measures taken, or intended to be taken, to stop any emission
	None taken – results received from external laboratory 18.08.2016

	Description of the failure or accident.
	Elevated BOD


	(b) Notification requirements for the breach of a permit condition

	To be notified immediately

	Emission point reference/ source
	W1

	Parameter(s)
	BOD

	Limit
	50mg/l

	Measured value and uncertainty
	55mg/l

	Date and time of monitoring
	10th August 2016

	Measures taken, or intended to be taken, to stop the emission
	None taken – results received from external laboratory 18.08.2016


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) In the event of a breach of permit condition which poses an immediate danger to human health or threatens to cause an immediate significant adverse effect on the environment.

	To be notified immediately

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	BOD is tested off site by an external laboratory.

Due to incubation times the results are always a week behind, and gives us little chance to correct any issues.

10/08/16
BOD -  55mg/l (limit 50mg/l)

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	ETP parameters checked and monitored

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	We believe plant growth in primary settlement tank has contributed to this high result, and plant growth has been removed.

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	Mike King

	Post
	Safety Specialist & Environmental Leader

	Signature
	

	Date
	12/09/16


* authorised to sign on behalf of the operator

