|  | # EPR Compliance Assessment Report |  |  |  |  |  | Report ID: 06089 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This form will report compliance with your permit as determined by an NRW officer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site | SEM Logistics |  |  |  |  | Permit Ref |  |  | XP3134TC |  |  |  |  |  |
| Operator/ Permit holder | SEM Logistics Milford Haven Limited |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date | 12th January 2016 |  |  |  |  | Time in |  |  | 10:30 |  |  | Out | 14:45 |  |
| What parts of the permit were assessed | Regulator handover, Permit Review. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Assessment | Choose an item. | EPR Activity: | Installation | X |  |  | Waste Op |  |  | Water Discharge |  |  |  |  |
| Recipient’s name/position | Rob Griffiths Huw Morgan |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Officer’s name | Gary Evans Karen Dunn |  |  |  | Date issued |  |  |  |  |  | 2 February 2016 |  |  |  |

| Section 1 - Compliance Assessment Summary |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| This is based on the requirements of the permit under the Environmental Permitting Regulations. A detailed explanation and any action you may need to take are given in the “Detailed Assessment of Compliance” (section 3). This summary details where we believe any non-compliance with the permit has occurred, the relevant condition and how the non-compliance has been categorised using our Compliance Classification Scheme (CCS). CCS scores can be consolidated or suspended, where appropriate, to reflect the impact of some non-compliances more accurately. For more details of our CCS scheme, contact your local office. |  |  |  |  |  |  |  |
| Permit Conditions and Compliance Summary |  |  |  |  |  | Condition(s) breached |  |
| a) Permitted activities | 1. Specified by permit |  | A |  |  |  |  |
| b) Infrastructure | 1. Engineering for prevention & control of pollution |  | A |  |  |  |  |
|  | 2. Closure & decommissioning |  | N |  |  |  |  |
|  | 3. Site drainage engineering (clean & foul) |  | N |  |  |  |  |
|  | 4. Containment of stored materials |  | N |  |  |  |  |
|  | 5. Plant and equipment |  | A |  |  |  |  |
| c) General management | 1. Staff competency/ training |  | N |  |  |  |  |
|  | 2. Management system & operating procedures |  | N |  |  |  |  |
|  | 3. Materials acceptance |  | NA |  |  |  |  |
|  | 4. Storage handling, labelling, segregation |  | NA |  |  |  |  |
| d) Incident management | 1. Site security |  | N |  |  |  |  |
|  | 2. Accident, emergency & incident planning |  | N |  |  |  |  |
| e) Emissions | 1. Air |  | NA |  |  |  |  |
|  | 2. Land & Groundwater |  | NA |  |  |  |  |
|  | 3. Surface water |  | A |  |  |  |  |
|  | 4. Sewer |  | NA |  |  |  |  |
|  | 5. Waste |  | NA |  |  |  |  |
| f) Amenity | 1. Odour |  | NA |  |  |  |  |
|  | 2. Noise |  | NA |  |  |  |  |
|  | 3. Dust/fibres/particulates |  | NA |  |  |  |  |
|  | 4. Pests, birds & scavengers |  | NA |  |  |  |  |
|  | 5. Deposits on road |  | NA |  |  |  |  |
| g) Monitoring and records, maintenance and reporting | 1. Monitoring of emissions & environment |  | A |  |  |  |  |
|  | 2. Records of activity, site diary, journal & events |  | N |  |  |  |  |
|  | 3. Maintenance records |  | N |  |  |  |  |
|  | 4. Reporting & notification |  | N |  |  |  |  |
| h) Resource efficiency | 1. Efficient use of raw materials |  | N |  |  |  |  |
|  | 2. Energy |  | N |  |  |  |  |
| KEY: C1, C2, C3, C4 = CCS breach category ( * suspended scores are marked with an asterisk), A = Assessed or assessed in part (no evidence of non-compliance), N = Not assessed, NA = Not Applicable |  |  |  |  |  |  |  |
| Number of breaches recorded |  | 0 |  | Total compliance score (see section 5 for scoring scheme) |  |  | 0 |

If the Total No Breaches is greater than zero, then please see Section 3 for details of our proposed enforcement response

| Section 2 – Compliance Assessment Report Detail |  |
| --- | --- |
| This section contains a report of our findings and will usually include information on: |  |
| - the part(s) of the permit that were assessed (e.g. maintenance, training, combustion plant, etc) - where the type of assessment was ‘Data Review’ details of the report/results triggering the assessment - any non-compliances identified - any non-compliances with directly applicable legislation - details of any multiple non-compliances | - information on the compliance score accrued inc. details of suspended or consolidated scores. - details of advice given - any other areas of concern - all actions requested - any examples of good practice. - a reference to photos taken |

Introductions and Site Overview for New Site Inspector (Gary Evans) The facility in Milford Haven is one of the largest fuel terminals in Europe and possibly the largest within the UK. The site located on the Milford Haven waterway and deals with a range of cargos from across the World and stores gasoline, gasoline blendstocks, naphtha, aviation kerosene, gas oil and diesel. SemLogistics also store crude oil at Milford and is the main aspect that brings the facility within the Environmental Permitting Regulations. It is estimated that the site can store approximately 8.7 million barrels of petroleum products across the tank farm in around 50 tanks (ranging in size from 3000 m3 to 100,000m3). The site imports and exports materials via two jetty berths (No 2 used for larger vessels 165,000DWT, and Berth 3 used for smaller vessels up to 20,000DWT). SEM Logistics also have a large scale surface water management system dealing with all the site run off via an interceptor system prior to final discharge into the haven (via pipeline into the main channel). The company also has mothballed ETP (DAF Unit) on site, however they do not produce any process effluent apart from surface water run off that is treated (interceptors and lagoons) prior to discharge. The site was historically a crude oil refinery and is now split into a Fuel Terminal (SemLogistics) and an LNG Terminal (Dragon LNG) including scope for further industrial developments in the future. The visit was organised as a handover of the regulated facility from the existing Inspector (Karen Dunn) to the new Inspector (Gary Evans). Any correspondence regarding the permitted activity can now be forwarded to Gary Evans. Site Visit/ Inspection. The visit was mainly organised to provide a full inspection of the SemLogistics Installation taking into account both effluent release points (C and D) and also an overview of the facility outlining the duty of the tanks currently and future proposed changes. During the visit it was observed that company are investing in tank refurbishments with a number of tanks in the process of being jacked and lined. The company outlined that they have an extensive tank inspection and maintenance programme and the majority of the planned activities, including compliance checks are entered on an electronic planned maintenance system (agility). The maintenance records were not inspected during this visit. SemLogistics have a number of on-site borehole monitoring locations that are used proactively to identify any transient issues within the groundwater. These are located around the tank fam and can also be used to intercept any potential leak into the immediate ground water around the tank bunds. As part of our delivery of the Water Framework Directive requirements, we need to identify and assess the impact of all sources of hazardous pollutants to surface waters from regulated industry. The site currently discharges into surface waters and as a result the facility will be required to undertake a review to ensure that the monitoring is carried out in line with MCERTS Standards and Water Framework Directive (WFD). This will also look at the substances discharged and their concentrations into the receiving waters. As part of the NRW future inspections, it is anticipated that we will be undertaking an Operator Monitoring Assessment (OMA) for Water during 2016. The SemLogistics permitted facility has two operational emissions to water; Emission Point C (Blue) – East Catch Basin. (Monitoring point in land SM 93920 04377 and discharge point in the Haven via pipeline SM 94140 03949) Emission Point D (Green) - West Catch Basin. (SM 92961 05519) Guidance in relation to an OMA Water can be found on the following web link:- https://www.gov.uk/government/collections/monitoring-emissions-to-air-land-and-water-mcerts Tank Refurbishment Project. SemLogistics are in the process of undertaking a tank refurbishment programme. This will also include the installation of a fixed roof compared with existing floating roofs. This aspect may require a permit variation and suggest that the company review the change in line with our guidance along with relevant sections of the original PPC Application for the permit. This change could possibly be included in the forthcoming permit reviews, which is anticipated in early 2016. Permit Review Natural Resources Wales is required to review your permit, following the publication of the revised Best Available Techniques (BAT) Reference Document for the Refining of Mineral Oil and Gas. The associated BAT conclusions to this document were published on the 9th October 2014 in the Official Journal of the European Union. http://eippcb.jrc.ec.europa.eu/reference/ref.html The information we require from you in order to be able to carry out that review will be requested in the coming weeks. Subject to your response to this request we may vary your permit to ensure that it delivers compliance with the updated requirements. We will keep SemLogistics updated with timescales on the plans to carry out the permit reviews for the refinery sector.

|  | # EPR Compliance Assessment Report |  | Report ID: 06089 |  |
| --- | --- | --- | --- | --- |
| This form will report non-compliance with your permit as determined by an NRW officer |  |  |  |  |
| Site | SEM Logistics Milford Haven Limited | Permit |  | XP3134TC |
| Operator/ Permit | SEM Logistics Milford Haven Limited | Date |  |  |

| Section 3- Enforcement Response | Only one of the boxes below should be ticked |  |
| --- | --- | --- |
| You must take immediate action to rectify any non-compliance and prevent repetition. Non-compliance with your permit conditions constitutes an offence and can result in criminal prosecutions and/or suspension or revocation of a permit. Please read the detailed assessment in Section 2 and the steps you need to take in Section 4 below. |  |  |
| Other than the provision of advice and guidance, at present we do not intend to take further enforcement action in respect of the non-compliance identified above. This does not preclude us from taking enforcement action if further relevant information comes to light or advice isn’t followed. |  |  |
| In respect of the above non-compliance you have been issued with a warning. At present we do not intend to take further enforcement action. This does not preclude us from taking additional enforcement action if further relevant information comes to light or offences continue. |  |  |
| We will now consider what enforcement action is appropriate and notify you, referencing this form. |  |  |

| Section 4- Action(s) |  |  |  |
| --- | --- | --- | --- |
| Where a non - compliance has been detected and an enforcement response has been selected above, this section summarises the steps you need to take to return to compliance and also provides timescales for this to be done. |  |  |  |
| Criteria Ref. | CCS Category | Action Required/Advised | Due Date |
| See Section 1 above |  |  |  |

| Section 5 - Compliance notes for the Operator |  |  |  | Section 6 – General Information |
| --- | --- | --- | --- | --- |
| To ensure you correct actual or potential non-compliance we may advise on corrective actions verbally or in writing require you to take specific actions in writing issue a notice require you to review your procedures or management system change some of the conditions of your permit decide to undertake a full review of your permit |  |  |  | Data protection notice The information on this form will be processed by Natural Resources Wales (NRW) to fulfill its regulatory and monitoring functions and to maintain the relevant public register(s). NRW may also use and/or disclose it in connection with: offering/providing you with its literature/services relating to environmental matters consulting with the public, public bodies and other organisations (e.g. Health and Safety Executive, local authorities) on environmental issues carrying out statistical analysis, research and development on environmental issues providing public register information to enquirers investigating possible breaches of environmental law and taking any resulting action preventing breaches of environmental law assessing customer service satisfaction and improving its service Freedom of Information Act/Environmental Information Regulations request. NRW may pass it on to its agents/representatives to do these things on its behalf. You should ensure that any persons named on this form are informed of the contents of this data protection notice. |
| Any breach of a permit condition is an offence and we may take legal action against you. We will normally provide advice and guidance to assist you to come back into compliance either after an offence is committed or where we consider that an offence is likely to be committed. This is without prejudice to any other enforcement response that we consider may be required. Enforcement action can include the issue of a formal caution, prosecution, the service of a notice and or suspension or revocation of the permit. See our Enforcement and Civil Sanctions guidance for further information |  |  |  |  |
| This report does not relieve the site operator of the responsibility to ensure you comply with the conditions of the permit at all times and prevent pollution of the environment ensure you comply with other legislative provisions which may apply. |  |  |  |  |
| Non-compliance scores and categories |  |  |  | Disclosure of information NRW will provide a copy of this report to the public register(s). However, if you consider that any information contained in this report should not be released to the public register(s) on the grounds of commercial confidentiality, you must write to your local area office within twenty working days of receipt of this form indicating which information it concerns and why it should not be released, giving your reasons in full. |
| CCS category | Description | Score |  |  |
| C1 | A non-compliance which could have a major environmental effect | 60 |  |  |
| C2 | A non-compliance which could have a significant environmental effect | 31 |  |  |
| C3 | A non-compliance which could have a minor environmental effect | 4 |  | Customer charter What can I do if I disagree with this compliance assessment report? If you are unable to resolve the issue with your site officer, you should firstly discuss the matter with the officer’s line managers. If you wish to raise your dispute further through our official Complaints and Commendations procedure, phone our general enquiry number 0300 065 3000 (Mon to Fri 08.00–18.00) and ask for the Customer Contact team or send an email to enquiries@naturalresourceswales.gov.uk If you are still dissatisfied you can make a complaint to the Public Services Ombudsman for Wales. For advice on how to complain to the Ombudsman phone their helpline on (0845) 601 0987. |
| C4 | A non-compliance which has no potential environmental effect | 0.1 |  |  |
| Operational Risk Appraisal (Opra) - Compliance assessment findings may affect your Opra score and/or your charges. This score influences the resource we use to assess permit compliance. |  |  |  |  |