File Note Regarding Volume:

The recalculated discharge volume is 4.1m3/day:

2m3 from 2 houses with 1-3 bedrooms

2.1m3 from the tea rooms = 2 x Full time staff (180l), 4 x part time staff (180l), 140 customers (1680l) = 2040l = 2.1m3

Total Volume = 2m3 (houses) + 2.1m3 (tea room) = 4.1m3/day

This volume has been confirmed with the applicant before duly making as the figures given in the RFI response (via email) were Average daily numbers for the tea rooms not Maximum.