| Permit Number: | PAN-004849 |
| --- | --- |
| Applicant name: | Mr David Vater |
| Site Address: | Forest Tea Rooms, Castle Road, Tongwynlais, Cardiff, CF15 7JR |
| Discharge Point NGR: | ST 13561 82935 |
| Respond by date: | 10/04/2019 (10 working days) |
| Permitting Officer: | Elliot Burge |

Brief Description of proposal:

We have received an application for an existing unregulated discharge of septic tank effluent to ground from 2 cottages and Tea rooms. The effluent will be domestic in nature and the maximum daily discharge volume will be 4.1m3/day, please see how this was calculated here. The system has been in situ since 1980, there have been no recorded pollution incidents at the site.

The septic tank previously served a garage and the 2 cottages, a permit has applied for as the garage is being changed to tea rooms. The septic tank has capacity to treat all incoming flows and will be managed in accordance to a stringent management system and a contract is already in place to ensure regular desludging and maintenance of the system.

Habitats Screening Report – Designations or protected species/habitats:

The risk screening report can be found on the DMS here.

The report has found Ancient Semi Natural Woodland, Cardiff Beech Woods SAC and 2 SSSI’s.

The relevant assessments will be completed and consulted on as appropriate.

Risk Assessment Results (modelling or L1 Risk Assessment):

A L1 assessment has been completed and can be found on the DMS here.

The score is 166, this is due to the fact the Bedrock is limestone and the nearest compliance point is <50m

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

No concerns.  This application for a permit comes after taking action to upgrade the existing works which were causing concerns and to bring the discharge into compliance.  Spoken to conservation officer 2/04/2019 (Catherine Hammond), no concerns raised.

Officers name: Natalie Wrangham
Date: 2/04/2019

Biodiversity comments:

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks |  |
| Water Company regarding Drinking Water Protected Zone / SPZ1 |  |
| Environmental Heath |  |

Any Permitting Responses:

Date: