# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Beili-Glas Farm and Beili-Glas Farm House operated by Mr Hugh Knight.

The application number is PAN-004724

The permit number is EPR/BB3198FH

The permit regulates a new discharge of primary treated sewage effluent; a maximum of 1.65m3/day from a septic tank to an infiltration system. The system serves a 4 bed property and a 3 bed property. There is a requirement for the infiltration systems surface area to be increased to satisfy British Standards within 12 months.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation responses

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to consultation and web publicising | The web publicising and consultation responses (Annex 2) were taken into account in the decision. No responses were received from web publicising. The decision was taken in accordance with our guidance. |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| The permit conditions |  |  |  |
| Improvement conditions | Based on the information on the application, we consider that we need to impose improvement conditions. We have imposed improvement conditions to ensure that the drainage field meets British Standards requirements, safe guarding the local Source Protection Zone. We have stipulated that work is done to increase the surface area of the drainage field to 41 m2 within 12 months of the permit issue date. |  |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |

# Annex 2: Consultation responses.

Summary of responses to consultation and the way in which we have taken these into account in the determination process.

Response received from

Dŵr Cymru Welsh Water

Brief summary of issues raised

“The application falls within a Drinking Water Protected Area under Article 7 of the Water Framework Directive. This Article requires the UK to take action to protect drinking water sources. Section 7.3 states that the aim is ‘to avoid deterioration in water quality where this may lead to additional purification treatment being required’. The site is located within a DCWW Drinking Water Catchment known as ‘Abersychand near Pontypool’. We have designated this as a standby water source. We presume that all compliance and best practice guidelines will be followed in respect to the commissioning, management and maintenance of the package treatment plant. We therefore have no further comments on the application, but would like to reiterate to the applicant that the facility is within a Drinking Water Catchment and trust that all the particulars from the permit will be followed during the lifetime of the treatment plant.”

Summary of actions taken or show how this has been covered

No action required