## Odour
ODOUR RISK ASSESSMENT
Grays Biogas Ltd
Proposed Anaerobic Digestion Plant
Hazard | Receptor | Pathway | Risk management | Probability of exposure | Consequence | Overall Risk
What has the potential to cause odour? | What is at risk? What do I wish to protect? | How can the hazard get to the receptor? | What measures will you take to reduce the risk? If it occurs - who is responsible? | How likely is this contact? | What is the harm that can be caused | What is the risk that still remains the balance of probability and consequence
Delivery of Solid raw materials | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | Waste reception/storage building for the chicken litter has fast acting roller shutter doors, is operated under negative pressure and site has active odour control system in place to control odour. The feed hoppers are lidded and will have odour neutraliser spray bars incorporartd into their design. Odour management plan in place, including monitoring and complaints procedures. | Minimal-Site has independent back up power in case of failure of both gas engine and mains power. Odour management. and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including odour control. Staff trained in emergency response. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Delivery of Liquid raw materials | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | Process of emptying delivery vehicles into enclosed feedstock reception tanks (feeder buffer tanks), through delivery pipes within liquid feedstock discharge area. From the feeder tanks liquid waste will be conveyed via sealed pipework to the digester tanks. Odour control system has been incorporated into the system to control odour, the fully enclosed tanks have active extraction systems to control odour in any vented air. Odour management plan in place, including monitoring and complaints procedures. | Minimal Site has independent back up power in case of failure of both gas engine and mains power. Odour management. and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including odour control. Staff trained in emergency response. Odour Control systems in place as detailed in the EMS and Technical Guidance Documents. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Stored solids prior to introduction to the process | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | The chicken litter is transported onto site and to the storage shed in covered trailers. All waste feedstocks are stored undercover. Chicken litter reception shed operated under negative pressure and with active odour control system to control odour. Biomass stored in covered silage clamps constructed to high specification.Storage/deliveries managed to ensure all solids introduced into process by the end of each working day. Odour management plan in place, including monitoring and complaints procedures. | Minimal Site has independent back up power in case of failure of both gas engine and mains power. Odour management. and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including odour control. Staff trained in emergency response. Odour control systemns in place as detailed in EMS and Technical Guidance documents. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Stored liquds prior to introduction to the process | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | All liquid storage storage tanks will have active odour control system to control odour, fully enclosed tanks with extraction to odour control system as shown on Drawing No. A2529UK_MONA-00-01. Odour management plan in place, including monitoring and complaints procedures. | Minimal Site has independent back up power in case of failure of both gas engine and mains power. Odour management. and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including odour control. Staff trained in emergency response. Odour Control systems in place as detailed in EMS and Technical Guidance documents. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Transfer of materials into process (A) solid feedstock (hopper); (B). Liquid feedstock (Buffer tank) | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | (A)Chicken litter and biomass transferred as quickly as possible using a wheel loader into the feeding lidded hoppers. The storage areas are positioned as close as possible to the hoppers (approx 20m distance).Estimated that it will only take a max of 45 minutes per day for the chicken litter to be loaded and unloaded and 30 minutes per day for the biomass to be loaded and unloaded. Once the chicken litter and the biomass have been loaded, the shed and clamps will be fully sealed again. The hoppers x2 are fitted with deneutralizing odour spray bars which are activated when open. Only one hopper is open at a time. Hoppers have hydraulic lid which closes after filling. (B) Buffer tankenclosed and fitted with relief valves, extracted via extraction heads to the odour control system. Odour management plan in place, including monitoring and complaints procedures. As detailed in EMS S5.13 and on site layout plan. | Minimal Site has independent back up power in case of failure of both gas engine and mains power. Odour management. and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including odour control. Staff trained in emergency response. Odour control systems in place as detailed in EMS and in the Technical Guidance documents. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Fermentation | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | Storage tanks sealed to ensure all gases are contained. Gas from each tank will be extracted to the site CHP engines. Odour management plan in place, including monitoring and complaints procedures. | Minimal Site has independent back up power in case of failure of both gas engine and mains power. Odour management and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including odour control. Staff trained in emergency response. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Digestion | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | Digester tank fully sealed with all gaseous production contributing to biogas. Sufficient storage capacity for the digestatete has ben factored into the design for phase 1 based on 180 day storage capacity. To prevent gaseous emissions the storage tanks will be always covered with a gastight cover as detailed in the Technical specification documents attached to this application and are provided with appropriate emissions control and abatement .Odour management plan in place, including monitoring and complaints procedures. Phase 1 does not involve any sparation of the digestate. the digeatate therefore being contained in air tight storage tanks (Post Digester and Storage Tank). | Minimal Site has independent back up power in case of failure of both gas engine and mains power back up gas boiler uses bio-gas in event of engine breakdown/maintenance. Odour management and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including release of bio-gas and odour control. Staff trained in emergency response. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Treatment of digestate | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | All digestate will be stored as detailed above. There will be no speparation of the digestate under Phase 1 | Minimal Site has independent back up power in case of failure of both gas engine and mains power. Odour management. and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including odour control. Staff trained in emergency response. Odour Control systems in place as detailed in EMS and in the Technical Guidance documents. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Storage of digestate solids | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | Not applicable for Phase 1 as there will be no separation of the digestate. | No applicable for Phase 1 | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Storage of digestate liquor | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160mto north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | Liquor tank fully sealed with all gaseous production contributing to biogas. Pull off points on both the post digester and the storage tank where there may be potential for odour to arise from the digestate during loading process has been considered in the Odour Assessment modelling report and does not predict any potential impact. Odour management plan in place, including monitoring and complaints procedures. See above 'treatment of digestate' | Minimal Site has independent back up power in case of failure of both gas engine and mains power. Odour management. and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including odour control. Staff trained in emergency response. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Storage of Bio-gas | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | Biogas stored over liquor (located on top of digestate tanks) using double skinned roof to prevent pressure build up. Odour management plan in place, including monitoring and complaints procedures. | Minimal Site has independent back up power in case of failure of both gas engine and mains power back up gas boiler uses bio-gas in event of engine breakdown/maintenance. Odour management and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including release of bio-gas and odour control. Staff trained in emergency response. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Failure of the Odour Control System including biofilter unit | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | Odour management plan in place, including emergency procedures for dealing with odour control equipment malfunction, listing options to minimise odour in event of primary system failure. A complaints procedure is also in place. | Minimal Site has independent back up power in case of failure of both gas engine and mains power. Odour management. and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including odour control. Staff trained in emergency response. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant
Accidental Release of Bio-gas | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 200m to the north 200m to the south 250m to the west) to the north | Air transport then inhalation. | Odour and emergency management plans in place, including emergency procedures for dealing with accidental release of bio-gasmalfunction, listing options to minimise odour in event of primary system failure. A complaints procedure is also in place. Background bioaerosol monitoring is to be carried out (pre-operational condition). | Minimal Site has independent back up power in case of failure of both gas engine and mains power back up gas boiler uses bio-gas in event of engine breakdown/maintenance. Odour management and maintenance procedures work on a preventative maintenance programme. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including release of bio-gas and odour control. Staff trained in emergency response. Odour Assessment modelling report does not predict any potential impact. | Odour annoyance Local population partially accustomed to potentially odourous activities (Poultry Unit adjacent to proposed site) | Not significant

## Noise-vib
NOISE AND VIBRATION RISK ASSESSMENT
Grays Biogas Ltd
Proposed Anaerobic Digestion Plant
Hazard | Receptor | Pathway | Risk management | Probability of exposure | Consequence | Overall Risk
What has the potential to cause noise/vibration? | What is at risk? What do I wish to protect? | How can the hazard get to the receptor? | What measures will you take to reduce the risk? If it occurs - who is responsible? | How likely is this contact? | What is the harm that can be caused | What is the risk that still remains the balance of probability and consequence
Noise and vibration from all site operations | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Noise through the air and vibration through the ground. | Quantitative noise assessment has been undertaken which has concluded that providing recommendations on silencing and accoustic shielding undertaken noise from stationary and mobile plant will be below background levels at all sensitive locations (including residential properties within 400m). | Minimal Noise assessment concluded noise at closest properties below background at all times of day and night. | Nuisance, loss of amenity, loss of sleep. | Not significant
Delivery vehicles manouvering | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Noise through the air and vibration through the ground. | All delivery vehicles will be silenced in accordance with manufacturers recomendations only white noise reversing alarms permitted. Deliveries restricted to daytime only. | Minimal Noise assessment concluded noise at closest properties below background at all times of day and night. | Nuisance, loss of amenity, loss of sleep. | Not significant
Mobile plant moving on site | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Noise through the air and vibration through the ground. | All mobile plant fitted with silencers and maintained according to manufacturer's recommendations. Bulk of mobile plant movements carried out within reception building. No night time working. | Minimal Noise assessment concluded noise at closest properties below background at all times of day and night. | Nuisance, loss of amenity, loss of sleep. | Not significant
Pumping equipment static and mobile | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Noise through the air and vibration through the ground. | All pumps use electric drives automatic sensing prevents dry running. | Minimal Noise assessment concluded noise at closest properties below background at all times of day and night. | Nuisance, loss of amenity, loss of sleep. | Not significant
Mixing equipment | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Noise through the air and vibration through the ground. | All mixers use electric drives automatic sensing prevents overloading and dry running. | Minimal Noise assessment concluded noise at closest properties below background at all times of day and night. | Nuisance, loss of amenity, loss of sleep. | Not significant
CHP unit (engine) | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Noise through the air and vibration through the ground. | Situated where surrounding structures shield the unit from sensitive receptors. Housed in accoustic enclosure to ensure noise level minimised. Positioned furtherest away from sensitive receptors | Minimal Noise assessment concluded noise at closest properties below background at all times of day and night. | Nuisance, loss of amenity, loss of sleep. | Not significant
CHP unit (exhaust) | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Noise through the air and vibration through the ground. | Fitted with high efficiency silencers and directed away from sensitive receptors. | Minimal Noise assessment concluded noise at closest properties below background at all times of day and night. | Nuisance, loss of amenity, loss of sleep. | Not significant
Flare stack | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Noise through the air and vibration through the ground. | Fitted with high efficiency silencers and directed away from sensitive receptors. | Minimal Noise assessment concluded noise at closest properties below background at all times of day and night. | Nuisance, loss of amenity, loss of sleep. | Not significant

## Fugitive Ems
FUGITIVE EMISSIONS RISK ASSESSMENT
Grays Biogas Ltd
Proposed Anaerobic Digestion Plant
Hazard | Receptor | Pathway | Risk management | Probability of exposure | Consequence | Overall Risk
What has the potential to cause fugitive emission? | What is at risk? What do I wish to protect? | How can the hazard get to the receptor? | What measures will you take to reduce the risk? If it occurs - who is responsible? | How likely is this contact? | What is the harm that can be caused | What is the risk that still remains the balance of probability and consequence
To Air
Releases of NOx | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Air transport then inhalation | Risk magnitude is considered low, the NOx emissions from the engines will be controlled under the conditions of the permit, which will contain Emission Limit Values (ELVs) for NOx. These will be achieved through engine design | Minimal NOx Modelled as having no significant impact at sensitive receptors. After initial Screening using H1 tool failed to screen out the NOx emisssions | Harm to human health - respiratory irritation and illness. | Not significant
Releases of NOx | Flora and fauna in surrounding countryside and designated sites. | Air transport then enrichment by nitrogen deposition. | Risk magnitude is considered low, the NOx emissions from the engines will be controlled under the conditions of the permit, which will contain Emission Limit Values (ELVs) for NOx. These will be achieved through engine design | Minimal NOx Modelled as having no significant impact at sensitive receptors. After initial Screening using H1 tool failed to screen out the NOx emisssions | Damage to nutrient poor eco-systems | Not significant
Releases of CO and other gases | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Air transport then inhalation | As above (compliance with ELVs in permit and optimising engine design and operation) | Minimal CO Modelled as having no significant impact at sensitive receptors. Modelled in conjunction with NOx as convenientt to do so. | Harm to human health - respiratory irritation and illness. | Not significant
Release of Sox | N/A no risk of SOx generation as using low sulphur content fuel | Air transport then inhalation. Acidification of soils and surface/ground waters | N/A no risk of SOx generation as using low sulphur content fuel | Nil no risk of SOx generation as using low sulphur content fuel | Harm to human health - respiratory irritation and illness. Damage to eco-systems | None
Release of microorganisms (bioaerosols) | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Air transport then inhalation | Operations will take place within a enclosed system with active emissions control and abatement. All tanks are covered and negative pressure will be maintaned within the reception building with a biofilter and scrubbing system used to control bioaersol release. Background bioaerosol monitoring assessment being undertaken. | Minimal No means of entering pathway under normal operating conditions. Backup procedures in place to cover any plant breakdown, Site has independent back up power in case of failure of both gas engine and mains power back up gas boiler uses bio-gas in event of engine breakdown/maintenance. Emergency procedures in place include actions to be taken in case of unplanned failure of systems including release of bio-gas and odour control. Staff trained in emergency response. Odour Assessment modelling report . | Harm to human health - respiratory irritation and illness. | Not significant
Dust | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Air transport then inhalation deposition | Waste types unlikely to generate dust. Risk from delivery vehicles and mobile plant moving around site. Fugitive emissions management plan includes monitoring for dust and actions to control it these are complimented by site hygeine regime as frequent wash down prevents build up of matter which could generate dust. | Minimal Dust generation very unlikley due to nature of operation. | Nuisance deposit on homes and vehicles Harm to human health - respiratory irritation and illness. | Not significant
To Water
Spillage of liquids, including oil. | All surface waters close to and downstream of site. | Direct run-off from site across ground surface, via surface water drains, ditches etc. | Digestion tanks will be bunded and located in area of sealed drainage, there will be no point source emissions to water. Water is recyled within the enclosed process. Liquid waste will be loaded into sealed tanks, solid wastes (chicken litter) will be stored within designated building with impermeable floors with a fixed drainage system and then transferred into lidded hoppers for transfer into the digester tanks. Secondary containment in place for all tanks. | Minimal No means of entering pathway under normal operating conditions | Acute effects: fish kill | Not significant
Spillage of liquids, including oil. | All surface waters close to and downstream of site. | As above. Indirect run-off via the soil layer | As above | Minimal No means of entering pathway under normal operating conditions | Chronic effects: deterioration of water quality | Not significant
Spillage of liquids, including oil. | Abstraction from watercourse downstream of facility (for agricultural or potable use). | Direct run-off from site across ground surface, via surface water drains, ditches etc. then abstraction. | As above | Minimal No means of entering pathway under normal operating conditions | Acute effects, closure of abstraction intakes. | Not significant
Spillage of liquids, including oil. | Groundwater | Transport through soil/groundwater then extraction at borehole. | As above.Activities cannot take place within grounwater protection zone 1. Impermeable surface required for AD plant. | Minimal No means of entering pathway under normal operating conditions | Chronic effects: contamination of groundwater, requiring treatment of water or closure of borehole. | Not significant
Mud/Litter
Tracking of mud/waste from the site | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 233m to the north 253m to the south 260m to the west) | Roads within Industrial Estate. Highway | Delivery vehicles washed down before leaving site management plan procedures to monitor and prevent liklihood of generating mud during normal operations | Minimal The nature of site operations is unlikley to produce conditions where mud would be generated which could then be tracked off site. Wash down procedures minimise even further | Nuisance causing dirty cars tracking into properties Harm to human health - risk of road accidents. | Not significant
Tracking of mud/waste from the site (Construction phase) | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 1160m to north east, 233m to the north 253m to the south 260m to the west) | Roads within Industrial Estate. Highway | Strict supervision and provision of temporary wheelwash facilities if required during construction phase. | Some risk of generating mud during construction phase as excavated material will be generated and require removal from site. Employing good practice in supervision of construction works and if necessary deploying temporary cleaning equipment should minimise this risk. | Nuisance causing dirty cars tracking into properties Harm to human health - risk of road accidents. | Not significant
Litter | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Windblown material escape from vehicles delivering/removing material to and from the site. | Materials processed on site and products of site operation are unlikely to generate litter management plan includes procedures for regular inspection and if found prompt removal of any litter found | Minimal The nature of the material handled and the enclosure of all handling operations of loose solids within the building minimise any risk of litter being generated. | Nuisance unsightly attrractive to pest and vermin species. | Not significant
Pests
Insects, vermin, birds etc. | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Attracted to materials brought in for treatment as a food source/breeding medium/shelter in certain cases associated with material brought in. | Waste is stored in the reception building doors only open when vehicles entering/exiting and in covered contained silage clamps. Storage/deliveries managed to ensure all solids introduced into process by the end of each working day. All tanks are fully enclosed and sealed preventing entry or exit of vermin/insects/birds. Written management plan in place, including monitoring for presence of flies and vermin and procedures for dealing with any problems discovered. | Minimal Whilst the nature of the material handled is potentially attractive to insects /pests /vermin /birds. The enclosure of all handling operations of loose solids within the building minimise any risk of pests vermin and birds gaining access to raw materials. There is a small risk of material being brought in which alredy contains insects/larvae/eggs, as management practice will be to introduce all solids in to the process on the day of delivery the risk of any build up of insects is removed. | Nuisance insects, pest and vermin species liable to spread if unchecked . | Not significant

## Accidents
ACCIDENTS RISK ASSESSMENT
Grays Biogas Ltd
Proposed Anaerobic Digestion Plant
Hazard | Receptor | Pathway | Risk management | Probability of exposure | Consequence | Overall Risk
What has the potential to cause harm? | What is at risk? What do I wish to protect? | How can the hazard get to the receptor? | What measures will you take to reduce the risk? If it occurs - who is responsible? | How likely is this contact? | What is the harm that can be caused | What is the risk that still remains the balance of probability and consequence
Overfilling of tanks | Surface Waters/Ground and Groundwater | Percolation through site surfacing, soil and geology or escape to surface water drains or ditches. | Operational procedures and process control systems in place to prevent overfilling. Tanks will be designed to prevent overfilling (e.g shutting of valves at set level). Auto Alarm systems built into the plant design as detailed in Technical Specification Documentation. Routine maintenence and inspection will be undertaken on tanks. Should a spillage occur, immediate clean-up will be actioned (see EMS & Accident Management Plan). The site drains to a sealed system which stores drainage for introduction into the AD plant with all site yard areas having impermeable surfaces. Surface water tested before any release off site. Process system and infrastructure designed to re use as much of the surface water run off as possible. | Minimal Site drains to sealed system it would require a series of failures and unlikely circumstances to allow escape of from site due to overfill | Aquatic effects and ground contamination | Not significant
All on-site hazards: machinery. | Local human population and / or livestock after gaining unauthorised access to the installation | Direct physical contact | Activities shall be managed and operated in accordance with a management system (will include site security measures to prevent unauthorised access). Alarms fitted as standard to plant and machinery. | Minimal Site securely fenced and monitored 24 hours per day | Bodily injury | Not significant
Arson and / or vandalism causing the release of polluting materials to air (smoke or fumes), water or land. | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Air transport of smoke. Spillages and contaminated firewater by direct run-off from site and via surface water drains and ditches. | Accident and emergency management plans in place which details procedures in case of fire and spillages. Personnel regularly trained in procedures to ensure familiar with action to take. | Minimal Site securely fenced and monitored 24 hours per day | Respiratory irritation, illness and nuisance to local population. Injury to staff, fire fighters or arsonists/vandals. Pollution of water or land. | Not significant
Accidental explosion of biogas | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 233m to the north 253m to the south 260m to the west) | Air transport of smoke. Spillages and contaminated firewater by direct run-off from site and via surface water drains and ditches. | Accident and emergency management plans in place which details procedures in case of explosion and spillages. Personnel regularly trained in procedures to ensure familiar with action to take. | Minimal Management systems include monitoring and maintenance programmes able to detect and deal with escape of bio-gas at very low levels. | Respiratory irritation, illness and nuisance to local population. Injury to staff, fire fighters or local people. Pollution of water or land. | Not significant
Accidental fire causing the release of polluting materials to air (smoke or fumes), water or land. | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 160m to north east, 233m to the north 253m to the south 260m to the west) | Air transport of smoke. | Accident and emergency management plans in place which details procedures in case of fire. Personnel regularly trained in procedures to ensure familiar with action to take. | Minimal Management systems include monitoring and maintenance programmes able to detect and deal with fires. | Respiratory irritation, illness and nuisance to local population. Injury to staff, fire fighters or local people. Pollution of water or land. | Not significant
Spillage of liquids, including oil. | Surface Waters/Ground and Groundwater | Percolation through site surfacing, soil and geology or escape to surface water drains or ditches. | Operational procedures and process control systems including alarm systems, in place to prevent spillages. Routine maintenence and inspection will be undertaken on all systems tanks and equipment. Should a spillage occur, immediate clean-up will be actioned (see Accident Management Plan and EMS). The site drains to a sealed system which stores drainage for introduction into the AD plant and all yard surfaces are impermeable. Mechanisms in place to prevent potentially contaminated surface water discharging off site. Surface water sampled and tested. Process systems and infrastructure designed to re-use as much of the surface water runoff as possible. | Minimal Site drains to sealed system it would require a series of failures and unlikely circumstances to allow escape of from site due to accidental spillage | Aquatic effects and ground contamination | Not significant
Hydrogen sulphide and/or Carbon Monoxide | Site staff | Air transport then inhalation. | Digestion process managed to minimise production of toxic gasses. Fixed detectors and alarms in process building and around the site. Staff required to wear personal alarms. Permit to work system for enclosed spaces. | Slight risk for site staff/contractors entering vessels for cleaning etc. permit to work system employed | Odour Asphyxiation/acute health effects | Not significant if management procedures followed
Release of asphyxiating /toxic gasses | Industrial Estate Adjacent sites Waste sites to the east Broiler Farm to the North Salt store Airfield and other units within 200m. Local residents (properties 233m to the north 253m to the south 260m to the west) | Air transport then inhalation. | Digestion process managed to minimise production of undesirable gases. Fixed detectors and alarms in process building and around the site. | Minimal Bio-gas production monitored very closely to enable management to minimise generationof undesirable gases. It would take a series of very unlikely occurrences to release a gas in dangerous quantities and even more unusual circumstances for any release to be sufficient to affect antone away form the site. | Respiratory irritation, illness and nuisance to local population. | Not significant