## List of forms concise
Permit | Original | Title
IED HR1 | ESI/01 | ANNUAL OPERATING HOURS RETURN
Annual operating hours return. For each LCP: Annual operating hours. For each LCP with a Limited Lifetime Derogation or a 10,000h monitoring derogation: cumulative operating hours from 1 Jan 2016. For each LCP with a 1,500h derogation: annual derogated operating hours (from entry month in first year) and 5 year running average from entry date. For a combined cycle gas turbine that operates with a bypass stack in normal operation, the bypass hours during normal operation are included in the plant hours but are also reported separately.
IED RTA1 | ESI/02 | QUARTERLY RETURN OF MONTHLY SO2, NOx AND DUST MASS RELEASE DATA
Quarterly mass emissions return for TNP plant and plant with a Site Specific NOx limit. TNP mass emissions (TNP plant only; applicable pollutants only): excluding start-up and shut-down emissions Site Specific NOx limits (additional report if applicable): including start-up and shut-down emissions
IED Annual |  | ANNUAL RETURN OF MONTHLY SO2, NOx AND DUST MASS RELEASE DATA
Annual mass emissions return for Non-TNP plant and plant with a Site Specific NOx limit. Non-TNP mass emissions (Non-TNP plant only; applicable pollutants only): excluding start-up and shut-down emissions Site Specific NOx limits (additional report if applicable): including start-up and shut-down emissions
IED CON1/2 | ESI/03 | QUARTERLY RETURN OF MONTHLY MEAN, MONTHLY MAXIMUM DAILY MEAN AND ANNUAL RETURN OF HOURLY CONCENTRATION PERCENTILES
Quarterly return for each LCP (noting that Unit(s) with a 1,500h derogation are regarded as a separate LCP). Validated concentration data: Monthly mean; Maximum daily mean within month (applied as 95th percentile in the interim BAT period for some plant); Annual 95th percentile of hourly averages. Version 1 (IED CON1) Boilers; Version 2 (IED CON2 ) Gas turbines.
IED AR1 | ESI/04 | ANNUAL RETURN OF ENERGY INPUT AND TOTAL EMISSIONS
IED Inventory: annual energy and annual mass emissions return. Annual declaration of rated thermal input.
IED PM1 | ESI/05 | SIX-MONTHLY RETURN OF DISCONTINUOUS MONITORING RESULTS (AS REQUIRED)
Periodic monitoring return (e.g., annual mercury test) or Alternative monitoring return (as required by the Competent Authority).
IED BD1 | ESI/06 | QUARTERLY RETURN OF CUMULATIVE ANNUAL ROLLING MALFUNCTION AND BREAKDOWN HOURS
For each LCP fitted with abatement, return the cumulative Malfunction and Breakdown hours as a rolling average (12 monthly period) that is updated on a monthly basis.
IED MF1 | ESI/07 | RETURN OF MALFUNCTION AND BREAKDOWN DATA (AS REQUIRED)
Validated concentration data for each day affected by Malfunction or Breakdown.
IED AQRA | ESI/08 | AIR QUALITY RISK ASSESSMENT FOR MALFUNCTION AND BREAKDOWN (AS REQUIRED)
Basic air quality risk assessment for valid concentration excursions related to Malfunction or Breakdown.
NOTES:
The following changes have been made to the forms issued in December 2015
IED HR1 (Annual operating hours):
No change
IED RTA1 (TNP quarterly mass emissions):
Form deleted and link provided to final version on .GOV web site
IED CON1 (Quarterly Concentration - boilers):
Footnote b) amended to apply to all percentile returns
Footnote d) moved to apply to both fuel sulphur and FGD efficiency
IED CON2 (Quarterly Concentration - gas turbines):
Footnote e) clarification text added '(including part load operation)' Footnotes g) an h) swapped (correction)
IED AR1 (Annual IED inventory):
This form was deleted in March 2016 (v11) and a link was provided to the final version on .GOV web site.
The form has been reinstated in V12 (Jun 2016) since it has been retracted from the .GOV web site. This may be a temporary arrangement pending confirmation from the regulators.
Note that a breakdown of solid and gaseous fuels must also be provided on this Excel sheet (now added).
IED PM1 (Six monthly Discontinuous monitoring results):
No change
IED BD1 (Quarterly Malfunction & Breakdown hours):
No change
IED MF1 (Ad hoc return of excluded M&B data):
No change

## IED HR1
RELEASES TO AIR
ANNUAL RETURN
OPERATING HOURS
Operator: | Tata Steel |  |  | Select Operator |  | Form: | IED HR1
Location: | Port Talbot Boiler 8 (A68) |  |  | Select Site Location |  | Version/date: | V.11 Mar 2016
Permit/Variation Number: | BL7108IM
Year: | B8 (hours) | Bypass (hours) | LCP2 (hours) | Bypass (hours) | LCP3 (hours) | Bypass (hours) | LCP4 (hours) | Bypass (hours)
Annual Operating Hours (a), (b) | 0
Cumulative Operating Hours (c),(d)
Derogated annual hours (e)
Five year rolling average (f)
NOTES:
(a) Annual operating hours for every LCP from 1-Jan in calendar year. (For gas turbines with a Bypass stack, include the Bypass stack operating hours during normal operation even though these are reported separately).
(b) For gas turbines with a Bypass stack, report Bypass operating hours from 1-Jan in calendar year, excluding Start-Up and Shut-down, in the adjacent column (labelled Bypass) which may be deleted if not applicable.
(c) Cumulative operating hours from 1-Jan-2016 for LCP subject to a Limited Lifetime Derogation or a 10,000h monitoring derogation. (For gas turbines with a Bypass stack, include the Bypass stack operating hours during normal operation even though these are reported separately).
(d) For gas turbines with a Bypass stack, report Bypass Cumulative operating hours from 1-Jan-2016 if subject to a separate 10,000h monitoring derogation, in the adjacent column (labelled Bypass).
(e) Annual operating hours in calendar year from entry date (in first year as applicable) or from 1-Jan in calendar year, for each 1,500h ELV derogated Unit/LCP only.
(f) Five year running average from entry date for each 1,500h derogated Unit/LCP only.
(g) General note: hours are reported as a decimal number to two decimal places.
Signed on behalf of the Operator by: | …………….Michael Launder.……………………………………..
Date of return: | ……………..……07/02/2019……………………………..

## Sheet1
Operator | Location | Permit number | Plant ID | Operators | Operator | sites | Permit | plantid | Gases
Baglan Operations | Baglan Operations, Baglan CCGT | BJ7891IT | 15 | Baglan Operations |  | indirect($a$1) |  |  | Blast furnace gas (BFG)
Centrica | Centrica Barry Power Station |  | 43 | Centrica |  |  |  |  | Basic Oxygen Steel (BOS) Gas
Cofely Industrial Energy Services | Cofely Industrial Energy Services - Dow Corning Barry Cogeneration Plant |  | 60 | Cofely Industrial Energy Services |  |  |  |  | Coke oven gas (COG)
Deeside Power | Flintshire CCGT (GT 1) |  | 83 | Deeside Power |  |  |  |  | Refinery Fuel Gas (RFG)
Deeside Power | Flintshire CCGT (GT 2) |  | 84 | Dragon LNG
Dragon LNG | Dragon LNG, WaterstonExisting GTs | AP3135UA | 90 | E.ON
E.ON | Connah's Quay CCGT (A1) |  | 96 | Ford Engine Plant
E.ON | Connah's Quay CCGT (A2) |  | 97 | Gaz de France
E.ON | Connah's Quay CCGT (A3) |  | 98 | Murco Petroleum Limtied
E.ON | Connah's Quay CCGT (A4) |  | 99 | RWE npower
Ford Engine Plant | Ford Engine Plant, Bridgend Boilers | BL2548IF | 157 | Scotish and Southern Energy
Gaz de France | Gaz de France, Deeside, Flintshire GT (A1) |  | 169 | Severn Power
Gaz de France | Gaz de France, Deeside, Flintshire GT (A2) |  | 170 | South Hook CHP
Murco Petroleum Limtied | Murco Petroleum Limited Milford Haven Refinery 1 (Duct A) |  | 228 | Tata Steel
Murco Petroleum Limtied | Murco Petroleum Limited Milford Haven Refinery 2 (Duct B,C,D) |  | 229 | UPM-Kymmene UK Limited
RWE npower | RWE npower Aberthaw PS |  | 283 | Valero Energy Limited
RWE npower | Pembroke Power Station Unit 11 | DP3333TA | 286
RWE npower | Pembroke Power Station Unit 21 | DP3333TA | 382
RWE npower | Pembroke Power Station Unit 31 | DP3333TA | 383
RWE npower | Pembroke Power Station Unit 41 | DP3333TA | 384
RWE npower | Pembroke Power Station Unit 51 | DP3333TA | 385
RWE npower | Aberthaw Power Station OCGT |  | 423
Scotish and Southern Energy | Uskmouth PS |  | 312
Severn Power | Unit 10 |  | 324
Severn Power | Unit 20 |  | 325
South Hook CHP | South Hook CHP (A1) |  | 424
Tata Steel | Llanwern 3 package boilers |  | 72
Tata Steel | PT Works NP (ICL5) | BL7108IM | 73
Tata Steel | Port Talbot 1 (Service Boilers) | BL7108IM | 337
Tata Steel | Port Talbot 2 (Mitchell Boiler) | BL7108IM | 338
Tata Steel | Port Talbot 3 (A5 Boiler) | BL7108IM | 339
Tata Steel | Port Talbot 4 (6&7 Boiler) | BL7108IM | 340
Tata Steel | Port Talbot Boiler 8 (A68) | BL7108IM | 425
Tata Steel | Port Talbot Boiler 3 (A62) | BL7108IM | Not IED
Tata Steel | Port Talbot Boiler 9 (A69) | BL7108IM | 426
UPM-Kymmene UK Limited | UPM-Kymmene UK Limited Shotton Paper Mill |  | 368
Valero Energy Limited | Pembroke Plant (A1/A2) | YP3930EX | 371
Valero Energy Limited | Pembroke Plant (A11/A12) | YP3930EX | 372
Valero Energy Limited | Pembroke Plant (A3/A4) | YP3930EX | 373
Valero Energy Limited | Pembroke Plant (A6) | YP3930EX | 374
Valero Energy Limited | Pembroke Plant (A7/A8/A9/A10) | YP3930EX | 375

## IED RTA1
TNP quarterly mass emissions return
https://www.gov.uk/government/publications/transitional-national-plan-tnp-guidance-on-the-trading-scheme
NOTES:

## IED ANNUAL
Releases of IED Pollutants to Air
Operational Summary for the year: | 2016 | Select Reporting Year
Operator: |  |  |  | Select Operator
Site Location: |  |  |  | Select Site Location
Permit Number: | #N/A | LCP Reference: | #N/A
Note: beginning 1 January 2016, a return is required for each LCP within 28 days of the end of each quarter
Air Emissions: | SO2 | NOx (tonnes) | Dust (tonnes)
(tonnes)
January
February
March
Total for Quarter 1 | 0 | 0 | 0
April
May
June
Total for Quarter 2 | 0 | 0 | 0
July
August
September
Total for Quarter 3 | 0 | 0 | 0
October
November
December
Total for Quarter 4 | 0 | 0 | 0
Annual Total | 0 | 0 | 0
Please do not enter text
I confirm that this data is not knowingly reported with any omissions, errors or misrepresentation. All measurement equipment used to generate the data has been appropriately calibrated and maintained regularly; this includes calibration against traceable international measurement standards where available. The data is supported by appropriate record keeping. IT is designed, documented, tested, implemented, controlled and maintained to ensure reliable, accurate and timely processing of data; data handling and calculations have been appropriate; data has been checked for false and unusual measurements. The annual report of emissions for the above participating large combustion plant has been verified in accordance with the requirements of the Large Combustion Plants (Transitional National Plan) Regulations 2015.
Name of the operator staff responsible for the quality of data supplied to the Register in accordance with the principles above. |  |  | Date:
1. Data must be reported in tonnes to 2 decimal places
2. All forms must be saved in the format IED_RTA1_Quarter-Inventory_Year_LCP Reference i.e. IED_RTA1_Q1_2016_LCPxxx
3. No PDF documents shall be accepted
4. Upload Forms held on GOV.UK will be accepted other variants of the forms will be automatically rejected which may impact statutory obligations to report on time.

## IED CON1
RELEASES TO AIR
QUARTERLY RETURN
MONTHLY MEAN, MAXIMUM DAILY MEAN AND ANNUAL PERCENTILE CONCENTRATIONS (a),(b),(c)
Operator: | [5 empty] | Form: | IED CON1 (Utility boilers)
Location: | [5 empty] | Version/date: | V.11 Mar 2016
Permit/Variation Number: | #N/A
Year: LCP: | SO2 (mg/m3) |  | NOx (mg/m3) |  | Dust (mg/m3) |  | Monthly (d)
Month | Monthly Mean | Max Daily Mean | Monthly Mean | Max Daily Mean | Monthly Mean | Max Daily Mean (f) | Fuel S % | FGD Eff %
January
February
March
April
May
June
July
August
September
October
November
December
Monthly ELV/Daily ELV (e)
Annual 95th Percentile (f)
Annual Percentile ELV (g)
NOTES:
(a) All concentration data are based on validated hourly average concentrations excluding start-up and shut-down and periods of malfunction or breakdown of abatement equipment
(b) Annual percentiles are submitted with the final return (Quarter 4)
(c) Reference conditions. Solid fuel: 6% O2 (dry) Liquid fuel: 3% O2 (dry) at 273.15K, 101.325 kPa
(d) Required for indigenous fuel derogation only - state target removal efficiency as the ELV (if applicable)
(e) Leave the Daily ELV blank if this is applied as a 95th percentile ELV within the Permit
(f) For each pollutant, report the Annual 95th percentile of hourly averages in the first column and, if applicable, Annual 95th percentile of daily means in the second column
(g) For each pollutant, report Annual 95th percentile ELV for hourly averages in the first column and, if applicable, Annual 95th percentile ELV for daily means in the second column
Signed on behalf of the Operator by: |  |  | ……………..………………………………………………..
Date of return: |  |  | ……………..………………………………………………..

## IED CON2
RELEASES TO AIR
QUARTERLY RETURN
MONTHLY MEAN, MAXIMUM DAILY MEAN AND ANNUAL PERCENTILE CONCENTRATIONS (a),(b),(c)
OPERATING MODE:
Operator: |  |  |  | Form: | IED CON2 (Gas Turbines)
Location: |  |  |  | Version/date: | V.11 Mar 2016
Permit/Variation Number: | #N/A
Year: | LCP:
| NOx (mg/m3) |  |  | CO (mg/m3)
Month | Monthly Mean (d) | Max Daily Mean (d) | Part Load Max Daily Mean (e) | Monthly Mean (d) | Max Daily Mean (d) | Part Load Max Daily Mean (e)
January
February
March
April
May
June
July
August
September
October
November
December
Monthly ELV/Daily ELV (f)
Annual 95th Percentile (g)
Annual Percentile ELV (h)
NOTES:
(a) All data based on validated hourly average concentrations, excluding start-up and shut-down and periods of malfunction or breakdown of abatement equipment, at 15% O2, dry, 273.15K, 101.325 kPa
(b) Annual percentiles are submitted with the final return (Quarter 4)
(c) Extend report to cover the required number of LCP on each site and repeat report for each separately regulated Operating Mode as required, e.g., Combined Cycle, Open Cycle, Supplementary firing, Auxiliary firing
(d) Averages determined at loads in the range 70% < Load ≤ 100% ISO base load and above
(e) Averages determined (including part load) in the range MSUL* < Load ≤ 100% ISO base load and above (* For a 3 parameter approach, from the point of Start-Up to the point of Shut-down)
(f) Leave the Daily ELV blank if this is applied as a 95th percentile ELV within the Permit
(g) For each pollutant, report the Annual 95th percentile of hourly averages in the first column and, if applicable, the Annual 95th percentile of daily means in the second column
(h) For each pollutant, report the Annual 95th percentile ELV for hourly averages in the first column and, if applicable, the Annual 95th percentile ELV for daily means in the second column
Signed on behalf of the Operator by: |  |  | ……………..………………………………………………..
Date of return: |  |  | ……………..………………………………………………..

## IED AR1
Form Name
IED AR1
IED Reporting - Energy Usage & Emissions for the year: | 2017 | Select Reporting Year
Operator: | Tata Steel |  |  | Select Operator
Site Location: | Port Talbot Boiler 3 (A62) |  |  | Select Site Location
Permit/Variation number: | BL7108IM | LCP: | Not IED
LCP Net Rated Thermal Input Capacity (MW): | N/A
By Fuel
Parameter | TOTAL | Coal | Lignite | Peat | Biomass | Other solid fuels | Liquid fuels | Natural gas | Other gases
Annual energy input (TJ) | 2107.476 |  |  |  |  | 0 | 0 | 160.828 | 1946.648
Total Annual SO2 emission (tonnes) | 6.2372
Total Annual NOx emission (tonnes) | 6.628
Total Annual Dust (PM) emission (tonnes) | 0.33511
Signed on behalf of the Operator | Michael Launder |  | Date | 2018-05-30
NOTES:
(a) Annual energy input must be reported in TJ to 1 decimal places
(b) Annual emissions to air must be reported to 2 decimal places and exclude start-up and shut-down
(c) All forms must be saved in the format IED AR1—DEFRA IED LCP Number - Inventory Year i.e. IED AR1-XXX-2013
(d) No PDF documents shall be accepted
(e) Upload Forms held on GOV.UK will be accepted other variants of the forms will be automatically rejected which may impact their statutory obligations to report on time
Breakdown of Other solid fuels (if applicable)
Fuel Name | Annual Energy Input (TJ)
TOTAL | 0
Breakdown of Other gaseous fuels (if applicable)
Fuel Name | Annual Energy Input (TJ)
Blast furnace gas (BFG) | 1940.417 | Select fuel from picklist
Basic Oxygen Steel (BOS) Gas | 6.231
Coke oven gas (COG) | 0
TOTAL | 1946.648

## IED PM1
RELEASES TO AIR
RETURN OF DISCONTINUOUS MONITORING RESULTS
Operator
Location: |  |  | Form: | IED PM1
Permit/Variation Number: | #N/A |  | Version: | V.11 Mar 2016
Year: | LCP
Six months to -
Measurement approach | NOx | SO2 | CO | Hg | Dust
Time
Date
Measurement 1 (mg/m3)(b)
Measurement 2 (mg/m3)(b)
Measurement 3 (mg/m3)(b)
Alternative approach(c)
Method(d)
Calculation (mg/m3)
Operational data(a)
Load (%MCR)
Fuel 1 name (%)
Fuel 2 name (%)
Fuel 3 name (%)
Daily Emission Limit Value
(mg/m3)
NOTES:
(a) Operational data for the test period (measurement approach) or the six month period to date (Alternative approach)
(b) Reference conditions for mg/m3 are 15% O2 CCGT, 6% O2 solid fuels, 3% O2 for oil and gas, dry, 0°C, 101.325 kPa
(c) Alternative approach to discontinuous monitoring by agreement with the Competent Authority
(d) Use abbreviation: NF for agreed NOx factor, FS for fuel sulphur content, CS for agreed CO factor, DF for agreed dust factor
Signed on behalf of the Operator by: |  |  | ……………..……………………………………..
Date of return: |  |  | ……………..……………………………………..

## IED BD1
RELEASES TO AIR
QUARTERLY RETURN
CUMULATIVE ROLLING MALFUNCTION AND BREAKDOWN HOURS (12 MONTH PERIOD)(a)
Operator: |  |  | Select Operator | Form: | IED BD1
Location: |  |  | Select Site Location | Version/date: | V.11 Mar 2016
Permit/Variation Number: |  | #N/A
Year: LCP: | SO2 |  | NOx |  | Dust |  | CO(c)
Month(b) | Malfunction (hours) | Breakdown (hours) | Malfunction (hours) | Breakdown (hours) | Malfunction (hours) | Breakdown (hours) | Malfunction (hours) | Breakdown (hours)
Month 1
Month 2
Month 3
Month 4
Month 5
Month 6
Month 7
Month 8
Month 9
Month 10
Month 11
Month 12
Annual cap (hours) | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
NOTES:
(a) Cumulative rolling malfunction and breakdown hours (12 month period) updated monthly
(b) Insert the relevant months for the preceding 12 month period, e.g., starting with March 2016
(c) Gas turbines with CO abatement only (columns may be deleted)
Signed on behalf of the Operator by: |  |  | ……………..………………………………………………..
Date of return: |  |  | ……………..………………………………………………..

## IED MF1
RELEASES TO AIR
RETURN OF DAILY MALFUNCTION AND BREAKDOWN DATA (a), (b), (c)
Operator: |  | Tata Steel
Location: |  | PT Works NP (ICL5) |  |  |  | Form: | IED MF1
Permit/Variation Number: |  | BL7108IM |  |  |  | Version: | V.11 Mar 2016
LCP:
Type: | Malfunction/Breakdown /Normal Operation
Date: |  | SO2 | Excluded? | NOx | Excluded? | Dust | Excluded? | CO (d) | Excluded?
Hour | Start time | mg/m3 | Y/N | mg/m3 | Y/N | mg/m3 | Y/N | mg/m3 | Y/N
1 | 0:00
2 | 1:00
3 | 2:00
4 | 3:00
5 | 4:00
6 | 5:00
7 | 6:00
8 | 7:00
9 | 8:00
10 | 9:00
11 | 10:00
12 | 11:00
13 | 12:00
14 | 13:00
15 | 14:00
16 | 15:00
17 | 16:00
18 | 17:00
19 | 18:00
20 | 19:00
21 | 20:00
22 | 21:00
23 | 22:00
24 | 23:00
| Daily | Average | No. Hours | Average | No. Hours | Average | No. Hours | Average | No. Hours
Without data exclusion (All of the above data)
With data exclusion (Reportable data only)
Notes: | (a) Produce a return for each day which has data exclusion due to Malfunction or Breakdown
(b) All data based on hourly average validated concentrations (confidence interval subtracted)
(c) Reference conditions: mg/m3 dry, 273.15K, 101.325 kPa; Solid fuels 6% O2; Liquid and Gaseous fuels 3% O2; Gas turbines 15% O2
(d) Gas turbines with abatement only (columns may be deleted)
Signed on behalf of the Operator by: |  |  | ……………..………………………………………………..
Date of return: |  |  | ……………..………………………………………………..

## IED AQRA
Air Quality Risk Assessment | Form: IED AQRA (V.11 Mar 2016)
Operator:
Contact:
Location:
Permit number: | #N/A
Pollutant(s) (SO2, NOx, Dust):
Sulphur Dioxide (SO2) | SO2
First excluded hour (DD-MM-YYYY HH:MM):
Last excluded hour (DD-MM-YYYY HH:MM):
Notification period commenced (DD-MM-YYYY 00:00):
Number of excluded hours
Maximum hourly average valid concentration (mg/m3):
Maximum daily average valid concentration (mg/m3):
Daily Emission Limit Value (mg/m3):
Number of running units:
Local Air Quality Assessment: Note any relevant observations from local air quality monitoring stations and comment on weather conditions, including prevailing wind speed (maximum and average) and direction.
Dispersion Assessment: Comment on the magnitude of the maximum hourly average concentration in relation to previous dispersion modelling studies.
Further dispersion modelling required (Y/N)?
Nitrogen Oxides (NOx as NO2) | NO2
First excluded hour (DD-MM-YYYY HH:MM):
Last excluded hour (DD-MM-YYYY HH:MM):
Notification period commenced (DD-MM-YYYY 00:00):
Number of excluded hours
Maximum hourly average valid concentration (mg/m3):
Maximum daily average valid concentration (mg/m3):
Daily Emission Limit Value (mg/m3):
Number of running units:
Local Air Quality Assessment: Note any relevant observations from local air quality monitoring stations and comment on weather conditions, including prevailing wind speed (maximum and average) and direction.
Dispersion Assessment: Comment on the magnitude of the maximum hourly average concentration in relation to previous dispersion modelling studies.
Further dispersion modelling required (Y/N)?
DUST (as PM10) | PM10
First excluded hour (DD-MM-YYYY HH:MM):
Last excluded hour (DD-MM-YYYY HH:MM):
Notification period commenced (DD-MM-YYYY 00:00):
Number of excluded hours
Maximum hourly average valid concentration (mg/m3):
Maximum daily average valid concentration (mg/m3):
Daily Emission Limit Value (mg/m3):
Number of running units:
Local Air Quality Assessment: Note any relevant observations from local air quality monitoring stations and comment on weather conditions, including prevailing wind speed (maximum and average) and direction.
Dispersion Assessment: Comment on the magnitude of the maximum hourly average concentration in relation to previous dispersion modelling studies.
Further dispersion modelling required (Y/N)?
Notes:
Reference condition: mg/m3 at 6% O2, dry, 0°C, 101.325 kPa.
Valid Concentration Averages incorporate previously excluded data.
Air quality objectives are set for SO2 (15min, Hourly, Daily averages); NO2 (Hourly) and PM10 (Daily).