Permit Number: 
EA/EPR/BK3638IF/V002



Operator: 

Hydro Aluminium Deeside

Facility:

Wrexham Aluminium Processing

Form Number: 
 Air1a 
Reporting of emissions to air for the quarter from 01/01/15 to 31/03/15
	Emission

Point
	Substance /

Parameter
	Emission Limit Value
	Month 1

Maximum Daily average value
	Month 2

Maximum Daily average value
	Month 3

Maximum Daily average value

	A1
	Particulate Matter
	10 mg/m3 

(daily average) 
	1.85
	1.52
	1.61

	A12
	Particulate Matter 
	10 mg/m3 

(daily average)
	0.14
	0.12
	0.12

	A13
	Particulate Matter
	10 mg/m3 

(daily average)
	0.52
	0.35
	0.53


	Emission

Point
	Substance /

Parameter
	Emission Limit Value
	Month 1

Average of daily average values
	Month 2

Average of daily average values
	Month 3

Average of daily average values

	A1
	Particulate Matter
	5 mg/m3

(monthly average)
	0.79
	0.84
	1.01

	A12
	Particulate Matter 
	5 mg/m3

(monthly average)
	0.11
	0.11
	0.12

	A13
	Particulate Matter
	-
	0.26
	0.25
	0.28


Signed ………Joel Priest………………………………………….  

Date……29/04/15……

(Authorised to sign as representative of Operator)

Results have been corrected as per condition 3.1.4

