	[image: image1.png]Powys




	Environmental management system
Security Management
	EMS.S4.10

	
	
	Version: 
	1 

	
	
	Effective:      
	December 2020

	Authored by: WRAP Cymru WRAWRWWWWRAPWRAPfsdfdsfsdffsdfasdfdsfSLRSLREunomaiEunomiaEunomia
	Reviewed by: DYP
	Approved by: 

	Date: December 2020 XX2019201920192019FFenssdfdfsdfsdfgdfgdfMarFebruary 20182018
	 
	 
	



1.0 PRINCIPLE

This section outlines the general procedures for security management at North Powys Bulking Facility. The purpose of this procedure is to ensure that any site operative working on site is aware of the procedures to ensure the security of the site is maintained. 

2.0 SCOPE

This procedure covers the security measures in place at the facility. 

3.0 RESPONSIBILITY

All site operatives are responsible for carrying out the procedure as detailed in Section 4 below. Any changes required are the responsibility of the Site Manager or designated person to update and re-issue the amended procedure. 

4.0 PROCEDURE

4.1 
Security Management 
The following security measures are in place:
· Site perimeter: the site benefits from fences, walls and extensive grounds;
· Security gates: the site benefits from lockable security gates at the main entrance and exit;
· Building doors: the doors to site buildings including the waste operations buildings, will be locked at all times when the facility is unattended;

· The building is equipped with intruder alarm system

· CCTV: the site will benefit from live 24 hr CCTV;

· Inspection: gates and fencing extending around the operational site areas will be inspected regularly by the operations staff to identify deterioration and damage, and the need for any repairs; 

· Maintenance and repair: fencing and gates will be maintained and repaired to ensure their continued integrity.  In the event that damage is sustained repairs will be made by the end of the working day. If this is not possible, suitable measures will be taken to prevent any unauthorised access to the site and permanent repairs will be affected as soon as practicable; 

· Authorised access system: all formal visitors to the site will be required to register in a visitor’s book and sign out again (in the same book) on exit to minimise the risk of unauthorised visitors being present on site. There will be a visitor’s book on site located in the main office building/reception; and

· Monitoring techniques: operational procedures, including regular inspections will ensure continual monitoring of security provision at the site, which is included in EMS.S4.11 Yard Checks located in Section 4 of the EMS. 

In the event of a breach of security at the site, the cause will be investigated and appropriate mitigation measures implemented. Records to be maintained include inspections and maintenance of security fencing and gates, breaches of security, investigations and actions taken.

5.0 Health and safety

All site operatives will work with due regard to all Health and Safety Regulations currently in existence relevant to operations on site. All site operatives have a duty of care to report anyone who does not comply with the relevant Health and Safety Regulations to the Site Manager.

END OF DOCUMENT


1                                                                                      



[image: image1.png]