Permit Number: 
EA/EPR/BK3638IF/V002

Operator: 
Hydro Aluminium Limited

Facility:
Wrexham Aluminium Works
Form Number: 
Water1
Reporting of emissions to water (other than to sewer) and land for the period from 01/04/2016 to 30/06/2016
	Emission Point
	Substance / Parameter
	Emission Limit Value
	Reference Period
	Result 
	Test Method 
	Sample Date and Times 
	Uncertainty

	W1
	BOD
	10 mg/l
	Single sample
	-
	-
	-
	-

	W1
	Suspended Solids
	35 mg/l
	Single sample
	-
	-
	-
	-

	W1
	pH
	6 – 9
	Single sample
	-
	-
	-
	-

	W1
	COD
	125 mg/l
	Single sample
	-
	-
	-
	-

	W1
	Ammoniacal Nitrogen
	5 mg /l
	Single sample
	-
	-
	-
	-

	W1
	Aluminium
	0.5 mg/l
	Single sample
	-
	-
	-
	-

	W1
	Total Hydrocarbon Oil
	2 mg/l
	Single sample
	-
	-
	-
	-

	W1
	Temperature
	25 oC
	Single sample
	-
	-
	-
	-

	W1
	Flow
	N/A
	-
	-
	-
	-
	-


Note: “Nil Return” submitted following on-site discussion with the Environment Agency on 14th June 2012. There were no discharges to W1 that required a sample to be taken in April – June 2016.
Signed ……Joel Priest……………………………………………………….  

Date ……………27/07/2016………..

(Authorised to sign as representative of Operator)

Results have been corrected as per condition 3.1.4.
