[image: image1.png]Table 3.8B: Emission limits into water

Parameter Release point number
W2 | Monitoring | W3 | Monitoring | W4 | Monitoring | W5 Monitoring
frequency frequency frequency frequency
Suspended - - 200 24 hour - - 20 mg/1* Background daily
solids mg/l average Discharge
from
monthly
beginning
of

discharge





   STYLEREF  Heading  \* MERGEFORMAT 
Page 2
[image: image2.jpg]W

TATA STEEL TATA

o





	Title:
	MACROBUTTON NoMacro [title]

	Author:
	MACROBUTTON NoMacro [author]


W5 Cooling Water Discharge Sampling 

Current permit conditions state that the hot water discharge into the dock from the cooling systems can be no more than 20mg/l of suspended solids and that the monitoring frequency of the background levels should be daily and monthly for the discharge, see below:


[image: image3.jpg]Tata Steel




*Shall not exceed the background concentration by the figure indicated.

It has been highlighted that this sampling regime does not provide a systematic representation of the emission limit value by sampling the background on a much higher scale than the emission.

Tata Steel Strip Products has held discussions between the energy department and the environmental department to determine a more representative sampling method. The proposed method is to take one sample of the background and the discharge at the same time every week. This will allow for a more comparative sampling regime as well as providing a more closely monitored emission point. There are no proposals to change the emission limit value.


_1515565757

