Permit Number: 
EPR/DP3137EG




Operator: 
Margam Green Energy Limited
Facility:

Margam Green Energy Plant


Form Number: Air 2 
Date : 20/11/2014
Reporting of periodic monitoring [1] of emissions to air for the period from
 
 DD/MM/YYYY to DD/MM/YYYY 
	Emission

Point
	Substance /

Parameter
	Emission Limit Value
	Reference Period
	Result [2]
	Test

Method [3]
	Result

Date & Time [4]

	Uncertainty

[5]

	A1
	Cadmium & thallium and their compounds (total)
	0.05 mg/m3 
	periodic over minimum 30 minute, maximum 8 hour period
	
	BS EN 14385
	
	

	
	Mercury and its compounds 
	0.05 mg/m3
	periodic over minimum 30 minute, maximum 8 hour period
	
	BS EN 13211
	
	

	
	Sb, As, Pb, Cr, Co, Cu, Mn, Ni and V and their compounds (total) 
	0.5 mg/m3
	periodic over minimum 30 minute, maximum 8 hour period
	
	BS EN 14385
	
	

	
	Dioxins / furans (I-TEQ)
	0.1 ng/m3
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS EN 1948 Parts 1, 2 and 3
	
	

	
	Dioxins / furans (WHO-TEQ Humans / Mammals) 
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS EN 1948 Parts 1, 2 and 3
	
	

	
	Dioxins / furans (WHO-TEQ Fish) 
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS EN 1948 Parts 1, 2 and 3
	
	

	
	Dioxins / furans (WHO-TEQ Birds) 
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS EN 1948 Parts 1, 2 and 3
	
	


	Emission

Point
	Substance /

Parameter
	Emission Limit Value
	Reference Period
	Result [2]
	Test

Method [3]
	Result

Date & Time [4]

	Uncertainty

[5]

	A1
	Dioxin-like PCBs (WHO-TEQ Humans / Mammals)
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS EN 1948-4
	
	

	
	Dioxin-like PCBs (WHO-TEQ  Fish)
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS EN 1948-4
	
	

	
	Dioxin-like PCBs (WHO-TEQ  Birds)
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS EN 1948-4
	
	

	
	Specific individual poly-cyclic aromatic hydrocarbons (PAHs) Total
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2.
	
	

	
	Anthanthrene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Benzo{a}anthracene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Benzo[b]fluoranthene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Benzo[k]fluoranthene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Benzo[b]naph(2,1-d}thiophene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	


	Emission

Point
	Substance /

Parameter
	Emission Limit Value
	Reference Period
	Result [2]
	Test

Method [3]
	Result

Date & Time [4]

	Uncertainty

[5]

	A1
	Benzo[c]phenanthrene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Benzo[ghi]perylene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Benzo[a]pyrene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Cholanthrene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Chrysene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Cyclopenta(c,d)pyrene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Dibenzo[ah]anthracene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Dibenzo[a,i]pyrene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Fluoranthene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	


	Emission

Point
	Substance /

Parameter
	Emission Limit Value
	Reference Period
	Result [2]
	Test

Method [3]
	Result

Date & Time [4]

	Uncertainty

[5]

	A1
	Indo[1,2,3-cd]pyrene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	

	
	Naphthalene
	No Limit Set
	periodic over minimum 6 hours, maximum 8 hour period
	
	BS ISO 11338 Parts 1 and 2
	
	


1. Monitoring frequency is quarterly in the first permitted year and twice a year thereafter.

2. For dioxins and dioxin-like PCBs, the results are to be reported as a range based on: All congeners less than the detection limit assumed to be zero as a minimum, and all congeners less than the detection limit assumed to be at the detection limit as a maximum.
3. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Environment Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.
4. The date and time of the sample that produced the result is given.
5. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
Signed …………………………………………………………….  




Date………………………..   


(Authorised to sign as representative of Margam Green Energy Limited)
