RELEASES INTO WATER. W1. 
Quarterly Release Summary for Period: 

Permit Number EPR/BL1096IB
Castle Cement Ltd, Padeswood Works

	Form M/W1 Releases to Water
	

	 Date
	Release point(s)
	pH Maximum
	pH Minimum
	Temperature
	Suspended Solids
	Visible Oils/Grease

	01/10/14-31/12/14
	W1
	8.1
	7.7
	5oC
	29.5mg/l (ave 11.2)
	None


Signed on behalf of the Operator  

Dated 




28/01/15
(Form M/W1 Releases to Water 06/09/13)

