RELEASES INTO WATER. W1. 
Quarterly Release Summary for Period: 1St October to 31st December 2014
Permit Number EPR/BL1096IB
Castle Cement Ltd, Padeswood Works

	Form M/W1 Releases to Water

	 Date
	Release point
	pH Maximum
	pH Minimum
	Temperature(oC)
	Suspended Solids (mg/l)

	01/07/14-30/09/14
	W1
	8.1
	7.7
	5oC
	11.2 (ave)


Victoria Smith

Dated 
28/01/15

Signed on behalf of the Operator  


(Form M/W1 Releases to Water 06/09/13)

