RELEASES INTO WATER. W1. 
Quarterly Release Summary for Period: 

Permit Number EPR/BL1096IB
Castle Cement Ltd, Padeswood Works

	Form M/W1 Releases to Water
	

	 Date
	Release point(s)
	pH Maximum
	pH Minimum
	Temperature
	Suspended Solids*
	Visible Oils/Grease

	01/10/15 – 31/12/15
	W1
	7.49
	8.2
	7.2
	4
	none


Signed on behalf of the Operator  

Dated 




19/01/16
(Form M/W1 Releases to Water 06/09/13)

