RELEASES INTO WATER. W1. 
Quarterly Release Summary for Period: 

Permit Number EPR/BL1096IB
Castle Cement Ltd, Padeswood Works

	Form M/W1 Releases to Water
	

	 Date
	Release point(s)
	pH Maximum
	pH Minimum
	Temperature (oC)
	Suspended Solids (mg/l)
	Visible Oils/Grease

	01/04/15 – 30/06/15
	W1
	7.6
	8.1
	9.6
	8
	none


Signed on behalf of the Operator  

Dated 




14/07/16
(Form M/W1 Releases to Water 06/09/13)

