RELEASES INTO WATER. W1. 
Quarterly Release Summary for Period: 

Permit Number EPR/BL1096IB
Castle Cement Ltd, Padeswood Works

	Form M/W1 Releases to Water
	

	 Date
	Release point(s)
	pH Maximum
	pH Minimum
	Temperature
	Suspended Solids*
	Visible Oils/Grease

	01/01/15 – 31/03/15
	W1
	7.9
	8.1
	4oC
	7mg/l
	None


*W1 was only opened for one 4 day period in Q1, suspended solids is there for a single result.
Signed on behalf of the Operator  
REDACTED
Dated 




17/04/15
(Form M/W1 Releases to Water 06/09/13)

