RELEASES INTO WATER. W1. 
Quarterly Release Summary for Period: 

Permit Number EPR/BL1096IB
Castle Cement Ltd, Padeswood Works

	Form M/W1 Releases to Water
	

	 Date
	Release point(s)
	pH Maximum
	pH Minimum
	Temperature
	Suspended Solids*
	Visible Oils/Grease

	01/07/15 – 30/09/15
	W1
	7.95
	8.1
	14
	<2
	none


*W1 was only opened for one 2 day period in Q3, suspended solids is therefore a single result.
Signed on behalf of the Operator  

Dated 




28/10/15
(Form M/W1 Releases to Water 06/09/13)

