The Eels (England and Wales) Regulations 2009

Regulation 17(5)(a)

EEL SCREEN EXEMPTION NOTICE

To: 	VALE EUROPE LIMITED
20-22 BEDFORD ROW 
LONDON 
WC1R 4JS

Company No. 00137114

Under Regulation 17(4) of the Eels (England and Wales) Regulations 2009, on or after 1 January 2015, a responsible person must ensure an eel screen is placed in a diversion structure that:

- is capable of abstracting at least 20 cubic metres of water through any one point in any 24 hour period; or

- returns water to a channel, bed or sea.

This notice exempts you, as the responsible person, from the requirement to place an eel screen at the Swansea Canal (SN 6955 0144) subject to the conditions set out in Schedule 1 to this notice. The reason for this exemption is:

The site is not compliant with best practice but there is evidence that current alternative eel protection measures are adequate to prevent damage, injury, harmful entrainment or the impediment of free passage to eel.

This exemption takes effect on 01/01/2015 and expires on 31/12/2023.

Date 23rd July 2015		Signed

David Mee

Team Leader, Conservation and Fisheries Technical Support

The Natural Resources Body for Wales

Maes Newydd

Llandarcy

Neath Port Talbot

The Eels (England and Wales) Regulations 2009

Regulation 17(5)(a)

SCHEDULE 1: CONDITIONS

- The company need to provide details of the abstraction point at the canal and detail compliance with the EELs Regulations 2009. - The intake structure shall be constructed so as to ensure that intake velocity does not exceed 0.15m/sec. - The abstraction shall be screened using intake screens with a maximum slot width of 3mm. Removal of bio fouling from the screen structure shall be avoided unless strictly necessary to maintain a suitable abstraction rate or screen integrity. - Wash down from the intake screen will be retuned into the canal.