## GW MONTHLY S4.5 CWMGW01B
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
CWMGW01 (SHALLOW) | Water Level | m | Spot sample | 70.05 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.2 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 246 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 4.2 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0,27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 19.5 |  | 31/01/2013
CWMGW01 (SHALLOW) | Water Level | m | Spot sample | 62.17 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.3 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 258 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 4.3 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 21.6 |  | 27/02/2013
CWMGW01 (SHALLOW) | Water Level | m | Spot sample | 61.35 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.3 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 253 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 2.9 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 20.3 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed …Antonio Montinaro……………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 CWMGW03
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
CWMGW03 REPLACEMENT | Water Level | m | Spot sample | 35.27 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.1 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 469 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 1.4 |  | 31/01/2013
| Cadmium | 0.075 mg/l | Spot sample | 0.0009 |  | 31/01/2013
| Nickel | 2.6 mg/l | Spot sample | 0.007 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0,27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 19 |  | 31/01/2013
| Napthalene | 0.062 mg/l | Spot sample | <2.0 x 10-3 |  | 31/01/2013
| Pentachlorophenol | 1 mg/l | Spot sample | <1.0 x 10-3 |  | 31/01/2013
CWMGW03 REPLACEMENT | Water Level (mAOD) | m | Spot sample | 34.82 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.1 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 473 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 1.8 |  | 27/02/2013
| Cadmium | 0.075 mg/l | Spot sample | <0.0006 |  | 27/02/2013
| Nickel | 2.6 mg/l | Spot sample | <0.003 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0,27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 22.8 |  | 27/02/2013
| Napthalene | 0.062 mg/l | Spot sample | <2.0 x 10-3 |  | 27/02/2013
| Pentachlorophenol | 1 mg/l | Spot sample | <1.0 x 10-3 |  | 27/02/2013
CWMGW03 REPLACEMENT | Water Level (mAOD) |  | Spot sample | 34.77 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 461 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | <0.5 |  | 20/03/2013
| Cadmium | 0.075 mg/l | Spot sample | 0.01 |  | 20/03/2013
| Nickel | 2.6 mg/l | Spot sample | 0.188 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 15.4 |  | 20/03/2013
| Napthalene | 0.062 mg/l | Spot sample | <2.0 x 10-3 |  | 20/03/2013
| Pentachlorophenol | 1 mg/l | Spot sample | <1.0 x 10-3 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed ……Antonio Montinaro…………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 CWMGW04
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
CWMGW04 (REPLACEMENT) | Water Level | m | Spot sample | 38.19 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 336 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 1.3 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0,27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 27.3 |  | 31/01/2013
CWMGW04 (REPLACEMENT) | Water Level | m | Spot sample | 37.34 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 338 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 1 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 25.2 |  | 27/02/2013
CWMGW04 (REPLACEMENT) | Water Level | m | Spot sample | 37.49 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 294 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 1.5 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 14.5 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed ……Antonio Montinaro…………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 CWMGW06A
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
CWMGW06A (SHALLOW) | Water Level | m | Spot sample | 50.65 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.5 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 404 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 3.7 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 16 |  | 31/01/2013
CWMGW06A (SHALLOW) | Water Level | m | Spot sample | 50.11 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.6 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 409 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 6.4 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 15.6 |  | 27/02/2013
CWMGW06A (SHALLOW) | Water Level | m | Spot sample | 49.75 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.6 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 389 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 2.1 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 14.1 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed ……Antonio Montinaro…………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 CWMGW07A
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
CWMGW07A | Water Level | m | Spot sample | 41.68 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.9 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 545 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 1.5 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 19.7 |  | 31/01/2013
CWMGW07A | Water Level | m | Spot sample | 43.12 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.9 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 568 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 2.4 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 18.8 |  | 27/02/2013
CWMGW07A | Water Level | m | Spot sample | 41.68 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.8 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 548 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 1.4 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 16.5 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed …Antonio Montinaro……………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 CWMGW07B
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
CWMGW07B | Water Level | m | Spot sample | 41.85 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.6 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 222 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 3.5 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0,27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 10.3 |  | 31/01/2013
CWMGW07B | Water Level | m | Spot sample | 43.11 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 206 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 2.4 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 8.24 |  | 27/02/2013
CWMGW07B | Water Level | m | Spot sample | 41.76 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.9 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 202 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 3 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | 0.62 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 7.43 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed ……Antonio Montinaro…………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 CWMGW08
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
CWMGW08 | Water Level | m | Spot sample | 33.35 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.1 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 479 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 0.6 |  | 31/01/2013
| Cadmium | 0.075 mg/l | Spot sample | <0.0006 |  | 31/01/2013
| Nickel | 2.6 mg/l | Spot sample | <0.003 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | 1.6 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 13.4 |  | 31/01/2013
| Napthalene | 0.062 mg/l | Spot sample | <4.0 x 10-3 |  | 31/01/2013
| Pentachlorophenol | 1 mg/l | Spot sample | <2.0 x 10-3 |  | 31/01/2013
CWMGW08 | Water Level (mAOD) | m | Spot sample | 34.41 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 440 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 0.6 |  | 27/02/2013
| Cadmium | 0.075 mg/l | Spot sample | <0.0006 |  | 27/02/2013
| Nickel | 2.6 mg/l | Spot sample | <0.003 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0,27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 14.2 |  | 27/02/2013
| Napthalene | 0.062 mg/l | Spot sample | <2.0 x 10-3 |  | 27/02/2013
| Pentachlorophenol | 1 mg/l | Spot sample | <1.0 x 10-3 |  | 27/02/2013
CWMGW08 | Water Level (mAOD) | m | Spot sample | 33.46 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 448 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 0.5 |  | 20/03/2013
| Cadmium | 0.075 mg/l | Spot sample | <0.0006 |  | 20/03/2013
| Nickel | 2.6 mg/l | Spot sample | 0.0093 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 14 |  | 20/03/2013
| Napthalene | 0.062 mg/l | Spot sample | <2.0 x 10-3 |  | 20/03/2013
| Pentachlorophenol | 1 mg/l | Spot sample | <1.0 x 10-3 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed ……Antonio Montinaro…………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 CWMGW09
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
CWMGW09 | Water Level | m | Spot sample | 36.18 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 513 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 4.6 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0,27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 23.5 |  | 31/01/2013
CWMGW09 | Water Level | m | Spot sample | 36.57 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.8 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 565 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 4.4 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 24.1 |  | 27/02/2013
CWMGW09 | Water Level | m | Spot sample | 37.07 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 534 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 3.4 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 15.4 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed ……Antonio Montinaro…………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 LFG2
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
LFG2 | Water Level | m | Spot sample | 48.65 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.4 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 413 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 9.2 |  | 31/01/2013
| Cadmium | 0.075 mg/l | Spot sample | <0.0006 |  | 31/01/2013
| Nickel | 2.6 mg/l | Spot sample | 0.014 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 12 |  | 31/01/2013
| Napthalene | 0.062 mg/l | Spot sample | <2.0 x 10-3 |  | 31/01/2013
| Pentachlorophenol | 1 mg/l | Spot sample | <1.0 x 10-3 |  | 31/01/2013
LFG2 | Water Level (mAOD) | m | Spot sample | 49.37 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.4 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 448 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 3 |  | 27/02/2013
| Cadmium | 0.075 mg/l | Spot sample | 0.001 |  | 27/02/2013
| Nickel | 2.6 mg/l | Spot sample | 0.026 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 18.6 |  | 27/02/2013
| Napthalene | 0.062 mg/l | Spot sample | <2.0 x 10-3 |  | 27/02/2013
| Pentachlorophenol | 1 mg/l | Spot sample | <1.0 x 10-3 |  | 27/02/2013
LFG2 | Water Level (mAOD) | m | Spot sample | 48.81 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 7.3 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 399 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 6.8 |  | 20/03/2013
| Cadmium | 0.075 mg/l | Spot sample | 0.0031 |  | 20/03/2013
| Nickel | 2.6 mg/l | Spot sample | 0.0464 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 9.14 |  | 20/03/2013
| Napthalene | 0.062 mg/l | Spot sample | <2.0 x 10-3 |  | 20/03/2013
| Pentachlorophenol | 1 mg/l | Spot sample | <1.0 x 10-3 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed ……Antonio Montinaro…………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 LFG6
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
LFG6 | Water Level | m | Spot sample | 53.56 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.7 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 193 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | <0.5 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 20.2 |  | 31/01/2013
m
LFG6 | Water Level | m | Spot sample | 54.66 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.8 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 200 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 0.6 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 18.1 |  | 27/02/2013
LFG6 | Water Level | m | Spot sample | 53.36 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.4 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 211 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | <0.5 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 17.4 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed ……Antonio Montinaro…………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 LFG9
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
LFG9 | Water Level | m | Spot sample | 36.58 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.6 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 285 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 3.4 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0,27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 11.4 |  | 31/01/2013
LFG9 | Water Level | m | Spot sample | 37.68 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.7 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 4.9 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 1.8 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 18.9 |  | 27/02/2013
LFG9 | Water Level | m | Spot sample | 36.67 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.5 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 355 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 2.1 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 16.4 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed ……Antonio Montinaro…………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## GW MONTHLY S4.5 LFG12BG
Permit Number: | TP3835LV |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
LFG12BG | Water Level | m | Spot sample | 38.03 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 31/01/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.6 |  | 31/01/2013
| Electrical Conductivity | not set | Spot sample | 311 |  | 31/01/2013
| Dissolved Oxygen | not set | Spot sample | 3.8 |  | 31/01/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 31/01/2013
| Chloride | 11900 mg/l | Spot sample | 43.9 |  | 31/01/2013
LFG12BG | Water Level | m | Spot sample | 38.97 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 27/02/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.6 |  | 27/02/2013
| Electrical Conductivity | not set | Spot sample | 313 |  | 27/02/2013
| Dissolved Oxygen | not set | Spot sample | 4.6 |  | 27/02/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 27/02/2013
| Chloride | 11900 mg/l | Spot sample | 42.2 |  | 27/02/2013
LFG12BG | Water Level | m | Spot sample | 38.04 | Methods used shall be in accordance with Agency guidance document ‘Guidance on monitoring of landfill leachate, groundwater and surface water (LFTGN02) | 20/03/2013 | Accuracy of testing equipment
| pH | >6 , <9 | Spot sample | 6.5 |  | 20/03/2013
| Electrical Conductivity | not set | Spot sample | 355 |  | 20/03/2013
| Dissolved Oxygen | not set | Spot sample | 2.1 |  | 20/03/2013
| Ammoniacal Nitorgen | 393 mg/l | Spot sample | <0.27 |  | 20/03/2013
| Chloride | 11900 mg/l | Spot sample | 16.4 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed …Antonio Montinaro……………………………….. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)

## Ground W Quarterly S4.11
Permit Number: TP3835LV |  |  |  | Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry |  |  | Form Number: | Ground Water 1 - 15 October 2008
Reporting of emissions to water (other than to sewer) for the period from 01 Jan 2013 - 31 Mar 2013
Emission Point | Substance /Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4]
CWMGW01B (Shallow) | Cadmium | n/a | Spot sample | 0.0007 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 31.1 |  | 20/03/2013
| Chromium | n/a | Spot sample | <0.002 |  | 20/03/2013
| Copper | n/a | Spot sample | 0.0249 |  | 20/03/2013
| Iron | n/a | Spot sample | 0.963 |  | 20/03/2013
| Lead | n/a | Spot sample | <0.006 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 1.83 |  | 20/03/2013
| Manganese | n/a | Spot sample | 0.161 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | 0.0112 |  | 20/03/2013
| Potassium | n/a | Spot sample | 1.29 |  | 20/03/2013
| Sodium | n/a | Spot sample | 21 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.0865 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | na |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | 0.61 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 6.2 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 6.7 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
CWMGW03 (Replacement) | Cadmium | n/a | Spot sample | 0.001 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 51.5 |  | 20/03/2013
| Chromium | n/a | Spot sample | 0.0075 |  | 20/03/2013
| Copper | n/a | Spot sample | 0.0144 |  | 20/03/2013
| Iron | n/a | Spot sample | 32.8 |  | 20/03/2013
| Lead | n/a | Spot sample | 0.013 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 22.4 |  | 20/03/2013
| Manganese | n/a | Spot sample | 0.667 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | 0.0188 |  | 20/03/2013
| Potassium | n/a | Spot sample | 3.17 |  | 20/03/2013
| Sodium | n/a | Spot sample | 9.3 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.0393 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | 218 |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | <0.42 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 37.9 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 1.9 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
CWMGW04 (Replacement) | Cadmium | n/a | Spot sample | <0.0006 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 32.4 |  | 20/03/2013
| Chromium | n/a | Spot sample | 0.0036 |  | 20/03/2013
| Copper | n/a | Spot sample | <0.009 |  | 20/03/2013
| Iron | n/a | Spot sample | 1.8 |  | 20/03/2013
| Lead | n/a | Spot sample | <0.006 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 15.7 |  | 20/03/2013
| Manganese | n/a | Spot sample | 0.123 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | na |  | 20/03/2013
| Potassium | n/a | Spot sample | 2.29 |  | 20/03/2013
| Sodium | n/a | Spot sample | 7.37 |  | 20/03/2013
| Zinc | n/a | Spot sample | <0.018 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | na |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | <0.42 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 26.7 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 1.1 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
CWMGW06A (Shallow) | Cadmium | n/a | Spot sample | <0.0006 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 35.1 |  | 20/03/2013
| Chromium | n/a | Spot sample | <0.002 |  | 20/03/2013
| Copper | n/a | Spot sample | 0.0099 |  | 20/03/2013
| Iron | n/a | Spot sample | 0.967 |  | 20/03/2013
| Lead | n/a | Spot sample | <0.006 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 17 |  | 20/03/2013
| Manganese | n/a | Spot sample | 0.0199 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | na |  | 20/03/2013
| Potassium | n/a | Spot sample | 9.56 |  | 20/03/2013
| Sodium | n/a | Spot sample | 17.3 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.151 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | na |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | 0.65 |  | 20/03/2013
| Sulphate | n/a | Spot sample | <1.3 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | <0.7 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
CWMGW07A | Cadmium | n/a | Spot sample | <0.0006 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 99.2 |  | 20/03/2013
| Chromium | n/a | Spot sample | 0.0175 |  | 20/03/2013
| Copper | n/a | Spot sample | 0.01149 |  | 20/03/2013
| Iron | n/a | Spot sample | 9.2 |  | 20/03/2013
| Lead | n/a | Spot sample | 0.0251 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 31.9 |  | 20/03/2013
| Manganese | n/a | Spot sample | 0.446 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | na |  | 20/03/2013
| Potassium | n/a | Spot sample | 5.67 |  | 20/03/2013
| Sodium | n/a | Spot sample | 10.4 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.0394 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | na |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | <0.42 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 38.2 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 1.1 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
CWMGW07B | Cadmium | n/a | Spot sample | 0.0021 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 42 |  | 20/03/2013
| Chromium | n/a | Spot sample | 0.0066 |  | 20/03/2013
| Copper | n/a | Spot sample | 0.0163 |  | 20/03/2013
| Iron | n/a | Spot sample | 3.2 |  | 20/03/2013
| Lead | n/a | Spot sample | 0.067 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 6.13 |  | 20/03/2013
| Manganese | n/a | Spot sample | 0.125 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | na |  | 20/03/2013
| Potassium | n/a | Spot sample | 1.68 |  | 20/03/2013
| Sodium | n/a | Spot sample | 10 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.0585 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | na |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | <0.42 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 38.2 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 1.3 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
CWMGW08 | Cadmium | n/a | Spot sample | <0.0006 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 62.3 |  | 20/03/2013
| Chromium | n/a | Spot sample | <0.002 |  | 20/03/2013
| Copper | n/a | Spot sample | <0.009 |  | 20/03/2013
| Iron | n/a | Spot sample | 6.6 |  | 20/03/2013
| Lead | n/a | Spot sample | 0.0139 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 17.6 |  | 20/03/2013
| Manganese | n/a | Spot sample | 1.18 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | 0.0093 |  | 20/03/2013
| Potassium | n/a | Spot sample | 2.25 |  | 20/03/2013
| Sodium | n/a | Spot sample | 13.5 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.0387 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | 221 |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | <0.42 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 25.7 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 2.5 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
CWMGW09 | Cadmium | n/a | Spot sample | <0.006 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 63.1 |  | 20/03/2013
| Chromium | n/a | Spot sample | 0.0021 |  | 20/03/2013
| Copper | n/a | Spot sample | <0.009 |  | 20/03/2013
| Iron | n/a | Spot sample | 4.2 |  | 20/03/2013
| Lead | n/a | Spot sample | <0.006 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 30.5 |  | 20/03/2013
| Manganese | n/a | Spot sample | 0.075 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | na |  | 20/03/2013
| Potassium | n/a | Spot sample | 2.72 |  | 20/03/2013
| Sodium | n/a | Spot sample | 10.3 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.0103 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | na |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | <0.42 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 79 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 1.5 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
LFG2 | Cadmium | n/a | Spot sample | 0.0031 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 63.3 |  | 20/03/2013
| Chromium | n/a | Spot sample | 0.0224 |  | 20/03/2013
| Copper | n/a | Spot sample | 0.546 |  | 20/03/2013
| Iron | n/a | Spot sample | 52.1 |  | 20/03/2013
| Lead | n/a | Spot sample | 0.0439 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 8.39 |  | 20/03/2013
| Manganese | n/a | Spot sample | 3.38 |  | 20/03/2013
| Mercury | n/a | Spot sample | 0.0012 |  | 20/03/2013
| Nickel | n/a | Spot sample | 0.0464 |  | 20/03/2013
| Potassium | n/a | Spot sample | 6.59 |  | 20/03/2013
| Sodium | n/a | Spot sample | 4.54 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.362 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | 207 |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | 0.75 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 20.9 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 3.8 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
LFG6 | Cadmium | n/a | Spot sample | 0.0006 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 20.6 |  | 20/03/2013
| Chromium | n/a | Spot sample | 0.0059 |  | 20/03/2013
| Copper | n/a | Spot sample | <0.009 |  | 20/03/2013
| Iron | n/a | Spot sample | 72 |  | 20/03/2013
| Lead | n/a | Spot sample | 0.0107 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 7.39 |  | 20/03/2013
| Manganese | n/a | Spot sample | 0.775 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | na |  | 20/03/2013
| Potassium | n/a | Spot sample | 1.61 |  | 20/03/2013
| Sodium | n/a | Spot sample | 6.1 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.039 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | na |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | <0.42 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 13.5 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 6.6 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
LFG9 | Cadmium | n/a | Spot sample | <0.0006 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 38 |  | 20/03/2013
| Chromium | n/a | Spot sample | 0.0048 |  | 20/03/2013
| Copper | n/a | Spot sample | <0.009 |  | 20/03/2013
| Iron | n/a | Spot sample | 3.1 |  | 20/03/2013
| Lead | n/a | Spot sample | <0.006 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 19.3 |  | 20/03/2013
| Manganese | n/a | Spot sample | 0.308 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | na |  | 20/03/2013
| Potassium | n/a | Spot sample | 1.96 |  | 20/03/2013
| Sodium | n/a | Spot sample | 9.12 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.0307 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | na |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | <0.42 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 64.1 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 2.1 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
LFG12BG | Cadmium | n/a | Spot sample | <0.0006 |  | 20/03/2013 | Accuracy of testing equipment
| Calcium | n/a | Spot sample | 21.3 |  | 20/03/2013
| Chromium | n/a | Spot sample | 0.0124 |  | 20/03/2013
| Copper | n/a | Spot sample | 0.0139 |  | 20/03/2013
| Iron | n/a | Spot sample | 25 |  | 20/03/2013
| Lead | n/a | Spot sample | 0.0271 |  | 20/03/2013
| Magnesium | n/a | Spot sample | 6.74 |  | 20/03/2013
| Manganese | n/a | Spot sample | 1.03 |  | 20/03/2013
| Mercury | n/a | Spot sample | <0.0001 |  | 20/03/2013
| Nickel | n/a | Spot sample | na |  | 20/03/2013
| Potassium | n/a | Spot sample | 1.52 |  | 20/03/2013
| Sodium | n/a | Spot sample | 10.9 |  | 20/03/2013
| Zinc | n/a | Spot sample | 0.0422 |  | 20/03/2013
| Alkalinity as CaCO3 | n/a | Spot sample | na |  | 20/03/2013
| Total Oxidised Nitrogen | n/a | Spot sample | <0.42 |  | 20/03/2013
| Sulphate | n/a | Spot sample | 19.3 |  | 20/03/2013
| Total Organic Carbon | n/a | Spot sample | 1.3 |  | 20/03/2013
| Cyanide, Total as CN | n/a | Spot sample | <0.009 |  | 20/03/2013
| Phenols Mono (Phenol Index) | n/a | Spot sample | <0.15 |  | 20/03/2013
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
| Signed …Antonio Montinaro…………………. ………. |  |  | Date…08.04.2013……………………..
(Authorised to sign as representative of Operator)