## RTA1 LCP 51
Releases of LCPD Pollutants to Air from NERP Participating Plants
Operational Summary for the Reporting Year | 2015 | Select Reporting Year
Operator: | Valero Energy Limited |  |  | Select Operator
Site Location: | Pembroke Plant (A7/A8/A9/A10) |  |  | Select Site Location
Original Permit Number: | YP3930EX | LCP Reference: | 51
LCP's are required to submit a Return within 28 days of the end of each quarter
Air Emissions: | SO2 | NOx (tonnes) | Dust (tonnes)
(tonnes)
January | 9.97 | 37.91 | 1
February | 50.28 | 58.58 | 0.94
March | 20.59 | 64.87 | 0.96
Total for Quarter 1 | 80.84 | 161.36 | 2.9
April | 54.14 | 65.95 | 0.95
May | 55.07 | 64.64 | 0.93
June | 17.6 | 57.61 | 0.82
Total for Quarter 2 | 126.81 | 188.2 | 2.7
July | 43.89 | 62.2 | 0.66
August | 47.66 | 56.57 | 0.58
September | 62.46 | 59.28 | 0.64
Total for Quarter 3 | 154.01 | 178.05 | 1.88
October | 31.09 | 63.04 | 0.7
November | 30.62 | 56.75 | 0.75
December | 53.09 | 53.49 | 0.77
Total for Quarter 4 | 114.8 | 173.28 | 2.22
Overall Annual Total | 476.46 | 700.89 | 9.7
I confirm that this data is not knowingly reported with any omissions, errors or misrepresentation. All measurement equipment used to generate the data has been appropriately calibrated and maintained regularly; this includes calibration against traceable international measurement standards where available. The data is supported by appropriate record keeping. IT is designed, documented, tested, implemented, controlled and maintained to ensure reliable, accurate and timely processing of data; data handling and calculations have been appropriate; data has been checked for false and unusual measurements. The annual report of emissions for the above participating large combustion plant has been verified in accordance with the requirements of the Large Combustion Plants (National Emission Reduction Plan) Regulations 2007.
Name of the operator staff responsible for the quality of data supplied to the Register in accordance with the principles above. | D.J.McDermott |  | Date: | 2016-01-28
Verified / Non-Verified; Name of Regulatory staff member. | DMP Broom |  | Date: | 2016-02-25