Tomlinson’s Dairies Ltd                                                                   

Dealing with Fire & Firewater ENV 003
Scope: Fire at the dairy may result in excessive firewater entering the surf ace water system. Whilst the first actions are to protect life and property in the event of a fire Tomlinson’s Dairies Ltd also recognizes that prevention of pollution to the environmental is important. This procedure details the preventative measures employed to minimize the impact of such an event.

Responsibility: Site owner
Background: The processing site at 5 Crosses Industrial Estate is mainly enclosed within the buildings with most water going to the foul sewer, however some firewater may enter the surface water system to the rear of the dairy by dispatch.
In the event of a fire the separate fire evacuation procedure is to be followed.

Smoking is not permitted anywhere on site. Signs prohibiting smoking are displayed throughout the sites.

Where possible, all permitted sources if ignition (e.g. vehicle exhaust) and boiler processes will take place in a designated external area that is located more than 10m away from explosive, flammable or combustible materials, to which a water supply and appropriate fire extinguishers will be available and easily accessible.

Preventative checks are conducted at regular intervals to ensure that interceptors and tanks are dipped and emptied away if required on a regular basis to provide fire water capacity.
The site has a no smoking policy. 

The site is maintained as tidy as possible and there is a minimal stockpile of combustible materials. 

Fire training and emergency drills are conducted at regular intervals

The site will draw up a fire management site plan, identifying all hazardous substances or areas and dangerous machinery or structures within the site, for provision to emergency services on their arrival, which will be reviewed annually by the onsite fire marshal.

Fire management equipment will be present on site, which will be maintained in a state of readiness.

Fire management equipment will include a range of appropriate fire extinguishers in a state of readiness easily accessible all around the site. They will be maintained, inspected and replaced in accordance with the regulatory requirements.

Site staff will receive training in the use of fire management equipment.

Site fire wardens will be appointed and be appropriately trained.

Practice fire evacuations (to include staff and suppliers in site) will be carried out and documented, led by site fire wardens.
Site entrances and exits - kept clear for access to the emergency services 

· The site plan will identify the location of manhole covers and drains

