Permit  Number : BT4885IT











Operator : UPM-Kymmene UK Ltd

Facility : Shotton Paper Mill











Form Number : Performance 1             

                                                Reporting of WID Performance Indicators for the year 2014 
	Quarterly Performance  Parameters (WID Plant)
	
	
	
	

	
	
	Units
	
	Qtr 1
	Qtr 2
	Qtr 3
	Qtr 4

	Mass of bottom/fly ash produced
	
	Kg/tonne of waste incinerated (dry basis)
	
	38.16
	31.30
	36.75
	26.31

	Mass of combustor ash residues produced
	
	Kg/tonne of waste incinerated (dry basis)
	
	390.87
	260.8
	328.13
	354.72

	Water consumption
	
	M3/tonne of waste incinerated (dry basis)
	
	38.70
	28.05
	32.46
	35.24

	Ammonia / Urea consumption


	
	Kg/tonne of waste incinerated
	
	2.46
	1.66
	2.11
	2.29

	Electricity consumption 
	
	MWhr/tonne of waste incinerated (dry basis)
	
	.15
	.12
	.13
	.16

	Natural gas consumption
	
	MWhr/tonne of waste incinerated (dry basis)
	
	.13
	.05
	.05
	.11

	Periods of WID Abnormal Operation
	
	Number of Occasions
	
	0
	2
	3
	3

	
	
	Cumulative Hours for Current Calendar Year
	
	0
	6.5
	3.5
	4


	Annual Production/Treatment

	RCF (De-inking sludge) waste incinerated
	81592 Tonnes  

	Biomass incinerated
	43325 Tonnes

	Waste wood incinerated
	58734 Tonnes 

	Waste not otherwise specified incinerated
	20819 Tonnes

	Thermal energy produced e.g. steam  
	LCP Plant
	75108 MWhrs

	
	WID Plant
	343627 MWhrs  

	Power Generated 
	133110 MWHrs


	Operator’s comments : Waste defined as ALL fuel streams excluding clean Biomass


