| Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-017959 |
| Permit Reference Number: | EPR-GP3792SK |
| Permit Holder: | ByProduct Recovery Limited |
| Site Address: | Bryn Carrog Farm, Bodelwyddan Road, Rhuddlan, Rhyl, LL18 5UH |
| Grid Reference: | Farm location: SJ 01152 76805 Fields: 9482 - SH9995376835 1489 - SJ0013076917 3483 - SJ0033976831 4169 - SJ0041176687 5392 - SJ0053476974 2908 - SJ0029377089 4826 - SJ0041077210 6909 - SJ0073977127 9973 - SJ0073977127- NGR incorrect- See RFI- SH9972376654 7740 - SJ0077168381- NGR incorrect- See RFI- SJ0071577392 7730 - SJ0077159291- NGR incorrect- See RFI- SJ0059577308 Storage: - SJ0037677320 Field heap - SJ0025877223 Field heap - SJ0002977009 Field heap - SJ0003576868 Field heap - SH9984876724 Field heap - SH9968676554 Field heap- needs to be moved- See RFI- Field heap removed - SJ0029076860 Field heap - SJ0037876749 Field heap - SJ0087977115 Field heap- needs to be moved- See RFI- SJ0075677238 - SJ0119276849 Lagoon |

| Administrative Checks- by permit support officer |  |
| --- | --- |
|  | Comments |
| Consultation | Waste reg team: IndustryRegulation&Waste.NW@cyfoethnaturiolcymru.gov.uk WasteReg.NE@cyfoethnaturiolcymru.gov.uk Environment team: DenbighshireEnvironmentTeam@cyfoethnaturiolcymru.gov.uk ConwyEnvironmentTeam@cyfoethnaturiolcymru.gov.uk NLO: Ewan.Marshall-Harries@environment-agency.gov.uk |
| Date due: | 24/05/2021 |
| Are fields on Anglesey? If yes, then send application. | No N/A |
| Permit compliance rating and multiplier | Rating B- 100% |

| Administrative Checks- by determining permitting officer |  |  |
| --- | --- | --- |
| Item | Action completed, or document provided? (Yes, No or n/a) | Comments |
| Is the base permit still live? Has there been any variations we need to be aware of? | Y | EA public register |
| Correct application form | Y |  |
| Correct fee | Y | See permit compliance multiplier above and Charging Scheme page 52 |
| Fee on MyNRW | Y | Transaction number: 2099846 Date: 14/04/2022 Ref: BS-14/04/22-2-BYPRODUCT RECOVERYPSCAPPBYPRO1107 Amount: 798.00 |
| Location map | Y | 2. BC Map. |
| Benefit statement | Y | 3. BC ABS 2022. |
| Waste Analysis | Y | 4.1 DCWW GLASCOED SLUDGE BRYN carrog stockpile 2021 3 4.2 Glascoed Analysis Sept 2021. 4.3 Bala sludge analysis 2021. 4.4 Aber Falls Analysis Jan 2022. 4.5 Cefni Analysis Sept 2021. 4.6 Cowlyd Analysis Sept 2021. 4.7 Llandegai Analysis Sept 2021. 4.8 Trecastell analysis 2021. 4.9 Heatrick gypsum analysis 13.01.2022. |
| Soil Analysis | Y | 6.2 Bryn Carrog Soils March 2022. 6.1 Bryn Carrog Soils 2 March 2022. |
| EIA Agri Regulations evidence | Y | 7. SNRA Bryn Carrog |
| Site Specific Risk Assessment | n/a | High risk location only |

| ## Application Form Word versions of online forms - NRW View (sharepoint.com) | Y N n/a | Comments |
| --- | --- | --- |
| - About the Permit |  |  |
| ## Has there been any pre-application discussions? | N |  |
| ## Has the permit number been provided? | Y |  |
| ## Has the permit holder name been provided? | Y |  |
| ## What permit is being deployed under? | SR2010 No4 |  |
| - Contact details |  |  |
| ## Has contact information been provided? | Y |  |
| ## Has the technically competent manager details been provided? | Y |  |
| ## Has the nominated competent person details been provided? | Y |  |
| - About the land you want to treat |  |  |
| ## Has the address and grid reference of the main farm address been given? | Y |  |
| ## Does the farm address match the grid reference? | Y |  |
| ## What type of land do they want to treat? | Agricultural land |  |
| If it is agricultural land; has the holding number been given? | Y | On LPD1- 56/255/0001 On MyMap: 56/255/0001 Ownership of S R BEECH AND SON LLP of BRYN CARROG FARM |
| ## Has all of parcels of land table been completed? | Y | See 1.1 LPD1 Appendix Field References. |
| ## Is the total area of land to be treated less than 50 ha, or 100 hectares for a single continuously managed area of land? | Y | 48.43 ha |
| Is the land to be treated within a 10 miles radius of the main address? | Y |  |
| ## Is this deployment one of a batch (multiple deployments) for the same area of land? | N |  |
| ## Is the permit holder the owner or occupier of the land you want to spread on/treat? | Y |  |
| ## Have details of the land owner or occupier been provided? | Y | Mr R Dodd- contact info provided Mr R Dodd is a listed LLP Designated member of S R BEECH AND SON LLP as per companies house- S. R. BEECH AND SONS LLP people - Find and update company information - GOV.UK (company-information.service.gov.uk) |
| ## Has written consent of all owners(s) or occupiers(s) been given? | Y | See Small2 |
| - Previous land treatment |  |  |
| Has all of the previous land treatment table been completed? | Y | PAN-014015 issued 11/06/21, expired 10/06/21 (not drawn on MyMap) See previous land treatment bryn carrog |
| - Which risk band does the activity fall within? - SR2010No4 List A wastes (Lower risk) - Location risk - Low risk deployment - Medium risk (1) deployment - Medium risk (2) deployment - High risk deployment |  |  |
| ## Which risk band does the activity fall within? | Medium (1) |  |
| Is the risk banding correct? | Y |  |
| ## If Medium risk (2) or High risk deployment has a SSRA been provided? | n/a |  |
| - Additional information on sensitive receptors |  |  |
| ## What type of risk assessment has been submitted? | benefit statement |  |
| Does the land onto which the specified waste is to be spread as part of this deployment fall within scope of the Environmental Impact Assessment (Agriculture) (Wales) Regulations 2017 as semi-natural (habitat)? | Y |  |
| If yes has the screening opinion provided by Welsh Government been provided? | n/a |  |
| If no have details of the assessment evidence to support this conclusion been provided? | Y | See 7. SNRA Bryn Carrog |
| - About the waste |  |  |
| Has all parts of the waste types table been completed? - List of waste code (6 digit) - Description of waste (this must be an accurate description specific to this waste that refers to the List of Waste written description) - Physical form of waste/Is it stackable of non-stackable - Is the waste high in readily available nitrogen? - Producer of waste & permit number (if applicable) - Total amount being spread/used (tonnes) | Y | Sludge Cake, Liquid Sludge and Solid, but does not describe them as stackable/non-stackable on LPD1 form, but this information is within Table 2 of the Ag Ben Statement. |
| Are the wastes listed in the deployment specifically listed in the permit? | Y |  |
| Can you verify the waste producer (source of waste) is correct in terms of production, coding and description? | Y | 7 wastes are DCWW 19 09 02 1 is from Aber Falls Distillery 1 is from “Heatrick Northern Ireland”- confirmed source via google |
| - About the storage |  |  |
| Has all of waste storage table been completed? | Y | Waste coded as 19 09 02 is in both the lagoon and field heaps. Table 2 of the Ag Ben Statement states what is stackable and what is not. Waste to be stored in field heaps: - DCWW Glascoed (In store on farm) - DCWW Glascoed - Heatrick Northern Ireland All other waste stored in lagoon. Verify this in RFI Resolved 14/06/22 |
| Is the storage given no more than 1250 tonnes shall be non-stackable waste, and no more than 3000 tonnes of all other wastes? | Y |  |
| 18. Supporting documents |  |  |
| Has checklist been completed? | Y |  |
| 20. Confidentiality and national security |  |  |
| Has confidentially been claimed? | N |  |
| Has national security been claimed? | N |  |
| 21. Declaration |  |  |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | Y | See BPR Approval to sign on behalf (2022) (1). |
| Has the operator confirmed they will comply with the conditions of the rule set? | Y |  |
| Has the operator confirmed they will comply with the NRW pre-notification requirements. | Y |  |
| Has a relevant person or approved person signed the declaration? | Y |  |

| Location | Y N n/a | Comments |
| --- | --- | --- |
| Has determining officer completed MyMap screening report? | Y |  |
| Do the grid references match the site plan? | N | NGR incorrect for 9973, 7740 and 7730- See RFI Resolved 14/06/22 |
| If there is storage; do the grid references match the site plan? | Y |  |
| If land was previously deployed on, and waste is stored in temporary field heaps; are the storage locations in the same or different locations? | Same | Field heaps F and I are in the same location as PAN-014015 these will need to be moved- See RFI Stockpile “I” has been moved 14/06/22. Stockpile “F” has not. Justification given- stockpile removed 27/06/22 |
| The map must include the following details in relation to both storage and spreading (TGN 8.01, box 3.1) |  |  |
| surface water courses (permit condition: no storage or spreading within 10 meters) (buffer zones needed) | Y | All buffered |
| groundwater source protection zones (permit condition: no storage or spreading in SPZ1) (high risk deployment if in SPZ2) | n/a | Not within 500 meters |
| any well, spring (or issue) or borehole used for the supply of water for human consumption including from a private water supply or supplies. (permit condition: no storage or spreading within 50 meters) | n/a | None within relevant distance |
| location of all storage sites for the waste to be spread | Y | Although F and I will need to be moved |
| any spring (or issue), well or borehole not used to supply water for domestic or food production purposes within 50m (shown on map) | n/a | None within relevant distance |
| any spring (or issue), well or borehole used to supply water for domestic or food production purposes within 250m (shown on map) | n/a | None within relevant distance |
| any European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m (shown on map) | n/a | None within 500 meters |
| location of any public rights of way (shown on map) | Y | Shown and buffered |
| any buildings or houses within 250m (shown on map) | Y |  |
| the location of any other designated environmentally sensitive sites within 500m. Including but not limited to: - Protected Species - Protected Habitats - Scheduled Ancient Monument - Local Nature Reserve - National Nature Reserve - Ancient Woodlands - Local Wildlife Sites (SINC) - National Park - Nitrate Vulnerable Zone (NVZ) - Groundwater Safeguard Zone - Hedges - Ditches |  | Ancient Woodlands- In gap between fields 1489, 2908, 3483. No spread zones on edges of fields 1489 and 2908- See comments Local Wildlife Sites (SINC)- approx. 165 m to the west of field 7740/6909- See comments |
| What is the slope of the fields? | 0-7 degrees (transparent)- all fields |  |

| Waste Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the waste analysis report less than 12 months old at time of application? | N | DCWW Glascoed (in store) is out of date- See RFI Outstanding as of 14/06/22 Provided 27/06/22 All others in date |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Nitrogen (N) | Y |  |
| - Phosphorus (P) | Y |  |
| - Potassium (K) | Y |  |
| - % dry matter | Y |  |
| Does the analysis include the following? If it is a required parameter for the waste (see section below) and has not been tested for; has adequate justification been provided? |  |  |
| - Zinc | Y |  |
| - Copper | Y |  |
| - Nickel | Y |  |
| - Lead | Y |  |
| - Cadmium | Y |  |
| - Mercury | Y |  |
| - Magnesium | Y |  |
| - Sodium | Y | Not completed or required for the 19 09 02 waste. Present for the 020702 and 191212 waste |
| - Sulphur | Y |  |
| Check Appendix A of TGN 8.01 for the wastes types applied for. |  |  |
| - Are there any special testing requirements? | Y | 190902- Iron and Aluminium 020702- none 191219- liming |
| - If yes; have they been tested for? | Y |  |
| If spreading waste soil, has the analysis been carried out at an MCERTS Lab? | n/a |  |
| If the spreading is in a groundwater safeguard zone (permit condition 2.1.8); are any wastes “high readily available nitrogen wastes”? i.e. organic wastes in which more than 30% of the total nitrogen content is available to the crop at the time of spreading. | n/a |  |
| - If yes, have they stated condition 2.1.8 of the permit will be complied with? | n/a |  |

| Soil Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the soil analysis report less than 4 years old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Potassium (K) | Y |  |
| - Phosphorus (P) | Y |  |
| - Magnesium (Mg) | Y |  |
| If the waste analysis shows high PTE’s; have these been tested for in the soil? | n/a |  |
| Have the soil indices for P, K and Mg on each field been given? | Y |  |
| Does analysis show that the soils are deficient in the nutrients or properties required by the proposed cropping? | Y | Some fields have indices of 2+ but there is a crop requirement and P and K nutrient additions are more than offtake. |

| Benefit Statement | Y N n/a | Comments |
| --- | --- | --- |
| Does the writer of the benefit statement have appropriate technical expertise? (TGN 8.01 6.1) | Y |  |
| Does the activity meet the definition of recovery? (TGN 8.01 6.2) |  |  |
| - Is there a clear benefit from the activity? | Y |  |
| - Is the material suitable for its intended use? | Y |  |
| - Is the minimum amount of waste being used to achieve the intended benefit? | Y |  |
| - Is the waste being used as a substitute for a non-waste material? | Y |  |
| - Will the proposal be completed to an appropriate standard? NOTE: For this activity, the standard is the deployment application that has been assessed and approved. Any deviation from this which has not been agreed is likely to be viewed as disposal. | Y |  |
| Benefit should be assessed against the following criteria. If the chosen benefit, has information been given on? (TGN 8.01 6.3) |  |  |
| - Plant nutrient requirements | Y |  |
| - Timing of application | Y |  |
| - Amount of waste to be applied and application rate | Y |  |
| - Soil chemical properties (e.g. liming and pH) | N | The Heatrick Northern Ireland waste has liming properties- these have not been addressed within the ABS.- see RFI Resolved 14/06/22 |
| - Soil physical properties (e.g. organic matter and soil structure) | Y |  |
| - Soil water content | n/a |  |
| - Levelling the land | n/a |  |
| If an operator wants to apply more nutrients than is recommended in RB209 have they? (TGN 8.01 6.3) |  |  |
| - Justified the nutrient level with appropriate technical expertise | n/a |  |
| - Included the nutrient level in their environmental risk assessment | n/a |  |
| - Stated the source of information that they used to set the nutrient level. | n/a |  |
| Have any potential negative impacts of the activity been addressed? (TGN 8.01 6.5) | Y | See section 6 of 3. BC ABS 2022 |
| Is the application rate appropriate (i.e. not be applied in excess of crop or soil need as this may not meet the principles of waste recovery) in terms of? (TGN 8.01 6.7) |  |  |
| - Waste type | Y |  |
| - Waste analysis | Y |  |
| - Crop nutrient requirements | Y |  |
| If multiple wastes are being mixed: (TGN 8.01 6.8) |  |  |
| - Does each waste confer benefit in its own right? | Y |  |
| - Is it only for operational purposes? | Y |  |
| - Have individual application rates for each waste been given? | Y |  |
| - If mixing ratios have not been given, is there a statement saying that the highest limiting parameter will be used as the maximum application rate allowed to be spread, i.e. the waste will be spread at the lowest application rate. | Y | See Table 5 of 3. BC ABS 2022 |
| Application of waste (TGN 8.01 6.10) |  |  |
| - Is method of application appropriate for the waste type and cropping? | Y |  |
| - Is the timing of application appropriate? | Y |  |
| - Have they stated when the waste will be spread? | Y |  |
| - Have they stated how often the waste will be spread? | Y |  |
| Have the total nutrients supplied by the waste been given? | Y |  |
| Does the total nutrients supplied match NRW calculations? | N | Table 11- DCWW Bryn Cowlyd- all additions are incorrect Resolved 14/06/22 Table 6 to 14 Magnesium additions for all wastes are incorrect Resolved 14/06/22 |
| Has total nutrients supplied been given in oxide format? | Y |  |
| Has the SNS for each field been provided? Or enough information provided to calculate the SNS? | Y |  |
| If the operator has stated (or intelligence from local teams have told us) that other sources of nutrients have been applied in the last 12 months; have they stated: |  |  |
| - What material was spread? | Y |  |
| - How much material was spread? | Y |  |
| - At what application rate material was spread? | Y |  |
| - The nutrients supplied by the material? | Y |  |

| Site specific risk assessment (TGN 8.01 2.2) | Y N n/a | Comments |
| --- | --- | --- |
| If the deployment is in a high-risk location as per LPD1 has a site-specific risk assessment been submitted? | n/a |  |
| If there are other designated environmentally sensitive sites within 500 meters has a site-specific risk assessment been submitted? | n/a |  |
| Does the site-specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards. Potential hazards include but are not limited to dust, odours, run-off, leachate etc. | n/a |  |
| - Pathways | n/a |  |
| - Receptors that can be affected by that source of pollution. Receptors include but are not limited to environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities etc. | n/a |  |
| - Measures that will minimise or mitigate the impact will be put in place | n/a |  |

| Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 500 meters of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | N |  |
| Has a likely significant effect been identified? - If yes, consult with the relevant NRM team. - If no, save the Appendix 4 to the DMS as information only | n/a |  |

| Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site within 500 meters of a Natura 2000 (SPA, pSPA, SAC or cSAC) or a Ramsar site? | N |

Comments

Consultation responses: - Query on storing waste in lagoon- see RFI. Resolved 14/06/22 - No other comments require action

MyMap, location and slope assessment: MyMap/location assessment: Ancient Woodlands- In gap between fields 1489, 2908, 3483. No spread zones on edges of fields 1489 and 2908- land is flat and targeted spreading methods should cause no harm to ancient woodland. Local Wildlife Sites (SINC)- approx. 165 m to the west of field 7740/6909 - land is flat and LWS is separated from spreading area by a field. Targeted spreading methods should cause no harm to the LWS. Slope assessment Slope of the land: all fields 0-7 degrees. No action required.

CPH details: On LPD1- 56/255/0001, Ownership Mr R Dodd On MyMap:56/255/0001, Ownership of S R BEECH AND SON LLP of BRYN CARROG FARM Mr R Dodd is a listed LLP Designated member of S R BEECH AND SON LLP as per companies house- S. R. BEECH AND SONS LLP people - Find and update company information - GOV.UK (company-information.service.gov.uk)

Protection of habitats and ecosystems Evidence provided and acceptable- See 7. SNRA Bryn Carrog

Agricultural benefit calculations: Waste pH Several wastes have pH less than 5, however the field pHs are high enough and have a buffering capacity- See section 6.2 of the ABS Liming The Heatrick Northern Ireland waste has liming properties- these have not been addressed within the ABS. The amount of liming applied via the waste is very small so will not cause harm, however this does need to be acknowledged within the ABS.- See RFI

Request for information: Sent 08/06/22 - NGR for 9973 is wrong - NGRs for 7740 and 7730 are wrong - clarity requested on what waste are being stored where - Field heaps F and I in the same place as last deployment- need to be moved - Asked for confirmation lagoon will be empty before use - DCWW Glascoed (in store) analysis is out of date - Liming properties of Heatrick Northern Ireland waste is missing from ABS - Table 4 of the ABS states that "Pot Ale waste will be spread on delivery" it is not clear what the "Pot Ale waste" is. - nutrient additions for DCWW Bryn Cowlyd are incorrect. - the Magnesium nutrient additions for all the waste are incorrect Response 14/06/22 - resolved - resolved - resolved - Not resolved. Requested to keep field heap in the same location and has provided justification for this. However we cannot accept this as The Water Resources (Control of Agricultural Pollution) (Wales) Regulations 2021 are clear and do not allow for - resolved - Outstanding - resolved - resolved - resolved - Magnesium additions have been updated. These match ours when accounting for rounding errors and 25% availability amounts 2nd RFI sent 21/06/22 to provide further information on point 4 2nd RFI response 27/06/22 4. stockpile F removed 6. new waste analysis provided, waste interpretation and ABS updated. Conductivity is higher in new sample, as is pH. Given spreading methodology there is low risk of harm from the higher conductivity.

Other information to note:

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | Yes |
| ## Issue date | 28/06/22 |
| ## Effective date | 28/06/22 |
| ## Permitting Officer Date | Louise Bailey 27/06/22 |
| ## Team leader or Transfer of Powers (ToP) approval Date | Huw Davies 27/06/2022 |

| Time recording |  |
| --- | --- |
| Admin/consultations | 60 |
| Determination | 485 |
| Sign off | 10 |
| Issuing | 10 |
| Total | 565 minutes |