Notice of variation with introductory note

Environmental Permitting (England & Wales) Regulations 2010

3C Waste Limited

Llanddulas Landfill Site

Abergele Road

Llanddulas

Conwy

North Wales

LL22 8HP

Variation application number

EPR/BU0800IZ/V011

Permit number

EPR/ BU0800IZ

Llanddulas Landfill Site

Permit number EPR/BU0800IZ

Introductory note

This introductory note does not form a part of the notice

The following notice gives notice of the variation of an environmental permit.

The changes brought in by this permit variation are to environmental monitoring frequencies only.

The schedules specify the changes made to the original permit.

### The status log of the permit sets out the permitting history, including any changes to the permit reference number.

| ### Status log of the permit |  |  |
| --- | --- | --- |
| ### Description | ### Date | ### Comments |
| ### Application BU2853IS | ### Received 27/02/2003 | Applicant agrees that separate applications should be conjoined – see letter dated 30 January 2004 Ref 4D-197-126 |
| ### Application BU0800IZ | ### Received 9 June 2003 |  |
| ### Permit BU0800IZ determined | ### 6 February 2004 |  |
| ### Variation Application EPR/BU0800IZ/V002 | ### Received 8 April 2004 |  |
| ### Variation determined EPR/BU0800IZ/V002 | ### 28 April 2004 |  |
| ### Variation Application EPR/BU0800IX/V003 | ### 10/10/07 |  |
| ### Variation Application EPR/BU0800IX/V004 | ### 30/05/08 |  |
| ### Variation determined EPR/BU0800IZ/V003 | ### 03/06/08 |  |
| ### Variation determined EPR/BU0800IZ/V005 | ### 25/07/08 |  |
| ### Variation Application EPR/BU0800IX/V006 | ### Received 24/12/08 |  |
| ### Variation Application EPR/BU0800IX/V006 | ### Withdrawn 05/06/09 |  |
| ### Variation Application EPR/BU0800IX/V007 | ### Received 21/01/09 |  |
| ### Variation Application EPR/BU0800IX/V008 | ### Received 02/09/09 |  |
| ### Variation Application EPR/BU0800IX/V007 | ### Withdrawn 12/02/10 |  |
| ### Variation Application EPR/BU0800IX/V008 | ### Refused 21/09/10 |  |
| ### Application EPR/BU0800IZ/V009 | Duly made ### 08/12/11 | ### Application to allow importation of leachate for treatment |
| ### Variation determined EPR/BU0800IZ/V009 | ### 07/02/12 | ### Varied permit issued. |
| ### Agency variation determined EPR/BU0800IZ/V010 | ### 12/06/13 | ### Agency variation to implement the changes introduced by IED |
| ### Variation application BU0800IZ/V011 duly made | ### 18/03/16 | ### Application to vary monitoring and reporting requirements |
| ### Variation application BU0800IZ/V011 determined | ### 10/06/16 | ### Variation Issued |

End of introductory note

Notice of variation

Environmental Permitting (England and Wales) Regulations 2010

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2010 varies

Permit number

EPR/BU0800IZ

issued to:

3C Waste Limited (“the operator”)

whose registered office is

Ground Floor West

900 Pavillion Drive

Northampton Business Park

Northampton

NN4 7RG

company registration number 02632581

to operate a regulated facility at

Llanddulas Landfill Site

Llanddulas Quarry

Abergele Road

Llanddulas

Abergele

LL22 8HP

to the extent set out in the schedules.

The notice shall take effect from 10/06/2016

| Signed | Date |
| --- | --- |
|  | 10 June 2016 |

Eirian Macdonald

Authorised on behalf of Natural Resources Wales

Schedule 1 – conditions to be deleted

None

Schedule 2 – conditions to be amended

The following conditions are amended as a result of the application made by the operator:

Permit condition 3.6.1 shall now read:

    - The operator shall, unless otherwise agreed in writing by the Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 4 to this permit:

      - Leachate specified in tables S4.1 and S4.8;

      - Point source emissions specified in tables S4.2 and S4.3;

      - Groundwater specified in tables S4.4 and S4.10;

      - Landfill gas specified in tables S4.5, S4.6, S4.7 and S4.11;

      - Surface water specified in table S4.9.

### Table S4.1 shall be amended to read:

| ### Table S4.1 Leachate level limits and monitoring requirements |  |  |  |
| --- | --- | --- | --- |
| ### Monitoring point reference/ Description | ### Limit | ### Monitoring frequency | ### Monitoring method |
| ### Phase 1A and Phase 1B - LCP1AR, LMP1, LMP2 Phase 1C – LCP1C, LMP3 ### Phase 2a - LCP2Ar2, LMP4 ### Phase 2b - LCP2Br2, ### Phase 2c - LCP2Cr, LMP5 ### Phase 3(1)+Extension – LCP3, LMP3/1 ### Phase3A – LCP3A, LMP3/2 | ### 2m above cell base | ### Monthly | ### In accordance with the Environment Agency’s “Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water” (LFTGN02) |

### Table S4.4 shall be amended to read:

| Table S4.4 Trigger levels for emissions into groundwater and monitoring requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Monitoring point reference | Parameter | Limit (including unit) | Reference Period | Monitoring frequency | Monitoring standard or method |
| GWBH4, GWBH7, GWBH23, GWBH25, GWBH34, GWBH35, GWBH36 as shown on the 2 drawings referenced ESID11 for Phases 1, 2, 3 and 3a parts of the Application | Ammoniacal Nitrogen | 1mg/l | Spot Sample | Quarterly | In accordance with the Agency’s “Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water” (LFTGN02) |
|  | Chloride | 250mg/l | Spot Sample | Quarterly |  |
|  | Mercury | 0.01g/l | Spot Sample | Quarterly |  |
|  | Mecoprop | 0.04 g/l | Spot Sample | Quarterly |  |
|  | Potassium | 12mg/l | Spot Sample | Quarterly |  |
|  | Phenols | 0.5/l | Spot Sample | Quarterly |  |
|  | Tributyl Tin | 0.001g/l | Spot Sample | Quarterly |  |
|  | Trifuralin | 0.01 g/l | Spot Sample | Quarterly |  |

### Table S4.5 shall be amended to read:

| Table S4.5 Landfill gas in external monitoring boreholes – limits and monitoring requirements |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Monitoring point ref/ description | ### Parameter | ### Limit (incl. unit) | ### Monitoring frequency | ### Monitoring standard or method |
| ### BH01 – 30, BH41 – 42 as shown on the drawings referenced ESID8 for Phases 1, 2, 3 and 3a parts of the Application | ### Methane | ### 1% v/v above agreed background levels | ### Fortnightly | ### Portable infra-red detector |
|  | ### Carbon dioxide | ### No limit |  |  |
|  | ### Oxygen | ### No limit |  |  |
|  | ### Atmospheric Pressure | ### No limit |  |  |
| ### BH40 | ### Methane | ### 2.5 % v/v above agreed background levels | ### Fortnightly | ### Portable infra-red detector |
|  | ### Carbon dioxide | ### No limit |  |  |
|  | ### Oxygen | ### No limit |  |  |
|  | ### Atmospheric Pressure | ### No limit |  |  |
| ### BH31 – 39, BH47 – 57, BH2003/1, Bh2003/2 and BH100-120 as shown on the drawings referenced ESID8 for Phases 1, 2, 3 and 3a parts of the Application | ### Methane | ### 1% v/v above agreed background levels | ### Monthly | ### Portable infra-red detector |
|  | ### Carbon dioxide | ### No limit |  |  |
|  | ### Oxygen | ### No limit |  |  |
|  | ### Atmospheric Pressure | ### No limit |  |  |

### Table S4.8 shall be amended to read:

| Table S4.8 Leachate– other monitoring requirements |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Emission point reference or source or description of point of measurement | ### Parameter | ### Monitoring frequency | ### Monitoring standard or method | ### Other specifications |
| ### Phase1A and Phase 1B - ### LCP1AR ### Phase 1C – LCP1C ### Phase 2a – LCP2Ar2 ### Phase 2b – LCP2Br2 ### Phase 2c – LCP2Cr ### Phase 3(1)+extension ### LCP3 ### Phase 3A – LCP3A | ### Temperature | ### Quarterly | ### In accordance with the Environment agency’s “Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water” (LFTGN02) |  |
|  | ### Electrical Conductivity | ### Quarterly |  |  |
|  | ### pH | ### Quarterly |  |  |
|  | ### Ammonical Nitrogen (NH4-N) | ### Quarterly |  |  |
|  | ### Chloride (Cl) | ### Quarterly |  |  |
|  | ### Total alkalinity (CaCO3)(tot alk) | ### Quarterly |  |  |
|  | ### Magnesium (Mg) | ### Quarterly |  |  |
|  | ### Potassium (k) | ### Quarterly |  |  |
|  | ### Total sulphates (SO4) | ### Quarterly |  |  |
|  | ### Calcium (Ca) | ### Quarterly |  |  |
|  | ### Sodium (Na) | ### Quarterly |  |  |
|  | ### BOD | ### Quarterly |  |  |
|  | ### COD | ### Quarterly |  |  |
|  | ### TOC | ### Quarterly |  |  |
|  | ### TON | ### Quarterly |  |  |
|  | ### Mecoprop | ### Quarterly |  |  |
|  | ### Mercury (Hg) | ### Quarterly |  |  |
|  | ### Lead (Pb) | ### Quarterly |  |  |
|  | ### Zinc (Zn) | ### Annually |  |  |
|  | ### Copper (Cu) | ### Annually |  |  |
|  | ### Cadmium (Cd) | ### Annually |  |  |
|  | ### Nickel (Ni) | ### Annually |  |  |
|  | ### Iron (Fe) | ### Annually |  |  |
|  | ### Chromium (Cr) | ### Annually |  |  |
|  | ### Manganese (Mn) | ### Annually |  |  |

### Table S4.10 shall be amended to read:

| Table S4.10 Groundwater – other monitoring requirements |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Emission point reference or source or description of point of measurement | ### Parameter | ### Monitoring frequency | ### Monitoring standard or method | ### Other specifications |
| ### Upstream ### GWBH32, GW1, GWBH33, GWBH34, GW2, GWBH35 ### Downstream ### GWBH25, GWBH26, ### GWBH27B, GWBH06R, ### GWBH36, GWBH28, GWBH24, GWBH22, GWBH23, GWBH07, GWBH04 ### as shown on the 2 ### drawings referenced ### ESID11 for Phases 1, 2, 3 ### and 3a parts of the ### Application | ### Water level | ### Quarterly | ### In accordance with the Environment agency’s “Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water” (LFTGN02) |  |
|  | ### Electrical Conductivity (EC) | ### Quarterly |  |  |
|  | ### pH | ### Quarterly |  |  |
|  | ### Ammonical Nitrogen (NH4-N) | ### Quarterly |  |  |
|  | ### Chloride (Cl) | ### Quarterly |  |  |
| GWBH27B, GWBH36 ### as shown on the 2 drawings referenced ESID11 for Phases 1, 2, 3 and 3a parts of the Application | ### Lead (Pb) | ### Quarterly |  |  |
|  | ### Mecoprop | ### Quarterly |  |  |
|  | ### Mercury (Hg) | ### Quarterly |  |  |
| ### Upstream ### GWBH32, GW1, GWBH33, GWBH34, GW2, GWBH35 ### Downstream ### GWBH25, GWBH26, ### GWBH27B, GWBH06R, ### GWBH36, GWBH28, GWBH24, GWBH22, GWBH23, GWBH07, GWBH04 ### as shown on the 2 ### drawings referenced ### ESID11 for Phases 1, 2, 3 ### and 3a parts of the ### Application | ### Total alkalinity (CaCO3)(tot alk) | ### Quarterly |  |  |
|  | ### Magnesium (Mg) | ### Quarterly |  |  |
|  | ### Potassium (k) | ### Quarterly |  |  |
|  | ### Zinc (Zn) | ### Quarterly |  |  |
|  | ### Copper (Cu) | ### Quarterly |  |  |
|  | ### Cadmium (Cd) | ### Quarterly |  |  |
|  | ### Nickel (Ni) | ### Quarterly |  |  |
|  | ### Iron (Fe) | ### Quarterly |  |  |
|  | ### Chromium (Cr) | ### Quarterly |  |  |
|  | ### Total sulphates (SO4) | ### Quarterly |  |  |
|  | ### Calcium (Ca) | ### Quarterly |  |  |
|  | ### Manganese (Mn) | ### Quarterly |  |  |
|  | ### Sodium (Na) | ### Quarterly |  |  |
|  | ### TOC | ### Quarterly |  |  |
|  | ### TON | ### Quarterly |  |  |
|  | ### Dissolved Methane | ### Quarterly |  |  |
| GWBH27B, GWBH36 ### as shown on the 2 drawings referenced ESID11 for Phases 1, 2, 3 and 3a parts of the Application | ### List 1 Leachate Screen | ### Annually |  |  |

Schedule 3 – conditions to be added

None