
[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




Permit with introductory note

The Environmental Permitting (England & Wales) Regulations 2016
SNACO UK LTD
Package Treatment Plant, Sand filter and bespoke infiltration system serving

Sant Ffraed House

Llanvihangel Gobion

Abergavenny

NP7 9BA

Permit number

EPR/CB3597HR
Package Treatment Plant, Sand filter and bespoke infiltration system serving               Sant Ffraed House 
Permit Number EPR/CB3597HR
Introductory note

This introductory note does not form a part of the permit

The main features of the permit are as follows.  
The permit regulates a discharge from a Sant Ffraed House and a new wedding venue with a maximum discharge rate of 20m3/d. The discharge is treated by a package treatment plant and additional sand filter bed, before discharging via a bespoke drainage field.  This groundwater discharge is replacing an existing permitted surface water discharge of 3.1m3/d (AN0165601).

The discharge is located within the phosphorus failing River Usk SAC catchment. Granting this permit will remove the current surface water discharge of 3.1m3/d discharging 10mg/l of phosphorus to Ffrwd Brook, a tributary of the River Usk, and replace it with a discharge of 0.05mg/l of phosphorus to the River Usk SAC catchment. The existing surface water permit (AN0165601) will be surrendered upon commission of the discharge to groundwater treatment system.

To ensure the bespoke drainage field functions as proposed, operator self-monitoring will be under taken for 12 months with samples taken bi-monthly and the results submitted to NRW.

The status log of the permit sets out the permitting history, including any changes to the permit reference number.
	Status log of the permit

	Description
	Date
	Comments

	Application PAN-016434
	Duly made 09/02/2022
	Application for discharge of secondary treated sewage effluent.

	Additional information received
	31/05/2022
	Confirmation of bespoke treatment system design.

	Permit determined
	01/07/2022
	Permit issued to SNACO UK LTD


End of introductory note
	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

EPR/CB3597HR
The Natural Resources Body for Wales (“Natural Resources Wales”) hereby authorises, under regulation 13 of the Environmental Permitting (England and Wales) Regulations 2016 

SNACO UK LTD (“the operator”),

whose registered office is

Llwyn Bwch Farm Oldwalls

Llanrhidian

Swansea

Wales

SA3 1HA
company registration number 10368696  

to operate a groundwater activity at

Sant Ffraed House

Llanvihangel Gobion

Abergavenny

NP7 9BA 
to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Melissa Broad
	01/07/2022


Authorised on behalf of Natural Resources Wales
Conditions 

1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.

1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.
2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”). 

2.2
The site 
2.2.1
The activities shall not extend beyond the site, being the land shown edged in green and the discharge shall be made at the point marked on the site plan at schedule 7 to this permit and as listed in table S3.2 (discharge points). 

2.3
Operating techniques

2.3.1
(a) 
The activities shall, subject to the conditions of this permit, be operated using the 



techniques and in the manner described in the documentation specified in 
schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources      Wales.

(b)
If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan, and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

2.3.2
The infiltration system specified in table S1.1 shall be constructed to comply with the following:

(a) no part of the infiltration system constructed shall be more than 2 metres below ground level;

(b) the infiltration system shall not connect to any land drainage system;

(c) the infiltration system shall not be situated within 10 metres of any watercourse (including any ditch that runs dry for part of the year), or any other surface water;
(d) the infiltration system shall not be situated within 50 metres of a well or borehole used for water supply.

2.3.3
The sewage treatment plant shall conform to all relevant British Standards in force at the time of installation.

3
Emissions and monitoring
3.1
Emissions to water or land

3.1.1
There shall be no point source emissions to water, air or land except from the sources and emission points listed in schedule 3 tables S3.1, S3.2 and S3.3.

3.1.2
The limits given in schedule 3 shall not be exceeded.

3.2 Emissions of substances not controlled by emission limits

3.2.1
For the activity referenced in schedule 1, table S1.1 the operator shall take appropriate measures as far as is reasonably practicable:

1 to prevent the input of hazardous substances to groundwater; and

1 where a non-hazardous pollutant is not controlled by an emission limit, to limit the input of such non-hazardous pollutants to groundwater so as to ensure that inputs do not cause pollution of groundwater. 
3.3
Monitoring 

3.3.1
The operator shall maintain records of all monitoring required by this permit including records of the taking and analysis of samples, instrument measurements (periodic and continual), calibrations, examinations, tests and surveys and any assessment or evaluation made on the basis of such data.

3.3.2
Permanent means of access shall be provided to enable sampling/monitoring to be carried out in relation to the emission points specified in schedule 3 tables S3.1, S3.2 and S3.3 unless otherwise agreed in writing by Natural Resources Wales.
4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made.
4.1.2
The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales.   

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4.2.2
Within 28 days of the end of the reporting period the operator shall, unless otherwise agreed in writing by Natural Resources Wales, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:

(a) in respect of the parameters and emission points specified in schedule 4 table S4.1;

(b) for the reporting periods specified in schedule 4 table S4.1 and using the forms specified in schedule 4 table S4.2; and

(c) giving the information from such results and assessments as may be required by the forms specified in those tables.

4.3
Notifications
4.3.1
Natural Resources Wales shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or  emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or
(c) any significant adverse environmental effects.  
(d)
any emergency discharge that has occurred.

4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
4.3.3
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3.4
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:

(a) any change in the operator’s trading name, registered name or registered office address; and

(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a) Natural Resources Wales shall be notified at least 14 days before making the change; and

(b) the notification shall contain a description of the proposed change in operation.

 4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 
Schedule 1 – Operations

	Table S1.1 Activities

	Description of activity
	Limits of specified activity

	Groundwater activity: discharge into land of secondary treated sewage effluent
	Via a bespoke drainage field centred on NGR SO 35838 10122 and constructed per documents specified in table S1.2.


	Table S1.2 Operating techniques

	Description of documentation
	Parts
	Date Received

	477-07 Drainage Details2-2 C05
	All
	31/05/2022

	447-07 Sant Ffraed House – Existing Hotel Waste Water Management Plan
	Page 4
	30/06/2022


Schedule 2 - Waste types, raw materials and fuels

Wastes are not accepted as part of the permitted activities and there are no restrictions on raw materials or fuels under this schedule.

 Schedule 3 – Emissions and monitoring

	Table S3.1 Point Source emissions to water (other than sewer) and land – emission limits and monitoring requirements

	Emission point ref. & location
	Parameter  
	Limit (incl. unit)
	Reference 

Period
	Monitoring frequency
	Compliance statistic

	Splitter and sampling chamber on site plan in schedule 7, outflow from package treatment plant and sand filter bed prior to discharge into bespoke drainage field


	Maximum daily discharge volume
	20 m3/day
	Total daily volume
	N/A
	Maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	No significant trace

	
	Ammoniacal nitrogen (as N)
	 2 mg/l
	Instantaneous (spot sample)
	N/A
	Maximum 

	
	ATU-BOD as O2
	10 mg/l
	Instantaneous (spot sample)
	N/A
	Maximum 

	
	Suspended solids (measured after drying at 105o C)
	15 mg/l
	Instantaneous (spot sample)
	N/A
	Maximum 



	
	Total phosphorus as P
	6mg/l
	Instantaneous (spot sample)
	N/A
	Annual mean




	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving Environment



	Discharge into land of secondary treated sewage effluent
	Splitter and sampling chamber
	SO 35878 10117
	Groundwater via a bespoke infiltration system


	Table S3.3 Monitoring points

	Effluent(s) and discharge point(s)
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	Discharge into land of secondary treated sewage effluent via Splitter and sampling chamber
	Effluent sample point
	SO 35878 10117
	Splitter and sampling chamber


Schedule 4 - Reporting

Parameters, for which reports shall be made, in accordance with conditions of this permit, are listed below.

	Table S4.1 Reporting of monitoring data

	Parameter
	Emission or monitoring point/reference
	Reporting period
	Period begins

	Ammoniacal nitrogen (as NH4)

Ammoniacal nitrogen (as NH3)

Total Nitrogen

Total Phosphorus

Phosphate

ATU-BOD as O2

Suspended solids (measured after drying at 105o C)
	Splitter and sampling chamber
	Six samples to be collected bi-monthly (for 1 year).
Report to be submitted within 2 months of the last sample collected
or

to be provided to Natural Resources Wales upon request
	Monitoring period to start after the hotel is operating at full capacity and the system is fully operational and discharging as expected and no later than 3 months from date of permit granted.


	Table S4.2 Reporting forms

	Media/parameter
	Reporting format

	Ammoniacal nitrogen (as NH4)

Ammoniacal nitrogen (as NH3)

Total Nitrogen

Total Phosphorus

Phosphate

ATU-BOD as O2

Suspended solids (measured after drying at 105o C)

	Form as agreed in writing by Natural Resources Wales


Schedule 5 - Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	EPR/CB3597HR

	Name of operator
	SANCO UK LTD

	Location of Facility
	Sant Ffraed House, Llanvihangel, Gobion, Abergavenny, 
NP7 9BA

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of  release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator
Schedule 6 - Interpretation 

“accident” means an accident that may result in pollution.

“annually” means once every year.
“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“ATU-BOD as O2” means the biochemical oxygen demand (measured after 5 days at 20o C with nitrification suppressed by the addition of allylthiourea).

“emissions to land” includes emissions to groundwater.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission or background concentration limit.
“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

 “groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.

“MCERTS” means Natural Resources Wales’s Monitoring Certification Scheme.

“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.  
“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“year” means calendar year ending 31 December.

Schedule 7 - Site plan
[image: image1.png]




© Crown Copyright and database right 2022. Ordnance Survey licence number 100019741.
END OF PERMIT

PAGE  
	Permit Number EPR/CB3597HR
	  Page ii
-  -
- ii -
- ii -ii 
	



