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Notice of variation with introductory note
Environmental Permitting (England & Wales) Regulations 2010
SITA UK Limited
Withyhedge Landfill Site

Bowling Farm

Rudbaxton

Haverfordwest

Pembrokeshire

SA62 4DB
Variation application number

EPR/GP3630HT/V005
Permit number

EPR/GP3630HT
Withyhedge Landfill Site
Permit number EPR/GP3630HT
Introductory note

This introductory note does not form a part of the notice
The following notice gives notice of the variation of an environmental permit.
This Natural Resources Wales led administrative variation (V005) formalises the requirement to undertake quarterly engine emissions monitoring in accordance with Environment Agency guidance LFTGN08 at the gas utilisation plant as described in table S4.2.
Improvement conditions (17 & 18) have been added requiring capping of the western flank of phase 1 and to review and update leachate quality control levels at phase 1 of the site.
The schedules specify the changes made to the original permit.
The status log of a permit sets out the permitting history, including any changes to the permit reference number.  
	Status log of the permit

	Description
	Date
	Comments

	Application BP3131SG
	Received 21/06/05
	Duly Made 22/06/05

	Response to request for information by Schedule 4 Notice
	Request dated 20/12/05
	Response dated 31/01/06

	Response to request for information
	Request dated 06/02/06
	Response dated 14/02/06

	Addendum: Application for the gas utilisation plant
	27/03/06
	

	Permit determined
	Issued 08/09/06
	

	Application for Permit Variation DP3439XC
	Received 13/12/07
	

	Variation notice DP3439XC
	Issued 17/12/07
	

	Application for Permit Variation EPR/BP3131SG/V003
	Received 20/06/08
	

	Variation notice EPR/BP3131SG/V003
	Issued 14/11/08
	

	Additional Information – response to schedule 4 notice
	14/08/09
	

	Additional Information - response to schedule 4 notice
	24/12/09
	

	Additional Information – WHV9 Version 2
	24/02/10
	

	Environment Agency initiated Consolidation Variation EPR/BP3131SG/V004
	Agency initiated

05/03/10
	

	Additional Information – Drawing WHV/1 Revision 2
	28/05/10
	


	Status log of the permit continued

	Description
	Date
	Comments

	Additional Information – WHV1/7 REVISION 3
	Received 15/06/10
	

	Additional information – WHV9 Revision 4
	25/08/10
	

	Additional information – WHV9 Revision 4 environmental monitoring locations
	02/09/10
	

	Variation EPR/BP3131SG/V004 determined

(Consolidation of permits EPR/HP3498FS and EPR/BP3131SG). Consolidated permit number EPR/ BP3131SG
	Issued 16/09/10
	

	Transfer application EPR/GP3630HT/T001

(full transfer of permit EPR/BP3131SG)
	Duly made 20/09/10
	

	Transfer Determined EPR/GP3630HT
	Issued 18/02/11
	

	Application for permit variation EPR/GP3630HT/V002
	Received 22/12/08
	

	Additional Information – email concerning cell 13 leachate production
	Received 08/06/09
	

	Additional Information – response to schedule 4 notice
	Request dated 01/07/09
	Response dated 14/08/09

	Additional Information - response to schedule 4 notice
	Request dated 20/11/09
	Response Dated 24/12/09

	Additional Information – WHV9 Version 2 and WHV1/7 Version 2.
	Received 24/02/10
	

	Additional Information – WHV9 Version 4
	Received 02/09/10
	

	Variation EPR/GP3630HT/V002 issued
	Issued 18/05/11
	

	Administrative variation

EPR/GP3630HT/V003
	Duly Made

30/04/12
	Application to change the completion date of improvement condition 14

	Administrative variation

EPR/GP3630HT/V003
	08/05/12
	Issued

	Agency variation determined 

EPR/GP3630HT/V004
	12/06/13
	Environment Agency variation to implement the changes introduced by IED

	Application EPR/GP3630HT/V005
	12/12/13
	Natural Resources Wales led variation to address capping, leachate quality control and air emissions monitoring

	Variation determined EPR/GP3630HT 
	03/02/14
	Varied permit issued


End of introductory note

	Notice of variation 


Environmental Permitting (England and Wales) Regulations 2010
The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2010 varies 

Permit number

EPR/GP3630HT
issued to:
SITA UK Limited (“the operator”)

whose registered office is
SITA House

Grenfell Road

Maidenhead
Berkshire

SL6 1ES

company registration number 2291198
to operate a regulated facility at
Withyhedge Landfill Site

Bowling Farm

Rubaxton

Haverfordwest

Pembrokeshire

SA62 4DB

to the extent set out in the schedules.
The notice shall take effect from 03/02/2014
	Name
	Date

	
	03/02/2014


Anna Lewis, Principal Permitting Officer

Authorised on behalf of Natural Resources Wales
Schedule 1 – conditions to be deleted

None  

Schedule 2 – conditions to be amended 

The following conditions are amended as detailed, following a Natural Resources Wales initiated variation
Table S1.3 in Schedule 1 as it relates to conditions 2.4.1 of the permit EPR/GP3630HT/V003 shall be amended by the following inclusion:
	Table S1.3 Improvement programme requirements

	Reference
	Requirement
	Date

	17
	The operator shall install an engineered capping system along the remaining uncapped section of the western section of the phase 1 landfill by the deadline specified, unless otherwise agreed in writing with Natural Resources Wales.

The capping works shall be undertaken in accordance with the engineering provisions of condition 2.6 of the permit.
	31st December 2016

	18
	The operator shall review and update the interim leachate quality control levels for the phase 1 landfill. The review shall take into account all of the relevant leachate quality monitoring data collected for the phase 1 site. The operator shall submit, for approval, proposals for the new leachate quality control levels to the deadline specified.

Once approved by Natural Resources Wales, the new control levels shall form part of the site permit.
	1st March 2015


Table S4.2 in Schedule 4 as it relates to condition 3.1.1 of the permit EPR/GP3630HT/V002 shall be amended to:

	Table S4.2 Point Source Emissions to Air – emission limits and monitoring requirements4.2  Point source emissions to air – emission limits and monitoring requirements

	Emission point Ref. & Location
	Parameter  
	Source
	Limit (including unit) 
	Reference 

Period
	Monitoring Frequency
	Monitoring Standard or Method

	Engine Exhaust 1 and Engine Exhaust 2 ( locations as outlined in RML letter (dated 2nd Oct 2007) and identified on Drawing reference: SN103/AB/004 (dated September 2007)
	Oxides of Nitrogen (NOx)
	Gas Utilisation Plant
	500 mg/m3
	Hourly mean
	Annually
	In accordance with the Environment Agency’s guidance LFTGN08.

Permanent sampling access not required.

	
	Carbon Monoxide (CO)
	Gas Utilisation Plant
	1400 mg/m3
	Hourly mean
	Annually
	

	
	Total VOCs
	Gas Utilisation Plant
	1000 mg/m3
	Hourly mean
	Annually
	

	
	Oxides of Nitrogen (NOx)
	Gas Utilisation Plant
	No Limit
	---
	Quarterly**
	Portable combustion gas analyser in accordance with the Environment Agency’s guidance LFTGN08.

	
	Carbon Monoxide (CO)
	Gas Utilisation Plant
	No Limit
	---
	Quarterly**
	

	Flare Stack as identified  on Drawing reference: SN103/AB/004 (dated September 2007)
	Oxides of Nitrogen
(NOx)
	Landfill Gas Flares
	150 mg/m3
	Hourly mean
	Annually*
	In accordance with the Environment Agency’s guidance LFTGN05.

Permanent sampling access not required.

	
	Carbon Monoxide 

(CO)
	Landfill Gas Flares
	50 mg/m3
	Hourly mean
	Annually*
	

	
	Total VOCs
	Landfill Gas Flares
	10 mg/m3
	Hourly mean
	Annually*
	


All emissions are reported under the following conditions. Temperature 0ºC (273K), pressure 101.3 kPa and oxygen 5% dry gas.

* Annual monitoring of flares is only required when the flare operates in excess of 10% of the time, taken on an annual assessment period.
** Frequency may be increased depending on concentrations of the inlet gases and the individual engine drift rate. Testing frequency to be reviewed annually by the operator and reported to Natural Resources Wales in accordance with condition 4.2.2
Table S5.1 in Schedule 4 as it relates to condition 3.5.1 of the permit EPR/GP3630HT shall be amended to:
	Table S5.1 Reporting of monitoring data S5.1 Reporting of monitoring data

	Parameter
	Emission or monitoring point/reference
	Reporting period
	Period begins

	Leachate levels 

As required by condition 3.5.1
	All monitoring points as identified in table S4.1
	Every 3 months
	Date of issue of Permit

	Emissions to air

Parameters as required by condition 3.5.1
	All monitoring points as identified in Table S4.2
	Every 3 months
	Date of issue of Permit

	Emissions to water

Parameters as required by condition 3.5.1
	All monitoring points as identified in Table S4.3
	Every 3 months
	Date of issue of Permit

	Off site transfers of leachate as required by condition 3.5.1
	All monitoring points as identified in Table S4.4
	Every 3 months
	Date of issue of Permit

	Groundwater

Parameters as required by condition 3.5.1
	All monitoring points as identified in Table S4.5
	Every 3 months
	Date of Issue of Permit

	Other Groundwater as required by Condition 3.5.1
	All monitoring points as identified in Table S4.11
	Every 3 months
	Date of Issue of Permit

	Landfill gas surface emissions 

Parameters as required by condition 3.5.1
	All Permanently capped zones 

All Temporarily capped zones required by Table S4.7
	Every 12 months
	Date of Issue of Permit

	Landfill gas lateral migration

Parameters as required by condition 3.5.1
	All monitoring points as identified in table S4.6
	Every 3 months
	Date of Issue of Permit

	Other Landfill gas monitoring

Parameters as required by condition 3.5.1
	All monitoring points as identified in table S4.8
	Every 3 months
	Date of Issue of Permit

	Other leachate monitoring

Parameters as required by condition 3.5.1

List 1 Screen
	All monitoring points as identified in Table S4.9
	Every 3 months
Every 12 months
	Date of Issue of Permit

	Other surface water monitoring

Parameters as required by condition 3.5.1
	All monitoring points as identified in Table S4.10
	Every 3 months
	Date of Issue of Permit


Schedule 3 – conditions to be added

None
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