	Licence serial number
	WA/067/0007/0015/V001


                                                                                                           Please quote the serial number in all correspondence about this licence

[image: image1.emf]
[image: image2.emf]
[image: image3.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




FULL LICENCE TO ABSTRACT WATER
The Natural Resources Body for Wales (hereafter referred to as “NRW”) grants this licence to:-
Maelor Foods Limited (“the Licence Holder”)
Salisbury House

Vulcan Road

Bilston

West Midlands

WV14 7HT
Company Registration Number: 09156025
This licence authorises the Licence Holder to abstract water from the source of supply described in the Schedule of Conditions to this licence and subject to the provisions of that Schedule. The licence commences from the effective date shown below and shall remain in force until the date of expiry shown below.
	Signed:

Ashley Lansdown

Permitting Team Leader
Permitting Service 

Natural Resources Wales

Cambria House

29 Newport Road

Cardiff 

CF24 0TP

	Date of issue…………...20 November 2018

	
	Date effective…………..20 November 2018

	
	Date of expiry……………….31 March 2027

	
	


This licence should be kept safe and its existence disclosed on any sale of the property to which it relates.  Please read the ‘important notes’ on the cover to this licence

SCHEDULE OF CONDITIONS
	1. 

1.1
	
	SOURCE OF SUPPLY 

Underground strata (Kinnerton Sandstone) at Old Maelor Creamery, Wrexham.


	2.

2.1
	
	Point of abstraction

At National Grid Reference SJ 38673 46737 marked ‘Point A’ on the map.


	3.

3.1


	
	MEANS OF ABSTRACTION

In accordance with condition 2.1 above, a borehole not exceeding 171.5 metres in depth with solid casing 355 millimetres in diameter from ground level to 45 metres depth and a smaller casing 219 millimetres in diameter from ground level to 77.5 metres depth. The borehole is then open hole from 77.5 metres depth to 171.5 metres depth with a submersible pump. 


	4. 
4.1
	 
	PURPOSE OF ABSTRACTION

Process water. 


	5.

5.1
	
	Period of abstraction
All year. 


	6.

6.1

	
	Maximum quantities of water to be abstracted 
56.25 cubic metres per hour

1,350 cubic metres per day

275,000 cubic metres per year
At an instantaneous rate not exceeding 15.63 litres per second.
Note: An hour is any period of 60 consecutive minutes, a day means any period of 24 consecutive hours and a year means the 12 month period beginning on 1 April and ending on 31 March.



	7.

7.1
	 (i)
(ii)

(iii)

(iv)
	Means of measurement of water abstracted
No abstraction shall take place unless the Licence Holder has installed a meter to measure quantities of water abstracted. 

The Licence Holder shall position and install the meter in accordance with any written directions given by NRW. 

The Licence Holder shall maintain, repair or replace the meter to ensure that accurate measurements are recorded at all times.  

The Licence Holder shall keep all records of meter repair or replacement including evidence of current certification for a period of 6 years.


	8.

8.1
	(i)

(ii)

(iii)
	Records

The Licence Holder shall take and record readings of the meter specified in condition 3 at the same time each day during the whole of the period during which abstraction is authorised or as otherwise approved in writing by NRW.
The Licence Holder shall send to NRW a copy of the record required by 8.1(i) or summary data to NRW within 28 days after 31 March in each year and also within 28 days of being so requested in writing by NRW.
Each record shall be kept and be made available during all reasonable hours for inspection by NRW for at least 6 years.


	9.
9.1
	
	FURTHER CONDITIONS
The Licence Holder shall return all water abstracted in pursuance of this licence, to the River Dee at National Grid Reference SJ 38829 46560 marked ‘Point Q’ on the map.


ADDITIONAL INFORMATION
Note: the following information is provided for information only.  It does not form part of the licence.
REASONS FOR CONDITIONS

Condition 7 and 8: The abstraction is required to be metered to demonstrate compliance with the terms of the licence and to provide information on actual water usage for water planning purposes.

Condition 9.1: to ensure the abstraction can be classed as non-consumptive.
The licence is time-limited to a date to reflect the timing of a future review of the catchment resources availability.
IMPORTANT NOTES
Water efficiency note 
The Licence Holder should use water abstracted under the terms of this licence in an efficient manner. NRW may refer to its guidance on water efficiency (or equivalent guidance) in determining whether water is being used efficiently and may offer advice on any measures considered necessary to meet particular recommendations.

Metering

NRW will have regard to its Abstraction Metering Good Practice Manual (or equivalent guidance) in directing any of the following: where the meter should be located or how it should be installed; whether the meter measures accurately, and/or is properly maintained; whether it is necessary to require repair or replacement of the meter.
[image: image4.emf][image: image5.jpg]° Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




[image: image6.emf]
MAP ACCOMPANYING LICENCE NUMBER / MAP I GYFEILIO TRWYDDED RHIF


WA/067/0007/0015/V001


Scale l Graddfa 1:10,000





© Crown Copyright and database rights Ordnance Survey.Natural Resources Wales, 100019741,2015. © Hawlfraint y Goron a hawl cronfa ddata Arolwg Ordnans.Cyfoeth Naturiol Cymru, 100019741, 2015.








Page 5 of 5








Note:
References to "the map" are to the map which forms part of this licence.
References to “NRW” are to the Natural Resources Body for Wales or any successor body.
[image: image7.png]Would you like to find out more about us,
or about your environment?

Then call us on
0300 065 3000 (Mon-Fri 8-6)

email
enquiries@naturalresourceswales.gov.uk

or visit our website
www.naturalresourceswales.gov.uk

incident hotline 0300 065 3000 (24hrs)
floodline 0345 988 1188

&% Environment first: This publication s printed on paper made from

% 100 per cent previously used waste. By-products from making the pulp
and paper are used for composting and fertiiser, for making cement and for
generating energy.






Environment Act 1995

Water Resources Act 1991 as amended by the Water Act 2003

Water Resources (Abstraction and Impounding) Regulations 2006
Article 3 of the Natural Resources Body for Wales (Establishment) Order 2012

The Natural Resources Body for Wales (Functions) Order 2013

