Permit Reference Number: AP3538SM




Variation Reference Number: EPR/WP3836ZF




Operator: SITA UK







Form Number: Agency Form / Ash1 / WP3836ZF
Installation: Wrexham Clinical Waste Incinerator



Reporting of Ash Composition for the period from July 2014 to September 2014
	Ash Composition 

	
	
	% Carbon (TOC) w/w

	Bottom Ash
	July 2014
	
	1.7

	Bottom Ash
	Aug 2014
	
	

	Bottom Ash
	Sept 2014
	
	


	Ash Composition (Metals, Dioxins, etc.)

	
	Sb mg/kg
	Cd mg/kg
	Tl

mg/kg
	Hg

mg/kg
	Pb

mg/kg
	Cr

mg/kg
	Cu

mg/kg
	Mn

mg/kg
	Ni

mg/kg
	As

mg/kg
	Co

mg/kg
	V

mg/kg
	Zn

mg/kg
	DIOXIN          I-TEQ

ng/kg
	DIOXIN

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	WHO-TEQ ng/kg

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Note 1
	Note 2
	Note 3

	Bottom Ash
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	APC Residues
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	.


Note1
Humans/ mammals
Note2
Birds

Note3 
Fish

Signed  Alan Gartside……………………………….  

Date…27/08/14………..   



(authorised to sign as representative of SITA UK)

