ENERGY

LOWER TYNEWYDD POULTRY FARM   PERMIT NO. XP3636MR 

25TH FEBRUARY 2020
INTRODUCTION

Lower Tynewydd operations at the installation are party to a negotiated Climate Change Levy Agreement (CCLA) through a national trade body.  

To bring about continuous improvement at the site, Lower Tynewydd has developed and implemented an energy efficiency plan to minimise the use of energy at the installation by:

· The purchase of energy efficient equipment

· Maintaining and operating equipment in an efficient manner 

· Continually reviewing the operation and identifying areas or practices that would result in improved energy efficiency.

· Undertaking periodic reviews of the operations with the aim of identifying areas or practices that would result in improved energy efficiency.  

Primary energy at the site is obtained from liquid petroleum gas, kerosene and electricity and biomass boilers. 

· Liquid Petroleum Gas and Kerosene are supplied to the site, on a required / delivered basis and is used as the fuel source for the heaters and generator respectively.
· Electricity is supplied to the site from the National Grid. The prime users of electricity at the site are processes such as lighting, ventilation systems and the conveyance of poultry feed.  

· Solar Panels.  160 Renesola JCM250M – 24/Bb panels have been installed to generate electricity to be used on site.
· Three Biomass boilers have been fitted to heat all the sheds, (with LPG as back up), as per variation permit.
· Two Heat Exchanger have been fitted, as per variation permit, to reduce energy use in warming cold air before it comes into the buildings.
Lower Tynewydd produces regular reports on the energy consumption of the installation.

Lower Tynewydd has undertaken investigations into the potential introduction of alternative energy sources/ supply techniques (including CHP and wind) and has along with the 160 solar panels also installed three Biomas Boilers and two Heat Exchangers.
Basic Energy Requirements (2)

Tables 1, 2, and 3 below summarise the energy efficiency measures currently in place at the installation.

Table 1: Operating, maintenance and housekeeping measures

	Operating maintenance and housekeeping measures
	Yes / No
	Supplementary Imformation / Justification

	Ventilation parameters, thermostats for temperature control
	Yes
	An In-house programme of scheduled maintenance has been developed and implemented

	Motors and drivers
	Yes
	An In-house programme of scheduled maintenance has been developed and implemented

	Regular heater service
	Yes
	An In-house programme of scheduled maintenance has been developed and implemented

	Lubrication to avoid high friction loss
	Yes
	An In-house programme of scheduled maintenance has been developed and implemented

	Generator maintenance
	Yes
	The generator is maintained by an approved third party contractor under a maintenance agreement.

	Variable speed drives motors
	N/A
	Not applicable

	Other maintenance activities within the installation
	Yes
	An In-house programme of scheduled maintenance has been developed and implemented


Table 2: Physical measures

	Physical measures
	Yes / No
	Supplementary Information / Justification

	1. Sufficient insulation of buildings, heated vessels and pipework.
	Yes

	· Lagging. 

· Thermostatic controls 

· Electric trace heating – self regulating

	2. Provision of sealing and containment methods to maintain temperature
	Yes
	This insulation is maintained under the preventative maintenance programme 

	3. Simple sensors and timers to prevent unnecessary ventilation and loss of ambient house temperatures.
	Yes
	Simple sensors and timers are controlled under the automated control system.

	4. Other appropriate measures
	N/A
	No further appropriate measures are employed within the installation.


Table 3. Building service measures 

	Building Service Measures
	Yes / No
	Supplementary Information / Justification

	1. Energy efficient lighting is in place
	Y


	Energy efficient lighting is currently in place at the installation and as part of the efficiency programme the policy is  to replace bulbs with energy efficient lighting as required.



	2. Energy efficient climate control systems are in place including

· Space heating

· Hot water

· Temperature control

· Ventilation

· Draught proofing
	Y
	Energy efficient climate control systems are currently in place at the installation. Lower Tynewydd Poultry Farm commits, as part of the efficiency programme, to assess the continued viability of installing energy efficient climate control systems at the installation.



	3. Other appropriate measures
	    __
	No further appropriate measures are employed within the installation.


The current design of Lower Tynewydd is directed to a more efficient use in respect of energy conservation and environmental concerns. The sheds are designed to allow adequate air flow within the shed and facilities in keeping a constant set temperature.

This prevents the heaters from working too hard and burning excess fuel, plus from a welfare view the birds perform better in well-heated and well-ventilated sheds, Wall insulation will also assist in keeping sheds from losing heat unnecessarily.

With the exception of warm weather, the fans run in an intermittent pattern, thus conserving electricity and decreasing the amount of dust expelled from the sheds.

The feedback / relays / thermostats on the fan/temperature system will prevent extreme variations between set and actual shed temperature thus decreasing demand on the heating system.

Low wattage, long life bulbs will help to lower the cost on replacing lights and the amount of electricity used.

Overall, the design of the sheds enables the company and the environment to benefit to being more energy efficient, thus cost effective and less draining on reserves   

