# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Taylor Wimpey South Wales, Nyth Y Dryw, Phase 2 operated by Taylor Wimpey UK Limited.

The application number is PAN-016945

The permit number is EPR/CB3598FR

The permit regulates a rainfall dependent discharge of surface water runoff from a construction site for the development of residential units, public highways, below ground storage, retaining walls, attenuation basin and surface water outfalls. The development area is a greenfield site, consisting of 6 fields and consequently has a low risk of contamination.

The water to be discharged comprises solely rainwater having fallen on the development area and flowed across the surface into the surface drainage network, or over ground towards the site boundaries. Surface water will be captured and conveyed to two outfalls located at an unnamed tributary of the Afon Lwyd. The outfalls are fitted with a hydrobrake and further mitigation measures have been imposed to ensure the maximum discharge rate does not exceed 15 l/s. The discharge from Outlet 1 will enter the stream via anti-erosion rip rap. The discharge from Outlet 2 will enter the stream via a swale with baffles to retard flow and an anti-erosion rip rap and cascade.

Treatment will consist of the use of flocculants (Water Lynx Gel) in addition to passive silt settlement methods (attenuation basins and holding ponds). Once the required water quality has been achieved, treated water will be passed through a polishing channel that contains silt mats with a smaller number of flocculant laced silt mats.

A numeric limit of 50 mg/l for suspended solid and a pH range of 6-9 has been included as part of the permit.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. | ü |
| ### Responses to consultation and web publicising | The web publicising and consultation responses were taken into account in the decision. No responses were received from web publicising and consultation. The decision was taken in accordance with our guidance. | ü |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. | ü |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. | ü |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. | ü |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the site has been carried out as part of the permitting process. We consider that the application will not affect the features of the site. An Appendix 4 report has been saved to the DMS for audit purposes. Formal consultation has been carried out with the Torfaen Authority County Ecologist. No consultation responses were received. | ü |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | No FORM 1 completed: HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site Note: From OGN 200 - no conceivable impact on any Natura 2000 site, by virtue of the scale or location or nature of the project. | ü |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. | ü |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN (EPR 7.01) and we consider them to represent appropriate techniques for the facility. | ü |
| The permit conditions |  |  |  |
| Emission limits | We have decided that emission limits should be set for the parameters listed in the permit. It is considered that the numeric limits described below will prevent significant deterioration of receiving waters. We have imposed numeric limits because either a relevant environmental quality or operational standard requires this. A pH range of 6-9 has been imposed to ensure that the discharged effluent remains neutral. A suspended solids limit of 50 mg/l has been imposed based on the treatment efficiencies of the chemical treatment facility on site as well as in considering the lower limit of annual means solids for migratory passage and potential spawning grounds of salmonoid fish. | ü |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. | ü |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. | ü |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” | ü |
| Environment Wales Act 2016 |  |  |
| Biodiversity and resilience of ecosystems duty | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for a standalone water discharge activity permit under EPR2016. | ü |